#### CODE CHANGE PROPOSAL FORM

[Top section is for administrative use only; please leave blank]

PAGE	1 OF 114

CODE:   2021 Building (IBC)	SECTION NO.  Chapter 1		Subcommittee AMENDMENT NO.  BC-AE-1-1-23

PROPOSING SUBCOMMITTEE:   Administration & Enforcement	CHAIR:    Marc Fetterman

DATES OF PROPOSAL: 7-17-2023 Draft 4    CCCB PRESENTATION:  7-20-2023    CCCB APPROVAL:  8-17-2023

7-18-2024

SUBMITTER NAME:	Marc Fetterman	PHONE NUMBER:	202 302-3002

ADDRESS:			EMAIL:	fetterman-dc@att.net

CODE CHANGE:  Please enter code change proposal on the following page using these formatting rules

##### Type all text in 12- POINT times new roman font

LINE THROUGH TEXT TO BE DELETED

UNDERLINE TEXT TO BE ADDED

CHECK ONE	  Revise section to read as follows:			  Delete section and substitute the following:

Add new section to read as follows:			  Delete section without substitution.

ESTIMATED IMPACT OF CODE CHANGE ON COST OF CONSTRUCTION

CHECK ONE	 Increase		 Decrease		 Negligible		 Unknown

## Per 1,000 SF single-family dwelling	      	to

## Per 1,000SF of commercial building	      	to

JUSTIFICATION OF CODE CHANGE:  Please enter justification in box below.  Continue justification on following page, if necessary.

Please reference one or more of the following criteria

To address a critical life/safety, health, general welfare need.		 Address a unique character issue in the District of Columbia

To address a specific District of Columbia policy or statute 		 Correction of errors and omissions

For consistency with federal, or with MD, VA codes	 Other (explain in justification text, below)

Notes to 7-20-2023 presentation:

This proposed Chapter 1 continues the existing 2017 12-A DC Building Code Chapter 1, with very minor revisions.  Department of Consumer and Regulatory Affairs is changed to Department of Buildings.

Changes to 2017 12-A DCMR Chapter 1 are in yellow highlight.  Blue text is model Electrical Code, new in 2020.  The AE TAG seeks guidance from other TAGs on areas in blue highlight.

Note to 7-18-2024 revision:

Red text are the proposed changes to Section 112.7 & 112.7.1, on page 87.

Code change proposal requested by the Office of the Attorney General to allow a sufficient amount of time for the technical objection and DOB review and response to the appeal

Strike Section 101 of the International Building Code in its entirety and insert a new Section 101 into the Building Code in its place to read as follows:

101	GENERAL

101.1 	The Construction Codes.  The 2023 District of Columbia Construction Codes, hereinafter referred to as the “Construction Codes,” shall consist of:

- The following Model Codes:

1.1 	The International Building Code (2021) published by the International Code Council (“ICC”);

1.2 	The International Residential Code (2021) published by the ICC;

1.3 	The National Electrical Code (2020) published by the National Fire Protection 	Association (“NFPA”);

1.4 	The International Fuel Gas Code (2021) published by the ICC;

1.5 	The International Mechanical Code (2021) published by the ICC;

1.6 	The International Plumbing Code (2021) published by the ICC;

1.7 	The International Property Maintenance Code (2021) published by the ICC;

1.8 	The International Fire Code (2021) published by the ICC;

1.9 	The Energy Standard for Buildings Except Low-Rise Residential Buildings (ASHRAE 90.1-2019) published by the American Society of 	Heating, Refrigeration and Air-Conditioning Engineers, Inc. (ASHRAE) and the 	International Energy Conservation Code-Residential Provisions (2021) 	published by the ICC;

1.10 	The International Existing Building Code (2021) published by the ICC;

1.11 	The International Green Construction Code (2021) published by the ICC; and

1.12 	The International Swimming Pool and Spa Code (2021).

- All additions, insertions, and deletions to the Model Codes, as identified in the District of Columbia Construction Codes Supplement of 2023 (the “Construction Codes Supplement’), codified in Title 12 of the District of Columbia Municipal Regulations (DCMR).

- Appendices in the Model Codes shall not apply unless specifically adopted in the Construction Codes Supplement.

101.1.1 Authority to Adopt Construction Codes.  The Construction Codes are adopted in the District of Columbia pursuant to the provisions of the Construction Codes Act (as defined in Section 202.2).

101.1.2 Administration and Enforcement.   Chapter 1 of 12-A DCMR shall serve as the administrative and enforcement provisions for the Building Code, Residential Code, Electrical Code, Fuel Gas Code, Mechanical Code, Plumbing Code, Energy Conservation Code, Existing Building Code, Green Construction Code and Swimming Pool and Spa Code, except as otherwise provided herein. Administrative and enforcement provisions for the Property Maintenance Code and the Fire Code are set forth in 12-G DCMR, Chapter 1, and 12-H DCMR, Chapter 1, respectively.

101.1.3 Definitions.   Italicized words and terms shall have the meanings set forth in the Construction Codes.

101.2 	Building Code.  The District of Columbia Building Code 2023 (“Building Code”) shall consist of the 2021 edition of the International Building Code (“International Building Code”), as amended by the Building Code Supplement of 2023 (12-A DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.2.1 Appendices.  Provisions in the appendices of the International Building Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.2.2 Administration and Enforcement.  Chapter 1 of the International Building Code is deleted in its entirety.  In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Building Code and are incorporated herein by this reference.

101.2.3 Scope.  The provisions of the Building Code shall apply to the construction, alteration, addition, relocation, enlargement, replacement, repair, equipment, use and occupancy, location, maintenance, removal, demolition and raze of every building or structure or any appurtenances connected or attached to such buildings or structures.

Exceptions:

- Detached one- and two-family dwellings and townhouses not more than three stories above grade plane in height with a separate means of egress and their accessory structures that comply with the Residential Code and Chapters 17, 18, 32, and 33 of the Building Code.

- Existing buildings undergoing repair, alteration, addition or change of occupancy that comply with the Existing Building Code.

- Home day care in dwelling units in Group R-3 dwellings that comply with Appendix M of the Residential Code.

101.2.4 Intent.  The purpose of the Building Code is to establish the minimum requirements to provide a reasonable level of safety, public health, and general welfare through structural strength, means of egress facilities, stability, sanitation, adequate light and ventilation, energy conservation, accessibility, sustainability, and safety to life and property from fire and other hazards attributed to the built environment, and to provide a reasonable level of safety to fire fighters and emergency responders during emergency operations.

101.3 	Residential Code.  The District of Columbia Residential Code (2023) (“Residential Code”) shall consist of the 2021 edition of the International Residential Code (“International Residential Code”), as amended by the Residential Code Supplement of 2023 (12-B DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.3.1 Appendices.  Provisions in the appendices of the International Residential Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.3.2 Administration and Enforcement.  Chapter 1 of the International Residential Code is deleted in its entirety.  In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Residential Code and are incorporated by this reference.

101.3.3 Scope.  The provisions of the Residential Code shall apply to the construction, alteration, movement, enlargement, replacement, repair, equipment, use and occupancy, location, demolition, and raze of detached one- and two-family dwellings and townhouses not more than three stories above grade plane in height with a separate means of egress and their accessory structures.

Exceptions:

- Live/work units complying with the requirements of Section 419 of the Building Code shall be allowed to be built as one- and two-family dwellings or townhouses.  Fire suppression required by Section 419.5 of the Building Code, when a unit is constructed under the Residential Code, shall conform to Section 2904 of the Residential Code.

- Owner-occupied lodging houses with five or fewer guestrooms shall be permitted to be constructed in accordance with the Residential Code when equipped with a fire sprinkler system that is in accordance with Section 2904 of the Residential Code.

- Detached one- and two-family dwellings and townhouses not more than three stories above grade plane in height with a separate means of egress, and their accessory structures, shall be permitted to comply with the Building Code defined in Section 101.2.

- Existing buildings undergoing repair, alteration, change of occupancy, addition to or relocation shall comply with the Existing Building Code defined in Section 101.4.8 or the current Construction Codes.

101.3.3.1 Home Day Care.  Appendix M of the Residential Code shall apply to home day care, including Child Development Homes where oversight is provided by the Office of the State Superintendent of Education or a successor agency, in dwelling units within either: (1) detached one- and two-family dwellings or townhouses within the scope of the Residential Code; or (2) R-3 dwellings.

101.3.4 Intent.  The purpose of the Residential Code is to establish the minimum requirements to provide a reasonable level of safety, public health, and general welfare through affordability, structural strength, means of egress facilities, stability, sanitation, adequate light and ventilation, energy and resource conservation, and safety to life and property from fire and other hazards attributed to the built environment, and to provide a reasonable level of safety to fire fighters and emergency responders during emergency operations.

101.4. Electrical Code.  The District of Columbia Electrical Code (2023) (“Electrical Code”) shall consist of the 2020 edition of the National Electrical Code (“National Electrical Code”) published by the National Fire Protection Association (“NFPA”), as amended by the Electrical Code Supplement of 2023 (12-C DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.4.1. Annexes.  Provisions in the annexes to the National Electrical Code are provided for informational purposes only, in accordance with Article 90, Section 90.5 of the National Electrical Code, unless otherwise specified in the Construction Codes Supplement.

101.4.2 Administration and Enforcement.  The provisions of 12-A DCMR, Chapter 1, shall apply to the Electrical Code and are incorporated by this reference, without deletion of Article 90 of the National Electrical Code except as specified.

Exceptions: Sections 90.1(A), 90.1(C), 90.2, 90.4 and 90.6 of Article 90 of the National Electrical Code are deleted in their entirety.

101.4.3 Scope.  The provisions of the Electrical Code shall apply to the design, installation, maintenance, alteration, conversion, changing, repairing, removal, and inspection of electrical conductors, equipment, and raceways; signaling and communications conductors, equipment, and raceways; and optical fiber cables and raceways for the following:

- Public and private premises, including, but not limited to, buildings, other structures, mobile homes, recreational vehicles, and floating buildings.

- Yards, lots, parking lots, carnivals, circuses, fairs and similar events, and industrial substations.

- Installation of conductors and equipment that connect to the supply of electricity.

- Installations used by the electric utility, such as office buildings, warehouses, garages, machine shops, and recreational buildings, that are not an integral part of a generating plant, substation, or control center.

Exceptions:

- Installations in ships, watercraft other than floating buildings, railway rolling stock, aircraft, or automotive vehicles other than mobile homes and recreational vehicles.

- Installations underground in mines and self-propelled mobile surface mining machinery and its attendant electrical trailing cable.

- Installation of railways for generation, transformation, transmission, energy storage, or distribution of power used exclusively for operation of rolling stock or installations used exclusively for signaling and communications purposes.

- Installations of communications equipment under the exclusive control of communications utilities located outdoors or in building spaces used exclusively for such installations.

- Installations under the exclusive control of an electrical utility where such installations:

5.1 	Consist of service drops or service laterals, and associated metering, or

5.2 	Are on property owned or leased by the electric utility for the purpose of communications, metering, generation, control, transformation, transmission, energy storage, or distribution of electric energy, or

5.3 	Are located in legally established easements or rights-of-way, or

5.4 	Are located by other written agreements either designated by or recognized by public service commissions, utility commissions, or other regulatory agencies having jurisdiction for such installations.  These written agreements shall be limited to installations for the purpose of communications, metering, generation, control, transformation, transmission, energy storage, or distribution of electrical energy where legally established easements or rights-of-way cannot be obtained. These installations shall be limited to federal lands, Native American reservations through the U.S. Department of the Interior, Bureau of Indian Affairs, military bases, lands controlled by port authorities and state agencies and departments, and lands owned by railroads.

- Installations that are part of detached one- and two-family dwellings and townhouses not more than three stories above grade plane in height with separate means of egress and their accessory structures that comply with the Residential Code.

101.4.4 Intent.  The purpose of the Electrical Code is to establish minimum requirements to safeguard persons and property from hazards arising from the use of electricity, and is not intended as a design specification or as an instruction manual for untrained persons.

101.5  Fuel Gas Code.  The District of Columbia Fuel Gas Code (2023) (“Fuel Gas Code”) shall consist of the 2021 edition of the International Fuel Gas Code (“International Fuel Gas Code”), as amended by the Fuel Gas Code Supplement of 2023 (12-D DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.5.1 Appendices.  Provisions in the appendices of the International Fuel Gas Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.5.2 Administration and Enforcement.  Chapter 1 of the International Fuel Gas Code is deleted in its entirety.  In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Fuel Gas Code and are incorporated by this reference.

101.5.3 Scope.  The provisions of the Fuel Gas Code shall apply to the installation of fuel gas piping systems, fuel gas utilization equipment, gaseous hydrogen systems, and related accessories, as follows:

1.  	Gaseous hydrogen systems shall be regulated by Chapter 7.

2.  	The regulations shall cover piping systems for natural gas with an operating pressure of 125 pounds per square inch gauge (psig) (862 kPa gauge) or less, and for LP-gas with an operating pressure of 20 psig (140 kPa gauge) or less, except as provided in Section 402.6.1.  Coverage shall extend from the point of delivery to the outlet of the equipment shutoff valves.  Piping system requirements shall include design, materials, components, fabrication, assembly, installation, testing, inspection, operation, and maintenance.

3.  	Requirements for gas utilization equipment and related accessories shall include installation, combustion and dilution air, and venting and connection to piping systems.

4.  	The requirements for the design, installation, maintenance, alteration, and inspection of mechanical appliances operating with fuels other than fuel gas shall be regulated by the Mechanical Code.

Exception to 101.5.3:  Detached one- and two-family dwellings and townhouses not more than three stories above grade plane in height with separate means of egress and their accessory structures that comply with the Residential Code.

101.5.3.1 Exempted Installations and Equipment.  The Fuel Gas Code shall not apply to the following:

- Portable LP-Gas equipment of all types that is not connected to a fixed fuel system.

- Installation of farm equipment such as brooders, dehydrators, dryers and irrigation equipment.

- Raw material (feedstock) applications except for piping to special atmosphere generators.

- Oxygen-fuel gas cutting and welding systems.

- Industrial gas applications using gases such as acetylene and acetylenic compounds, hydrogen, ammonia, carbon monoxide, oxygen and nitrogen.

- Petroleum refineries, pipeline compressor or pumping stations, loading terminals, compounding plants, refinery tank farms and natural gas processing plants.

- Integrated chemical plants or portions of such plants where flammable or combustible liquids or gases are produced by chemical reactions or used in chemical reactions.

- LP-Gas installations at utility gas plants.

- Liquefied natural gas (LNG) installations.

- Fuel gas piping in power and atomic energy plants.

- Proprietary items of equipment, apparatus, or instruments such as gas generating sets, compressors and calorimeters.

- LP-Gas equipment for vaporization, gas mixing and gas manufacturing.

- Temporary LP-Gas piping for buildings under construction or renovation that is not to become part of the permanent piping system.

- Installation of LP-Gas systems for railroad switch heating.

- Installation of LP-Gas and compressed natural gas (CNG) systems on vehicles.

- Except as provided in Section 401.1.1 of the Fuel Gas Code, gas piping, meters, gas pressure regulators, and other appurtenances used by the serving gas supplier in the distribution of gas, other than undiluted LP-Gas.

- Building design and construction, except as specified herein.

- Piping systems for mixtures of gas and air within the flammable range with an operating pressure greater than 10 psig (69 kPa gauge).

- Portable fuel cell appliances that are neither connected to a fixed piping system nor interconnected to a power grid.

101.5.4 Intent.  The purpose of the Fuel Gas Code is to establish minimum standards to provide a reasonable level of safety, health, property, and public welfare by regulating and controlling the design, construction, installation, quality of materials, location, operation and maintenance or use of fuel gas systems.

101.6 Mechanical Code.  The District of Columbia Mechanical Code (2023) (“Mechanical Code”) shall consist of the 2021 edition of the International Mechanical Code (“International Mechanical Code”), as amended by the Mechanical Code Supplement of 2023 (12-E DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.6.1 Appendices.  Provisions in the appendices of the International Mechanical Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.6.2 Administration and Enforcement.  Chapter 1 of the International Mechanical Code is deleted in its entirety.  In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Mechanical Code and are incorporated by this reference.

101.6.3 Scope.  The provisions of the Mechanical Code shall regulate the design, installation, maintenance, alteration, and inspection of mechanical systems that are permanently installed and utilized to provide control of environmental conditions and related processes within buildings.  The Mechanical Code shall also regulate those mechanical systems, systems components, equipment and appliances specifically addressed therein.  The installation of fuel gas distribution piping and equipment, fuel gas-fired appliances and fuel gas-fired appliance venting systems shall be regulated by the Fuel Gas Code.

Exception: Detached one- and two-family dwellings and townhouses not more than three stories above grade plane in height with separate means of egress and their accessory structures that comply with the Residential Code.

101.6.4 Intent.  The purpose of the Mechanical Code is to establish minimum standards to provide a reasonable level of safety, health, property protection and public welfare by regulating and controlling the design, construction, installation, quality of materials, location, operation and maintenance or use of mechanical systems.

101.7 Plumbing Code.  The District of Columbia Plumbing Code (2023) (“Plumbing Code”) shall consist of the 2021 edition of the International Plumbing Code (“International Plumbing Code”), as amended by the Plumbing Code Supplement of 2023 (12-F DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.7.1 Appendices. Provisions in the appendices of the International Plumbing Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.7.2 Administration and Enforcement.  Chapter 1 of the International Plumbing Code is deleted in its entirety.  In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Plumbing Code and are incorporated by this reference.

101.7.3 Scope.  The provisions of the Plumbing Code shall apply to the erection, installation, alteration, repairs, relocation, replacement, addition to, use or maintenance of plumbing systems within the District of Columbia.  The Plumbing Code shall also regulate non-flammable medical gas, inhalation anesthetic, vacuum piping, non-medical oxygen systems and sanitary and condensate vacuum collection systems.

Exceptions:

- Detached one- and two-family dwellings and townhouses not more than three stories above grade plane in height with separate means of egress and their accessory structures that comply with the Residential Code.

- The design and installation of fuel gas distribution piping and equipment, fuel gas fired water heaters, and water heater venting systems shall be regulated by the Fuel Gas Code.

- The design and installation of chilled water piping in connection with refrigeration process and comfort cooling, and hot water piping in connection with building heating, shall conform to the requirements of the Mechanical Code.

- The design and installation of piping for fire sprinklers and standpipes shall conform to the requirements of the Building Code. Water and drainage connections to such installations shall be made in accordance with the requirements of the Plumbing Code.

101.7.4 Intent.  The purpose of the Plumbing Code is to establish minimum standards to provide a reasonable level of safety, health, property protection and public welfare by regulating and controlling the design, construction, installation, quality of materials, location, operation and maintenance or use of plumbing equipment and systems.

101.8 Property Maintenance Code.  The District of Columbia Property Maintenance Code (2023) (“Property Maintenance Code”) shall consist of the 2021 edition of the International Property Maintenance Code (“International Property Maintenance Code”) as amended by the Property Maintenance Code Supplement of 2023 (12-G DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.8.1 Appendices.  Provisions in the appendices of the International Property Maintenance Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.8.2 Administration and Enforcement.  Chapter 1 of the International Property Maintenance Code is deleted in its entirety. Administration and enforcement provisions for the Property Maintenance Code are set forth in 12-G DCMR, Chapter 1.

101.8.3 Scope.  The provisions of the Property Maintenance Code shall apply to all existing residential and nonresidential premises and shall constitute minimum requirements and standards for: premises, equipment, and facilities for light, ventilation, space, heating, sanitation, protection from the elements, a reasonable level of safety from fire and other hazards, and for a reasonable level of sanitary maintenance; the responsibility of owners, operators and occupants; the occupancy of existing premises; and for administration, enforcement and penalties.

101.8.4 Intent.  The purpose of the Property Maintenance Code is to ensure public health, safety and welfare insofar as they are affected by the continued occupancy and maintenance of premises.  Existing premises that do not comply with these provisions shall be altered or repaired to provide a minimum level of health and safety as required therein.

101.9 Fire Code.  The District of Columbia Fire Code (2023) (“Fire Code”) shall consist of the 2021 edition of the International Fire Code (“International Fire Code”), as amended by the Fire Code Supplement of 2023 (12-H DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.9.1 Appendices.  Provisions in the appendices of the International Fire Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.9.2 Administration and Enforcement.  Chapter 1 of the International Fire Code is deleted in its entirety. Administration and enforcement provisions for the Fire Code are set forth in 12-H DCMR, Chapter 1.

101.9.3 Scope.  The provisions of the Fire Code shall establish regulations affecting or relating to premises, processes, and safeguards regarding: the hazard of fire and explosion arising from the storage, handling or use of structures, materials or devices; conditions hazardous to life, property or public welfare in the occupancy of premises; fire hazards on the premises from occupancy or operation; and conditions affecting the safety of fire fighters and emergency responders during emergency operations.

101.9.4 Intent.  The purpose of the Fire Code is to establish the minimum requirements consistent with nationally recognized good practice for providing a reasonable level of life safety and property protection from the hazards of fire, explosion, or dangerous conditions in all premises, and to provide a reasonable level of safety to fire fighters and emergency responders during emergency operations.

101.10 Energy Conservation Code.  The District of Columbia Energy Conservation Code (2023) (“Energy Conservation Code”) shall consist of the Energy Conservation Code-Commercial Provisions and the Energy Conservation Code-Residential Provisions. The Energy Conservation Code-Commercial Provisions shall consist of ASHRAE 90.1-2019, Energy Standard for Buildings Except Low-Rise Residential Buildings (“ASHRAE 90.1”), as amended by the Energy Conservation Code Supplement of 2023 – Commercial Provisions (12-I[CE] DCMR) of the District of Columbia Construction Codes Supplement of 2023. The Energy Conservation Code-Residential Provisions shall consist of the Residential Provisions of the 2021 edition of the International Energy Conservation Code (“International Energy Conservation Code-Residential Provisions”), as amended by the Energy Conservation Code Supplement of 2023 – Residential Provisions (12-I[RE] DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.10.1  Appendices.  Provisions in the appendices to the Energy Conservation Code-Commercial Provisions shall not apply unless specifically adopted in the Construction Codes Supplement.  The Energy Conservation Code-Residential Provisions has no appendices.

- 101.10.1.1 Normative and Informative Appendices. Normative Appendices A, B, C, D and G of ASHRAE 90.1, as amended by the Energy Conservation Code Supplement, are adopted in the District of Columbia as an integral part of the mandatory requirements of the Energy Conservation Code-Commercial Provisions, which, for reasons of convenience are placed apart from all other normative elements.  Informative Appendices E and F of ASHRAE 90.1 and informative notes located within the Energy Conservation Code-Commercial Provisions contain additional information and are not mandatory requirements.

- 101.10.1.2   Appendix Z. Appendix Z to the Energy Conservation Code-Commercial Provisions provides an alternative compliance path. See Section 101.10.6 .

101.10.2 Administration and Enforcement.  Sections 1, 2 and 4 of ASHRAE 90.1 and Chapter 1 [RE] of the International Energy Conservation Code are deleted in their entirety. In their place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Energy Conservation Code and are incorporated by this reference.

101.10.3 Scope and General Requirements.

101.10.3.1 Scope.  The Energy Conservation Code shall apply to commercial buildings, residential buildings and the buildings’ sites and associated systems and equipment.

Exceptions:

- Existing Buildings.  Except as specified in 12-A DCMR, Chapter 1, the Energy Conservation Code shall not be used to require the removal, alteration or abandonment of, nor prevent the continued use and maintenance of, an existing building or building system lawfully in existence at the time of adoption of the Energy Conservation Code.

2.	Historic Buildings.  Provisions of the Energy Conservation Code relating to the construction, repair, alteration, restoration and movement of structures, and change of occupancy shall not be mandatory for historic buildings provided that a report has been submitted to the code official and signed by the owner, or a registered design professional, or a certification has been submitted to the code official and signed by the State Historic Preservation Office, demonstrating that compliance with that provision would threaten, degrade or destroy the historic form, fabric or function of the building.

3.	Low Energy Buildings. The following buildings, or portions thereof, separated from the remainder of the building by building thermal envelope assemblies complying with the Energy Conservation Code shall be exempt from the building thermal envelope provisions of the Energy Conservation Code:

        - Buildings, or portions thereof, with a peak design rate of energy usage less than 3.4 Btu/h • ft2 (10.7 W/m2) or 1.0 watt/ft2 (10.7 W/m2) of floor area for space conditioning purposes.

        - Buildings, or portions thereof, that do not contain conditioned space.

4.	Where the commercial building project complies with one of the alternative compliance paths set forth in Section 101.10.6.

5.	Where the residential building project complies with one of the alternative compliance paths set forth in Section 101.10.7.

101.10.4 Intent.  The Energy Conservation Code shall regulate the design and construction of buildings for the effective use and conservation of energy over the useful life of each building.  The Energy Conservation Code is intended to provide flexibility to permit the use of innovative approaches and techniques to achieve this objective.  The Energy Conservation Code is not intended to abridge safety, health or environmental requirements contained in other applicable codes or ordinances.

101.10.5 Compliance.  Residential buildings shall meet the provisions of the Energy Conservation Code-Residential Provisions. Commercial buildings shall meet the provisions of the Energy Conservation Code-Commercial Provisions.

101.10.5.1 Mixed Occupancy. Where a building includes both residential and commercial occupancies, each occupancy shall be separately considered and meet the applicable provisions of the Energy Conservation Code—Commercial Provisions or the Energy Conservation Code—Residential Provisions.

101.10.5.2 Compliance Materials. The code official is authorized to approve specific computer software, worksheets, compliance manuals and other similar materials that meet the intent of the Energy Conservation Code.

101.10.6 Alternative Compliance Paths for Commercial Building Projects. In lieu of the requirements of the Energy Conservation Code-Commercial Provisions, commercial building projects that comply with one of the alternative compliance paths set forth in Sections 101.10.6.1 through 101.10.6.7 shall be deemed to comply with the Energy Conservation Code-Commercial Provisions.

101.10.6.1 Appendix Z.  Demonstrate compliance with all sections of Appendix Z with the exception of Z5.2 of the Energy Conservation Code-Commercial Provisions.

101.10.6.2 Compliance Utilizing ILFI Living Building Challenge.  Design, construct and certify to the International Living Future Institute’s Living Building Challenge program for either full Living Building Challenge or Energy Petal certification. The owner shall provide documentation to the code official confirming registration with the Living Building Challenge program prior to permit issuance.  The owner shall have an 18-month period from the date of issuance of the first certificate of occupancy, or from approval of the final inspection, to submit official evidence of certification to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.

101.10.6.3 Compliance Utilizing ILFI Zero Energy Building.   Design, construct and certify to the International Living Future Institute’s Net Zero Energy Building Certification. The owner shall provide documentation to the code official confirming registration with the Net Zero Energy program prior to permit issuance.  The owner shall have an 18-month period from the date of issuance for the project of the certificate of occupancy, or from approval of the final inspection, to submit official evidence of certification to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.

101.10.6.4 Compliance Utilizing PHIUS+ and On-Site Solar.  Design, construct and certify to the Passive House Institute United States’ PHIUS+ program. The owner shall have an 18-month period from the date of issuance of the certificate of occupancy for the project, or from approval of the final inspection, to submit official evidence of certification by the PHIUS+ program to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.  Additionally, the owner must install a solar PV system on the building’s roof that offsets the annual net energy use.

101.10.6.5 Compliance Utilizing PHI and On-Site Solar. Design, construct and certify to the Passive House Institute program. The owner shall have an 18-month period from the date of issuance for the project of the certificate of occupancy, or from approval of the final inspection, to submit official evidence of certification by the PHI program to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification. Additionally, the owner must install a solar PV system on the building’s roof that offsets the annual net energy use.

101.10.6.6 Compliance Utilizing LEED and LEED Zero Carbon. Design, construct, and certify to the LEED Rating System and LEED Zero Carbon Rating System. The owner shall provide approved documentation to the code official prior to permit issuance (1) confirming registration with the LEED Rating System programs, and (2) an approved pre-construction energy model that is consistent with achieving LEED Zero Carbon certification. Additionally, owner must complete “Enhanced Commissioning” requirements during construction.   The owner shall have an 18-month period from the date of issuance of the certificate of occupancy, or from approval of the final inspection, whichever is later, to submit official evidence of certification to both LEED and LEED Zero Carbon to the code official.

101.10.6.7 Compliance Utilizing LEED and LEED Zero Energy. Design, construct and certify to the LEED Rating System and LEED Zero Energy Rating System. The owner shall provide approved documentation to the code official prior to permit issuance (1) confirming registration with the LEED Rating System programs, and (2) an approved pre-construction energy model that is consistent with achieving LEED Zero Energy certification. Additionally, owner must complete “Enhanced Commissioning” requirements during construction.   The owner shall have an 18-month period from the date of issuance for the project of the certificate of occupancy, or from approval of the final inspection, whichever is later, to submit official evidence of certification to both LEED and LEED Zero Energy to the code official.

101.10.7 Alternative Compliance Paths for Residential Buildings   In lieu of the requirements of the Energy Conservation Code-Residential Provisions, residential building projects that comply with one of the alternative compliance paths set forth in Sections 101.10.7.1 through 101.10.7.9 shall be deemed to comply with the Energy Conservation Code-Residential Provisions.

101.10.7.1 Compliance Utilizing ERI.  Design and construct to an Energy Rating Index (ERI) of “0” in accordance with Section R406 of the Energy Conservation Code-Residential Provisions.  Verify compliance at the completion of construction per guidance given by the code official.

101.10.7.2 Compliance Utilizing DOB Residential Net-Zero Energy Program. Achieve compliance with the requirements of DOB’s Residential Net-Zero Energy Program as set forth in an administrative bulletin.

101.10.7.3 Compliance Utilizing ILFI Living Building Challenge.   Design, construct and certify to the International Living Future Institute’s Living Building Challenge program for either full Living Building Challenge or Energy Petal certification. The owner shall provide documentation to the code official confirming registration with the Living Building Challenge program prior to permit issuance.  The owner shall have an 18-month period from the date of issuance of the first certificate of occupancy, or from approval of the final inspection, to submit official evidence of certification to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.

101.10.7.4 Compliance Utilizing ILFI Zero Energy Building Certification.  Design, construct and certify to the International Living Future Institute’s Zero Energy Building Certification. The owner shall provide documentation to the code official confirming registration with the Zero Energy Building program prior to permit issuance.  The owner shall have an 18-month period from the date of issuance for the project of the certificate of occupancy, or from approval of the final inspection, to submit official evidence of certification to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.

101.10.7.5 Compliance Utilizing DOE Zero Energy Ready Home and On-site Solar.  Design, construct and certify to the standards of the Zero Energy Ready Home program of the United States Department of Energy (DOE).  The owner shall have an 18-month period from the date of issuance of the certificate of occupancy, or from approval of the final inspection, to submit official evidence of certification to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.  Additionally, the owner must install a solar PV system on the roof that offsets the annual net energy use of the home.

101.10.7.6 Compliance Utilizing PHIUS+ and On-site Solar.  Design, construct and certify to the Passive House Institute United States’ PHIUS+ program.  The owner shall have an 18-month period from the date of issuance of the certificate of occupancy, or approval of the final inspection, to submit official evidence of certification to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.  Additionally, the owner must install a solar PV system on the roof that offsets the annual net energy use of the home.

101.10.7.7 Compliance Utilizing PHI and On-Site Solar. Design, construct and certify to the Passive House Institute program. The owner shall have an 18-month period from the date of issuance of a certificate of occupancy or from approval of the final inspection, whichever is later, to submit official evidence of certification by the PHI program to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification. Additionally, the owner must install a solar PV system on the roof that offsets the annual net energy use of the house.

101.10.7.8 Compliance Utilizing LEED and LEED Zero Carbon.  Design, construct and certify to the LEED for Homes or LEED for Homes Midrise Rating Systems, and LEED Zero Carbon Rating System. The owner shall provide approved documentation to the code official prior to permit issuance (1) confirming registration with the LEED rating system programs, and (2) an approved pre-construction energy model that is consistent with achieving LEED Zero Carbon certification.  The owner shall have an 18-month period from the date of issuance of a certificate of occupancy for the project or from the date of final inspection approval, whichever is later, to submit official evidence of certification by both LEED and LEED Zero Carbon to the code official.

101.10.7.9 Compliance Utilizing LEED and LEED Zero Energy. Design, construct and certify to the LEED for Homes or LEED for Homes Midrise Rating Systems, and LEED Zero Energy Rating System. The owner shall provide approved documentation to the code official prior to permit issuance (1) confirming registration with the LEED rating system programs, and (2) an approved pre-construction energy model that is consistent with achieving LEED Zero Energy certification.  The owner shall have an 18-month period from the date of issuance of a certificate of occupancy for the project or from approval of the final inspection, whichever is later, to submit official evidence of certification by both LEED and LEED Zero Energy to the code official.

101.11 Existing Building Code.  The District of Columbia Existing Building Code (2023) (“Existing Building Code”) shall consist of the 2021 edition of the International Existing Building Code (“International Existing Building Code”), as amended by the Existing Building Code Supplement of 2023 (12-J DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.11.1 Appendices.  Provisions in the appendices of the International Existing Building Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.11.2 Administration and Enforcement.  Chapter 1 of the International Existing Building Code is deleted in its entirety. In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Existing Building Code and are incorporated by this reference.

101.11.3 Scope.  The provisions of the Existing Building Code shall apply to the repair, alteration, change of occupancy, or relocation of, or addition to, existing buildings, including existing buildings under the jurisdiction of the Residential Code.

101.11.3.1 Residential Code References. In the Existing Building Code, all references to R occupancies in general, or R-3 in particular, shall also refer to any existing building or existing structure under the jurisdiction of the Residential Code.

101.11.3.2 Residential Code Applicability. In the Existing Building Code, for buildings regulated by the Residential Code, references to the Building Code shall refer to the Residential Code.

101.11.4 Intent.  The purpose of the Existing Building Code is to provide the code official with flexibility to permit the use of alternative approaches to achieve compliance with minimum  requirements to safeguard the public health, safety, and welfare, insofar as they are affected by the repair, alteration, change of occupancy, addition or relocation of existing buildings.

101.12 Green Construction Code.  The District of Columbia Green Construction Code (2023) (“Green Construction Code”) shall consist of the 2021 edition of the International Green Construction Code (2021 IgCC), as amended by the Green Construction Code Supplement of 2023 (12-K DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.12.1 Appendices. Provisions in the appendices of the International Green Construction Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.12.2 Administration and enforcement. Chapter 1 of the International Green Construction Code is deleted in its entirety. In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Green Construction Code and are incorporated by this reference.

101.12.3 Scope. The provisions of this code shall apply to the design, construction, addition, alteration, equipment, change of occupancy, relocation, replacement, demolition and removal of every building or structure or any appurtenances connected or attached to such buildings or structures and to the building site on which the building is located. Occupancy classifications shall be determined in accordance with the International Building Code.

101.12.3.1 Applicability. The provisions of this code do not apply to the following:

1.	Single-family dwellings.

2.	Multiple-family dwellings of three stories or fewer above grade.

3.	Manufactured houses (mobile homes).

4.	Manufactured houses (modular).

5.   	Projects within the scope of the Green Building Act of 2006, effective March 8, 2007  [DC Law 16-234; DC Official Code §§ 6- 1451.01 et seq. (2018 Repl.)], as amended (Green Building Act), and the project complies with the provisions of the Green Building Act.

6.    	Projects complying with one of the alternative compliance paths set forth in Section 101.12.6.

7.	Building projects that use none of the following:

1.	Electricity.

2.	Fossil fuels.

3.	Water.

101.12.4 Intent. The intent of this code is to provide minimum requirements for the siting, design, construction and plans for operation of high-performance green buildings to: reduce emissions from buildings and building systems; enhance building occupant health and comfort; conserve water resources; protect local biodiversity and ecosystem services; promote sustainable and regenerative materials cycles; enhance building quality; enhance resilience to natural, technological, and human-caused hazards; and support the goal of development that meets the needs of the present without compromising the ability of future generations to meet their own needs.

101.12.5 Compliance. Building projects shall comply with this code. Within each of Chapters 5 through 9, building projects shall comply with all mandatory provisions (x.3) and, where offered, either the:

1.	Prescriptive Option (x.4) or

2.	Performance Option (x.5).

Building projects shall also comply with all provisions of Chapter 10 of the Green Construction Code.

101.12.6 Alternative Compliance Paths. In lieu of the requirements of the Green Construction Code, projects that comply with one of the alternative compliance paths set forth in Sections 101.12.6.1 through 101.12.6.4.shall be deemed to comply with the Green Construction Code.

101.12.6.1 Compliance utilizing Living Building Challenge. Design, construct and certify to the International Living Future Institute’s Living Building Challenge program. The owner shall provide documentation to the code official confirming registration with the Living Building Challenge program prior to permit issuance.  The owner shall have an 18-month period from the date of issuance of the first certificate of occupancy, or from approval of the final inspection, to submit official evidence of certification to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.

101.12.6.2 Compliance utilizing LEED. Design, Construct, and certify to one or more of the US Green Building Council’s (USGBC) LEED Rating Systems at the Silver Level or higher. The owner shall provide approved documentation to the code official prior to permit issuance confirming registration with the LEED Rating System program(s). The owner shall have an 18-month period from the date of issuance of the certificate of occupancy, or from approval of the final inspection, whichever is later, to submit official evidence of LEED certification to the code official.  The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.

101.12.6.3 Compliance utilizing Green Communities. Affordable housing in Group R-2 occupancies designed, constructed and certified to be in compliance with the Enterprise Community Partners Green Communities Certification standard. The owner shall provide approved documentation to the code official prior to permit issuance confirming registration with the Green Communities Certification program. The owner shall have an 18-month period from the date of issuance of the certificate of occupancy, or from approval of the final inspection, whichever is later, to submit certification of compliance with the Green Communities Certification standard to the code official. The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification. Affordable housing for the purpose of this section shall consist of projects eligible for certification by Enterprise Community Partners or as otherwise defined by the code official.

101.12.6.4 Compliance utilizing National Green Building Standard (ICC 700).  Group R-2 occupancies designed, constructed and certified to be in compliance with the National Green Building Standard, ICC 700, at the bronze level or higher. The owner shall have an 18-month period from the date of issuance of the certificate of occupancy, or from approval of the final inspection, whichever is later, to submit official evidence of NGBS certification to the code official.  The code official, for good cause and upon written request, is authorized to extend the period to submit evidence of certification.

101.13 Swimming Pool and Spa Code.  The District of Columbia Swimming Pool and Spa Code (2023) (“Swimming Pool and Spa Code”) shall consist of the 2021 edition of the International Swimming Pool and Spa Code (“International Swimming Pool and Spa Code”), as amended by the Swimming Pool and Spa Code Supplement of 2023 (12-L DCMR) of the District of Columbia Construction Codes Supplement of 2023.

101.13.1 Appendices. Provisions in the appendices of the International Swimming Pool and Spa Code shall not apply unless specifically adopted in the Construction Codes Supplement.

101.13.2 Administration and Enforcement.  Chapter 1 of the International Swimming Pool and Spa Code is deleted in its entirety. In its place, the provisions of 12-A DCMR, Chapter 1, shall apply to the Swimming Pool and Spa Code and are incorporated by this reference.

101.13.3 Scope.  The provisions of the Swimming Pool and Spa Code shall apply to the construction, alteration, movement, renovation, replacement, repair and maintenance of aquatic recreation facilities, pools and spas. The pools and spas covered by the Swimming Pool and Spa Code are either permanent or temporary, and shall be only those that are designed and manufactured to be connected to a circulation system and that are intended for swimming, bathing or wading.

101.13.4 Intent.  The purpose of the Swimming Pool and Spa Code is to establish minimum standards to provide a reasonable level of safety and protection of health, property and public welfare by regulating and controlling the design, construction, installation, quality of materials, location and maintenance or use of pools and spas.

101.13.5 Applicability.  Any pool or spa and related mechanical, electrical and plumbing systems lawfully in existence at the time of the adoption of the Swimming Pool and Spa Code shall be permitted to have their use and maintenance continued if the use, maintenance or repair is in accordance with the original design and no hazard to life, health or property is created. Additions, alterations, renovations or repairs to any pool, spa or related system shall conform to the requirements for a new system without requiring the existing systems to comply with the requirements of the Swimming Pool and Spa Code provided that such systems were lawfully in existence at the time of the adoption of the Swimming Pool and Spa Code.

101.13.5.1 Moved Pools and Spas.  Unless covered by Section 101.13. 5, systems that are a part of a pool, spa or system moved indoor within the District of Columbia shall comply with the provisions of the Swimming Pool and Spa Code for new installations.

101.13.6 Other Requirements.  Owners and operators of swimming pools and spas shall also comply with the requirements of other District government agencies, including the Department of Health (DOH) regulations set forth in 25-C DCMR, Chapter 64, and the District Department of the Environment (DDOE) regulations set forth in 21 DCMR, Chapter 5.

101.14 Jurisdiction.  The Construction Codes shall apply to premises within the limits of the District of Columbia, including premises owned, occupied or controlled by the Government of the District of Columbia or any of its independent agencies.

101.14.1 Federal Premises.  Except as set forth in Section 101.14.1.1, the Construction Codes shall not apply to premises owned by the United States of America. Premises under the exclusive control of an officer of the United States government in his or her official capacity shall be deemed to be owned by the United States of America for purposes of this section, provided that the premises shall not be deemed to be under the exclusive control of an officer of the United States government where: (a) the premises (or any portions thereof) are leased to the United States of America, but the lessor is responsible for maintenance and repairs to the leased premises; or (b) the premises are owned by the United States of America, but leased to a person or persons other than the United States of America for development pursuant to a long-term ground lease or comparable property interest.

101.14.1.1 Applicability of Environmental Laws and Regulations. Notwithstanding Section 101.14.1,  and even where the Construction Codes may not otherwise apply to a particular project, a permit in accordance with Section 105.1 is required for (1) major substantial improvement activities (as defined in 21 DCMR Chapter 5) or (2) land-disturbing activities involving the implementation of stormwater management, erosion and sediment control, or floodplain management measures, and to the extent required by, 21 DCMR Chapter 5, 20 DCMR Chapter 31, or the Soil Erosion and Sedimentation Control Amendment Act of 1994, effective August 26, 1994 (D.C. Law 10-166; D.C. Official Code § 6-1403 (2018 Repl.)).

101.14.2 Foreign Missions.  The Construction Codes shall apply to those buildings occupied by or for any foreign government as an embassy or chancery to the extent provided for in Section 206 of the Foreign Missions Act, approved August 24, 1982 (96 Stat. 286; D.C. Official Code § 6-1306(g) (2018 Repl.)), that is, foreign missions shall substantially comply with the Construction Codes as required by the U.S. Secretary of State in a manner determined by the Secretary not to be inconsistent with the international obligations of the United States.  Notwithstanding the foregoing, a permit shall be required for all land-disturbing activities or major substantial improvement activities as defined by 21 DCMR Chapter 5.

101.14.3 President or Vice President’s Residence.  No permit required under the Construction Codes shall be issued if it is determined by the code official, defined in Section 103.1 of the Building Code, that:

- The permit affects an area in close proximity to the official residence of the President or Vice President of the United States as close proximity is determined by the United States; and

- The United States Secret Service has established that the issuance of the permit would adversely impact the safety and security of the President or the Vice President of the United States.

101.14.4 Structures Located in or Adjacent to Rivers or Bodies of Water.  The Construction Codes shall apply to structures, including, but not limited to, piers, wharves, jetties, slips, boat storage facilities, marinas, and pilings, located in or adjacent to any river or body of water within the limits of the District of Columbia, pursuant to An Act Relative to the control of wharf property and certain public spaces in the District of Columbia, approved March 3, 1899 (30 Stat. 1377; D.C. Official Code § 10-501.01 (2013 Repl.)).  Notwithstanding the foregoing, work affecting navigable waters may also require a permit from the U.S. Army Corps of Engineers pursuant to the Rivers and Harbors Appropriation Act of 1899, effective March 3, 1899 (30 Stat. 1151; 33 USC § 401 (2007)).

Strike Section 102 of the International Building Code in its entirety and substitute new Section 102 in the Building Code in its place to read as follows:

102	APPLICABILITY

102.1 General.  The provisions of these regulations shall cover all matters affecting or relating to buildings, other structures, and systems as set forth in Section 101.  A building or other structure shall not be constructed, maintained, extended, repaired, removed or altered in violation of these provisions.

Exception: The raising, lowering, or moving of a building or other structure as a unit, necessitated by a change in legal grade or widening of a street, shall be permitted provided that the building or other structure is not otherwise altered, that its use or occupancy is not changed, and that the building or other structure complies with the code provisions originally applicable to the building or other structure.

102.1.1 Code Precedence.  Unless otherwise provided herein, or in the Construction Codes Act, the Construction Codes shall take precedence over the Construction Codes Act, and the Construction Codes Supplement shall take precedence over the Model Codes (as defined in Section 101.1), including standards and amendments.

No provision of the Construction Codes shall be deemed to modify or amend any provision of the Zoning Regulations of the District of Columbia (11 DCMR), as amended, or any relief granted or order issued pursuant thereto (collectively, the “Zoning Regulations”), nor shall any provision of those Zoning Regulations be deemed to modify or amend any provision of the Construction Codes. Where a provision of the Construction Codes is deemed to be in conflict with any provision of the Zoning Regulations, then a waiver of the applicable provision of the Construction Codes must be sought from the code official, or there must be relief granted pursuant to the applicable provisions of the Zoning Regulations by the Board of Zoning Adjustment or as otherwise provided therein.

Exception:  If a conflict arises between the Construction Codes Act and the Construction Codes, the later adopted provision shall take precedence.

102.1.2 Conflicts.  Where, in any specific case, different sections of the Construction Codes specify different materials, methods of construction or other requirements, the most restrictive shall govern.  When there is a conflict between a general requirement and a specific requirement within the Construction Codes, the specific requirement shall be applicable.

102.2 Performance of Work in Public Space.  Work performed in public space, not specifically addressed in the Construction Codes, shall conform to the pertinent standards and permitting requirements of the District of Columbia Department of Transportation (DDOT) and of the District of Columbia Water and Sewer Authority (DC Water). See, e.g., 24 DCMR; D.C. Official Code, Title 10, Chapter 11; 21 DCMR; D.C. Official Code § 8-205.

102.3 Application of References.  Unless otherwise specifically provided in the Construction Codes, all references to article or section numbers, or to provisions not specifically identified by number, shall be construed to refer to such article, section or provision of the Construction Codes.

102.4 Referenced Standards.  The standards referenced in the Construction Codes and listed in Chapter 35 of the Building Code, in Chapter 44 of the Residential Code, in Annex A of the Electrical Code, in Chapter 8 of the Fuel Gas Code, in Chapter 15 of the Mechanical Code, in Chapter 13 of the Plumbing Code, in Chapter 8 of the Property Maintenance Code, in Chapter 80 of the Fire Code, in Section 12 of the Energy Conservation Code-Commercial Provisions, in Chapter 6 [RE] of the Energy Conservation Code-Residential Provisions, in Chapter 16 of the Existing Building Code, in Chapter 12 of the Green Construction Code, and in Chapter 11 of the Swimming Pool and Spa Code, shall be considered a part of the requirements of the Construction Codes to the prescribed extent of each such reference.

102.4.1 Conflicts.  If conflict arises between the provisions of the Construction Codes and their Referenced Standards, the provisions of the Construction Codes shall take precedence.  If conflict arises between the Construction Codes Supplement, the Model Codes (as defined in Section 101.1), and their Referenced Standards:

- The provisions of the Construction Codes Supplement shall take precedence over the Model Codes and their Referenced Standards.

- The provisions of the Model Codes, other than their referenced standards, shall take precedence over their Referenced Standards.

102.5 Severability.  In the event that any part or provision of the Construction Codes is held to be illegal or void, this shall not have the effect of making void or illegal any of the other parts or provisions of the Construction Codes.

102.5.1 Severance of Invalid Provisions.  Any illegal or void part of the Construction Codes shall be severed from the remainder of the Construction Codes by a court holding such part illegal or void, and the remainder of the Construction Codes shall remain effective.

102.5.2 Decisions Involving Existing Structures.  The invalidity of any provision in any section of the Construction Codes as applied to buildings and other structures constructed prior to the effective date of the Construction Codes  shall not be held to affect the validity of such section in its application to buildings and other structures erected after the effective date of the Construction Codes.

102.6 Applicable Codes.  Except as otherwise expressly provided, and without limiting the generality of Section 102.1, the Construction Codes, upon adoption pursuant to Section 122, shall apply to: (1) all applications filed with the Department on or after the date of adoption; (2) all pending applications filed with the Department prior to the date of adoption (except to the extent that a pending application has vested under a prior edition of the Construction Codes pursuant to Section 123); (3) all permits or certificates issued by the code official on or after the   date of adoption (except to the extent that the associated application vested under a prior edition of the Construction Codes pursuant to Section 123); and (4) all violations or infractions committed on or after the date of adoption.  The legal use and occupancy of any structure existing on the effective date of the Construction Codes, or for which a permit has already been approved, shall be permitted to continue without change.

Exceptions:

- Provisions of the Building Code, the Residential Code, the Property Maintenance Code, or the Fire Code that are specifically required to be applied retroactively.

- Provisions of the Construction Codes deemed necessary by the code official, as defined in Section 103.1, for the general safety, health and welfare of the occupants and the public.

102.7 Violations or Infractions.  The laws and regulations in force on the date that a new edition of the Construction Codes is adopted pursuant to Section 122 shall apply with respect to violations or infractions committed prior to said date, whether the prosecutions or adjudications of those violations or infractions are begun before or after said date.

Strike Section 103 of the International Building Code in its entirety and substitute new Section 103 in the Building Code in its place to read as follows:

103	DEPARTMENT OF BUILDINGS

103.1 Code Official.  The Director of the Department of Buildings (DOB) shall be, and shall hereinafter be referred to as, the code official for the enforcement of the provisions of the Construction Codes. Where in the Construction Codes the term “building official” is used, it shall mean the “code official.”

Exception:  Subject to the provisions of Section 103.2 as to Fire Code enforcement.

103.1.1 Delegation of Authority.  The Director and the Fire Chief shall have the authority to delegate his or her duties and powers under the Construction Codes, but he or she shall remain responsible for the proper performance of those duties and powers.

103.1.2 Department.  Where used herein the word “Department” shall refer to the Department of Buildings, except that references to “Department” in the Fire Code shall refer to the D.C. Fire and Emergency Medical Services Department (“Fire Department”).

103.2 Code Official for the Fire Code.  The Fire Chief shall be the code official for the enforcement of the Fire Code, except that the Director shall be the code official for enforcement of all provisions of the Fire Code pertaining to approval, installation, design, testing, and inspection of (a) new fire protection systems and (b) modifications of existing fire protection systems.  The Fire Chief shall be the code official for maintenance, testing and inspection of all existing fire protection systems.

103.3 Organization.  The Director or the Fire Chief shall appoint such number of officers, technical assistants, inspectors and other employees as shall be necessary for the administration of the Construction Codes.

103.3.1 Deputy.  The code official is authorized to designate an employee or employees as deputy who shall exercise the powers of the code official as delegated during the temporary absence or disability of the code official.

103.4 Conflicts of Interest.  No official or employee of the Department shall directly or indirectly engage in any private business transaction or activity, which tends in any way to interfere with the performance of his or her duties, including:

- Furnishing of Services.  Being engaged in, or directly or indirectly connected with, the furnishing of labor, materials or appliances for the construction, alteration or maintenance of a building under the jurisdiction of the Construction Codes, or the preparation of plans or specifications of a building under the jurisdiction of the Construction Codes, unless the official or employee is the principal owner of the building.

- Conflict with Official Duties. Engaging in any work which conflicts with official duties or with the interests of the Department.

- Private Work.  Directly or indirectly engaging with or accepting remuneration from any private person, firm, or corporation for the performance of any work as a designer, architect, engineer, consultant, or inspector, which work is to be submitted to, passed upon, reviewed, or inspected by any officer of the District of Columbia charged with the administration of any portion of the Construction Codes.

103.5 Access to Public Records. Access to the public records of the Department is governed by the Freedom of Information Act, effective March 25, 1977 (D.C. Law 1-96; D.C. Official Code §§ 2-531 et seq. (2016 Repl. & 2019 Supp.)) (the “Freedom of Information Act”). The public records of the Department (as the term “public records” is defined in An Act To prescribe administrative procedures for the District of Columbia government, approved October 21, 1968 (82 Stat. 1203; D.C. Official Code § 2-502(18) (2016 Repl. & 2019 Supp.)) (the “Administrative Procedure Act”) shall be available for inspection and copying subject to the exemptions and procedures set forth in the Freedom of Information Act.

103.5.1 Publically Available Information. The Department shall make the following information available for inspection without a written request:

- Permit Documents. Copies of issued permits, permit applications, and all documents submitted in support of permit applications (including plans);

- Certificates of Occupancy. Copies of issued Certificates of Occupancy; and

- Other Information. Other information and documents that the Department makes publically available on its website.

103.5.2 Fees for Related Services. Fees for services rendered in response to information requests, including researching and copying any requested documents, are set forth in 1 DCMR § 408.

Exception: Advisory Neighborhood Commissioners shall not be required to pay a fee for researching and copying requested documents intended for official ANC purposes.

Strike Section 104 of the International Building Code in its entirety and substitute new Section 104 in the Building Code in its place to read as follows:

104 	DUTIES AND POWERS OF THE CODE OFFICIAL

104.1 	General.  The code official is hereby authorized and directed to enforce the provisions of the Construction Codes.  The code official shall have the authority to render interpretations of the Construction Codes and to adopt policies and procedures in order to clarify the application of its provisions.  Such interpretations, policies and procedures shall be in compliance with the intent and purpose of the Construction Codes.  Such policies and procedures shall not have the effect of waiving requirements specifically provided for in the Construction Codes.

104.1.1 Administrative Bulletins.  The code official shall have the authority to promulgate from time to time administrative bulletins that shall be effective upon publication in the D.C. Register. Administrative bulletins shall be titled, numbered, and dated. Administrative bulletins shall be publically available at the Department’s permit center and shall be posted on the Department’s website.

104.2 	Applications and Permits.  The code official shall receive applications, review submittal documents, and issue permits and certificates authorized by the Construction Codes, and shall enforce compliance with the provisions of the Construction Codes.

104.3 	Notices and Orders.  The code official shall have authority to issue all necessary notices or orders to ensure compliance with the Construction Codes, and shall have authority to institute administrative and legal actions to correct violations or infractions, including actions pursuant to An Act To provide for the abatement of nuisances in the District of Columbia by the Commissioners of said District, and for other purposes, approved April 14, 1906 (34 Stat. 114; D.C. Official Code §§ 42-3131.01 et seq. (2012 Repl.)) (the “Nuisance Abatement Act”), and the Due Process Demolition Act of 2002, effective April 19, 2002 (D.C. Law 14-114; D.C. Official Code §§ 42-3171.01 et seq. (2012 Repl.)).

104.4 	Inspections.  The code official is authorized: (i) to make all inspections necessary to ensure compliance with the Construction Codes in accordance with Section 104.6, and (ii) to accept reports of inspection by approved agencies.  The code official is authorized to engage such expert opinion as is deemed necessary to report upon unusual technical issues that arise.

104.4.1 Post Disaster Event Inspections.  The code official is authorized to conduct inspections to determine emergency and disaster related damage to premises in the District of Columbia in accordance with the District of Columbia Damage Assessment Emergency Operations Plan (September 2015) and any subsequent amendments thereto.

104.5 	Identification.  The code official, and authorized representatives of the code official, shall carry proper credentials when inspecting premises in the performance of duties under the Construction Codes.

104.6 	Right of Entry.  Where it is necessary to make an inspection to enforce the provisions of the Construction Codes, the code official is authorized to enter the premises, or any part thereof, at reasonable times to inspect or to perform the duties imposed by the Construction Codes subject to applicable law. This authority includes, but is not limited to, situations where the code official has reasonable cause to believe that a condition exists in or upon a premises that is contrary to or in violation of the Construction Codes. Where attempting to gain entrance for inspection, the code official and authorized representatives thereof shall present official credentials.

104.6.1 Occupied residential premises. With respect to the inspection of an occupied residential portion of any premises under the exclusive control of a tenant, the code official shall not enter that portion of the premises without first having obtained permission from the tenant or other person of suitable age and discretion who resides there, unless the code official has:

- A valid administrative search warrant which permits the inspection, pursuant to D.C. Official Code §§ 11-941 and 42-3509.08 (2012 Repl.), and/or D.C. Superior Court Civil Rule 204; or

- A reasonable basis to believe that an imminent danger to the public health, safety or welfare exists requiring immediate entry into that portion of the premises.

104.6.1.1 Contractors and other persons with common authority over the premises. Where a residential tenant has given access or control to a contractor or other person to undertake work on the tenant’s portion of the premises pursuant to a permit, the code official is authorized to obtain consent from the contractor or other person with common authority over the premises to enter the premises for the limited purpose of inspecting the work authorized by such permit.

104.6.2 Interference with Inspection.  Any person who interferes with the code official in the performance of authorized duties, or prevents or refuses to allow the code official to enter a premises or any portion thereof for inspection in the performance of authorized duties, is in violation of the Construction Codes.

104.6.3 Refusal of Entry. If entry is refused, the code official shall have recourse to the remedies provided by law to secure entry, including, but not limited to, application  to the Superior Court for an administrative search warrant pursuant to D.C. Official Code §§ 42-3131.02 and 42-3509.08 (2012 Repl.), and Sup. Ct. Civ. R. 204.

104.7 	Retention of Public Records. The code official shall comply with the requirements of the District of Columbia Public Records Management Act of 1985, as amended, effective September 5, 1985 (D.C. Law 6-19; D.C. Official Code §§ 2-1701 et seq. (2018 Repl.)) (the “Public Records Act”). Public records of the Department (as defined in D.C. Official Code § 2-1701(13)) shall be maintained for the period of time required by law. Records of permit applications received, permits and certificates issued, fees collected, reports of inspections, and notices and orders issued, and approved submittal documents shall be maintained  so long as the building or other structure to which they relate remains in existence, unless otherwise provided for by statute, rule or regulation.

104.7.1 Flood Hazard Areas. Retention of records for premises located in flood hazard areas shall comply with Appendix G.

104.8 Liability. The code  official or Department employee charged with the enforcement of the Construction Codes, the Zoning Regulations or other pertinent laws or regulations, while acting for the District of Columbia in good faith and without malice in the discharge of the duties required by the Construction Codes, the Zoning Regulations or other pertinent laws or regulations, shall not thereby be civilly or criminally rendered liable personally and are hereby relieved from personal liability for any damage accruing to persons or property as a result of any act or by reason of an act or omission in the discharge of official duties.

104.8.1 Legal Defense.  Any suit or criminal complaint instituted against an officer or employee of the Department because of an act performed by that officer or employee in the lawful discharge of duties and under the provisions of the Construction Codes, the Zoning Regulations or other pertinent laws or regulations shall be defended by legal representatives of the District of Columbia until the final termination of the proceedings. The code official or any subordinate shall not be liable for cost in any action, suit or proceeding that is instituted in pursuance of the provisions of the Construction Codes, the Zoning Regulations or other pertinent laws or regulations enforced by the Department.

104.9 Approved Materials, Equipment and Devices.  All materials, equipment and devices approved for use by the code official shall be constructed and installed in accordance with such approval.

104.9.1 Used Materials, Equipment and Devices.  The use of used materials which meet the requirements of the Construction Codes for new materials is permitted. Used equipment and devices shall not be reused unless approved by the code official.

104.9.2 Unlabeled Products.  Where materials, assemblies or products are required by the Construction Codes to be labeled, those materials, assemblies or products which are not labeled, listed or classified by an approved testing agency and which are proposed to be installed in the District of Columbia, shall be tested and labeled by an approved testing laboratory or shall be approved in accordance with Sections 1701 and 1703 of the Building Code at the expense of the applicant, before a permit can be granted for this installation.

104.9.3 Assembled Components.  Any mechanical or electrical appliance which is not labeled, listed or classified by an approved testing agency, which is an assembly of individually labeled or listed subassemblies or components and which is proposed to be installed in the District of Columbia, shall be tested and approved in accordance with Section 104.9.2 of the Building Code, before a permit can be granted for its installation.

104.9.4 Modular Structures.  Before erecting or installing in the District of Columbia any factory assembled structure, manufactured at a remote site and transported in one or more sections, a complete set of drawings shall be submitted for review prior to the issuance of a building permit.  These drawings shall include a certificate of approval by a factory inspection agency that has been approved by the code official.  The drawings shall be submitted to the code official for plan review and permitting and shall include a set of the manufacturer’s installation specifications and designate the applicable portions of construction that are required to have field inspection by the code official, including all utility connections, the marriage line connections and the foundation plate nailing patterns.  These drawings shall be stamped by a structural engineer or architect licensed in the District of Columbia, and include the site constructed or assembled foundation system details and specifications.  Separate permits issued by the Department for plumbing, mechanical, and electrical connections shall be required.  Inspections of all work conducted on site shall be in accordance with Section 109.  Prior to placement of the factory assembled structure on a footing and foundation, all required footing and foundation inspections shall require approval by the code official.

104.10 Modifications.  Wherever there are practical difficulties involved in carrying out the provisions of the Construction Codes, the code official shall have the authority to grant modifications for individual cases upon application of the owner or owner’s representative; provided, that the code official shall first find:  (1)  that special individual reasons make the strict letter of the Construction Codes impractical; (2) that the modification is in compliance with the intent and purpose of the Construction Codes,; and (3) that such modification does not lessen health, accessibility, life and fire safety, or structural requirements.  The details of the action granting modification shall be recorded and entered in the appropriate files of the Department.

104.10.1 Procedure for Modifications.  The application for modification shall be submitted on a form provided by the Department and sealed by the registered design professional if applicable.  The final decision of the code official shall be in writing and shall be officially recorded with the application for permit in the permanent records of the Department.

104.10.2 Flood Hazard Areas.  Modifications to any provision required in flood hazard areas are also subject to Section G105 of Appendix G.

104.10.3 Projections. Modifications to projection requirements set forth in Chapter 32 shall also comply with Section 3202.4.

104.11 Alternative Materials, Equipment, Methods of Construction and Design.  The provisions of the Construction Codes are not intended to prevent the use of any material, equipment or method of construction not specifically prescribed by the Construction Codes, provided any such alternative has been approved by the Department. Alternative materials, equipment or methods of construction shall be approved when the code official finds that the proposed design is satisfactory and complies with the intent of the provisions of the Construction Codes, and that the material, equipment or method offered is, for the purpose intended, at least the equivalent of that prescribed in the Construction Codes in quality, strength, effectiveness, fire-resistance, durability and safety.  Approvals shall conform to Sections 1701 and 1703 of the Building Code. Where the alternative material, design or method of construction is not approved, the code official shall respond in writing, stating the reasons why the alternative was not approved.

104.11.1 Research Reports.  Supporting data, where necessary to assist in the approval of materials, equipment or methods of construction not specifically provided for in the Construction Codes shall consist of valid research reports from sources approved by the code official.

104.11.2 Tests.  Whenever there is insufficient evidence of compliance with the provisions of the Construction Codes, or evidence that a material, equipment or method of construction does not conform to the requirements of the Construction Codes, or in order to substantiate claims for alternative materials or methods, the code official shall have the authority to require tests as evidence of compliance to be made at no expense to the government of the District of Columbia.  Test methods shall be specified in the Construction Codes or by other recognized and accepted test standards in the industry. In the absence of recognized and accepted test methods, the code official is authorized to approve appropriate testing procedures.  Tests shall be performed by an agency approved by the code official.  Reports of such tests shall be retained by the code official for the period required for retention of public records.

104.12 Reasonable Accommodation Under the Fair Housing Act.  Requests for reasonable accommodation under the Fair Housing Act, 42 USC § 3604(f)(3)(B), as amended, shall be made according to the procedures set forth in 14 DCMR § 111.

104.13 Required Procedure. Except where provisions of the Construction Codes are modified pursuant to Sections 104.10, 104.11 or 104.12, no deviation from the provisions of the Construction Codes is permissible. A verbal waiver or verbal grant of permission by the code official or any representative thereof shall not give authority to violate or cancel any provisions of the Construction Codes, and shall not be relied upon as a basis for deviation from the provisions of the Construction Codes.

Strike Section 105 of the International Building Code in its entirety and substitute new Section 105 in the Building Code in its place to read as follows:

105	PERMITS

105.1 Required Permits.  Unless specifically exempted under Section 105.2, an owner or authorized agent who intends to undertake any of the activities set forth in items 1 through 5 below, or to cause any such work to be done shall first make application to the code official and obtain the required permit(s) relevant to the intended work:

- Construct, enlarge, alter, repair, move, demolish, raze, or change the occupancy of a building or other structure; or

- Erect, install, enlarge, alter, repair, remove, convert or replace any electrical, gas, mechanical, or plumbing system, the installation of which is regulated by the Construction Codes, or to cause any such work to be done; or

- Install tower cranes or other hoisting devices; or

- Movement, addition, deletion, relocation or redesignation of any lot line; or

- Undertake any other activity regulated by the Construction Codes.

105.1.1 Classification of Permits.  The code official is authorized to classify a permit application based on the applicant’s stated scope of work.  Permit classifications may include, but are not limited to, the following:

- Building permits.

- Raze permits.

- Demolition permits.

- Trade permits:

4.1 	Electrical.

4.2	Gasfitting.

4.3	Mechanical, including refrigeration and HVAC equipment.

4.4 	Plumbing.

  - Elevators, escalators and other conveying systems.

4.6 	Fire alarm system and fire suppression system permits.

4.7	Boilers and pressure vessels.

- Sign permits (subject to Sections 105.4.5 and 3107).

- Site Development permits (including but not limited to foundation, sheeting and shoring, earthwork, retaining walls and civil sitework (BCIV) permits).

- Miscellaneous permits.

7.1 	Projection permits.

7.2	Crane and derrick permits.

7.3	After-hours permits.

7.4	Fences.

- Permits for other work as may be determined by the code official, and set forth by the Department in administrative bulletins.

105.1.2 Compliance with Code.  The permit shall be an authorization to proceed with the work for which the permit was issued during authorized construction hours and shall not be construed as authority to violate, cancel or set aside any of the provisions of the Construction Codes, except as specifically stipulated by modification granted in accordance with Section 104.10.

105.1.3 Authorized Hours for Work Pursuant to a Permit. Authorized hours in the District of Columbia, for work conducted under a permit, are from 7 a.m. to 7 p.m. Mondays through Saturdays, excluding legal public holidays.  No work conducted under a permit is authorized on Sundays or legal public holidays without an after-hours permit.  Legal public holidays are defined in D.C. Official Code §§ 1-612.02(a) (2016 Repl. & 2019 Supp.).

Exceptions:

  - Interior work exempt from permit requirements, such as interior painting, wallpapering, carpet installation, cleaning or similar activities performed on the interior of a structure shall be allowed outside of authorized construction hours, subject to noise regulations in 20 DCMR.

  - Finishing and weather protection activities of concrete where the code official determines that such activities are critical to achieving the concrete strength specified by the designer of record shall be allowed outside of authorized construction hours, subject to noise regulations in 20 DCMR.

105.1.3.1 Work Outside of Authorized Hours. No person shall engage in any work pursuant to a permit outside of the authorized construction hours specified in Section 105.1.3 including noted exceptions, unless the permit holder has obtained an after- hours permit in compliance with Section 105.4.1.

105.2 Work Exempted from Permit.  This Section 105.2 sets forth exemptions from permit requirements, subject to historic and Flood Hazard Area restrictions set forth in Sections 105.2.5 and 105.2.6 respectively.  Exemptions from permit requirements of the Construction Codes shall not be deemed to grant authorization for any work to be done in any manner in violation of the provisions of the Construction Codes or of any other laws, regulations or ordinances of the District of Columbia.

Building:

1.	Brick pointing.

2.	Caulking, patching and plaster repair of non-rated assemblies.

3.	Installation of window screens and storm windows.

4.	Repair in kind of existing fences.

5.	Application of a paint, sealant, stain or other coating to a surface that, when dried, leaves a decorative or protective coating over that surface, provided that (a) the application of fire-retardant paint shall require the issuance of a permit, and (b) a permit may be required for such application under certain circumstances specified in Section 105.2.5.

6.	Papering, tiling, carpeting, floor covering, cabinets, countertops and similar finish work.

7.	Replacement in kind of one of the items listed hereafter. For the purpose of this section, “replacement in kind,” means replacement with a feature of like material that replicates the existing feature in proportion, appearance, texture, design, detail and dimensions.

7.1	Roof covering or coping.

7.2	Siding.

7.3	Gutters and downspouts and fascia.

7.4	Private sidewalks and driveways where the area of land disturbance does not exceed 50 square feet (4.65 m2).

7.5	Patios where the area of land disturbance does not exceed 50 square feet (4.65 m2).

7.6	Non-rated suspended ceiling tile.

7.7	Not more than 160 square feet (14.9 m2) of gypsum board excluding installation of fire-rated gypsum wall board or shaft liner.

8.     	A single garden storage shed that does not exceed 50 square feet (4.65 m2) in area, is less than ten feet (3048 mm) in overall height, is an accessory structure to a building of Use Group R-3 or to a building under the jurisdiction of the Residential Code, and is erected on a lot with no other exempted storage shed.

9.   	Prefabricated pools, spas or water features, accessory to a Group R-3 occupancy, or accessory to buildings under the jurisdiction of the Residential Code, which are less than 24 inches (610 mm) deep, do not exceed 1000 gallons (3785.41L), are installed entirely above ground and are not designed or manufactured to be connected to a circulation system.

10. 	Retaining walls that are not over four feet (1219 mm) in height, measured from the bottom of the footing to the top of the wall, only where the area of land disturbance does not exceed 50 square feet (4.65 m2).

11.	Shade cloth structures constructed for horticultural nursery or agricultural purposes, not including service systems.

12.  	Swings and other playground equipment accessory to detached one- and two-family dwellings and townhouses.

13.	A tree house or playhouse, no more than 36 square feet, (3.35 m2) in area and accessory to detached one- and two-family dwellings and townhouses.

14. 	Movable fixtures, cases, racks, counters and partitions not over five feet nine inches (1753 mm) in height.

15. 	A one-story mausoleum not exceeding 250 square feet (23 m2) in footprint area provided the mausoleum: (a) is of Type I or II construction; (b) does not contain any habitable space; and (c) does not require any utility connections.  Notwithstanding the applicability of this permit exemption, the person undertaking the proposed work shall comply with soil erosion and sediment control requirements enforced by Department of Energy and the Environment (21 DCMR Chapter 5).

16.	The following signs are exempt from permit requirements:

(a) 	Signs with an area no greater than 1 square foot (0.09 m2.);

(b) 	Interior signs that are not substantially visible from the outside of the building;

(c) 	Temporary signs (for less than 180 days) that are not more than 10 square feet (0.93 m2) in area and which do not use electricity;

(d) 	Non-commercial signs displayed on private property by the owner or occupant of the property, provided, that the sign:

- Is not more than 10 square feet (0.93 m2) in area;

- Does not use electricity; and

- Does not require approval by the Commission of Fine Arts, Historic Preservation Review Board or Historic Preservation Office, Office of Planning, or the Chinatown Steering Committee.

(e) 	Other signs exempted from permitting requirements by any regulations adopted pursuant to the Sign Legislation.

17. 	Structures erected for a period of less than 180 days in a 12-month period that cover an area of 150 square feet (13.9 m2) or less and are exempted from permit requirements by Section 3103;

18.  	Tents and other membrane structures erected for a period of less than 180 days that cover an area of 150 square feet (13.9 m2) or less and are exempted from permit requirements by Section 3103.2 of the Fire Code.

19.	Erection or replacement of fixed or retractable awnings projecting 40 inches (1016 mm) or less that are located outside the jurisdiction of the U.S. Commission of Fine Arts or the Historic Preservation Review Board, and are not subject to Section 3202.12, where the awnings meet one or more of the following criteria:

- Awnings installed on detached one- and two-family dwellings and townhouses not more than three stories above grade in height with a separate means of egress; or

- Retractable awnings installed above the first story.

Electrical:

1.	Repair portable electrical equipment.

2.	Repair lighting fixtures.

3.	Repair or replace ballasts, sockets, receptacles, or snap switches.

4.	Minor repair work, including the replacement of lamps or the connection of approved portable electrical equipment to approved permanently installed receptacles, and other minor repairs at existing outlets.

5.	Electrical equipment used for radio and television transmissions; however, a permit is required for equipment and wiring for a power supply and the installations of towers and antennas.

6.	Listed cord-and-plug connected temporary decorative lighting.

7.	Reinstallation of plug receptacles but not the outlets thereof.

8.	Replacement of branch circuit overcurrent devices of the required capacity in the same location.

9.	Installation of any temporary system required for the testing or servicing of electrical equipment or apparatus.

Gas:

1.	Portable heating appliances.

2.	Connection of cooking or clothes drying appliances.

3.	Replacement of any minor part that does not alter approval of equipment or make such equipment unsafe.

4.	Portable-fuel-cell appliances that are not connected to a fixed piping system and are not interconnected to a power grid.

Mechanical:

1.	Portable heating appliances.

2.	Portable ventilation appliances.

3.	Portable cooling units.

4.	Steam, hot or chilled water piping within any heating or cooling equipment or appliances regulated by the Construction Codes.

5.	Replacement of any minor part that does not alter approval of equipment or make such equipment unsafe.

6. 	Portable evaporative coolers.

7. 	Self-contained refrigerating systems containing 10 pounds (5 kg) or less of refrigerant or that are actuated by motors of 1 horsepower (746 W) or less.

8. 	Portable-fuel-cell appliances that are not connected to a fixed piping system and are not interconnected to a power grid.

Plumbing:

- The stopping of leaks in drains, water, soil, waste or vent pipe, provided, however, that if any concealed trap, drainage, water, soil, waste or vent pipe becomes defective and it becomes necessary to remove and replace the same with new material, such work shall be considered as new work and a permit shall be obtained and inspection made as provided in the Construction Codes.

- The clearing of stoppages or the repairing of leaks in pipes, valves or fixtures, and the removal and reinstallation of water closets, provided such repairs do not involve or require the replacement or rearrangement of valves, pipes, or fixtures.

- Repair or replacement of water meters performed by DC Water.

4.	Replacement of kitchen and bathroom sink or faucet, supply lines and exposed “p” trap within detached one- and two-family dwellings and townhouses.

5.	Replacement of a water closet or water closet seal within detached one- and two-family dwellings and townhouses.

105.2.1 [Reserved].

105.2.2 Ordinary Repairs.  Permits are not required for ordinary repairs to buildings, other structures or equipment.  Ordinary repairs shall not include:

- The cutting away of any wall, partition or portion thereof, the removal or cutting of any structural beam or load bearing support, or the removal or change of any required means of egress, or rearrangement of parts of a structure affecting the egress requirements; or

- Addition to, alteration of, replacement or relocation of any standpipe, water supply, sewer, drainage, drain leader, gas, soil, waste, vent or similar piping, electric wiring or mechanical or other work affecting public health or general safety.

105.2.3 Public Service Agencies.  A permit shall not be required under the Construction Codes for the installation, alteration or repair of equipment and facilities used for generation, transmission, distribution, metering or treatment that is under the ownership or control of public service agencies subject to the jurisdiction of the District of Columbia Public Services Commission or DC Water.

Exception: For projects of public service agencies involving land-disturbing activities or major substantial improvement activities as defined in 21 DCMR Chapter 5, and for all work described in Sections 105.2.5 and 105.2.6, a public service agency shall be required to submit a permit application and, as applicable, thereafter obtain a permit for such project.

105.2.4 Permit Exemptions Subject to Public Space Requirements.  When the proposed scope of work would qualify to be exempted from permit pursuant to Section 105.2 of this chapter, and the work is to occur wholly or partially on public space, the applicant shall be responsible for obtaining all public space permit(s) that are required by DDOT.

105.2.5 Permit Exemptions Not Applicable in Historic Districts or to Historically Designated Structures. When the proposed scope of work would qualify to be exempted from permit pursuant to Section 105.2 of this chapter, and the work is to occur on the land of or the exterior of buildings or other structures located in historic districts, or of historically designated buildings or other structures, an application for a building permit subject only to historic preservation review pursuant to Section 105.1 shall be required for the following work described in Section 105.2 Building: 1. Brick pointing; 4. Repair or replacement of fences, except as deemed an ordinary repair; 5. Painting of unpainted exterior masonry at a landmark property; 7. Replacement in kind of one of the listed items (except for interior ceiling tile and gypsum board); 8. Garden storage shed; 9. Prefabricated pools; and 10. Retaining walls. The code official shall not issue a permit based on an application subject solely to historic preservation review under this section without the prior review and approval of the Historic Preservation Office.

105.2.6 Permit Exemptions Not Applicable in Flood Hazard Areas.  When the proposed scope of work would qualify to be exempted from permit requirements pursuant to Section 105.2 of this chapter, and the work is to occur on premises wholly or partially within a Flood Hazard Area, an application for a permit subject only to review by the Floodplain Administrator shall be required. The code official shall not issue a permit based on an application subject solely to review by the Floodplain Administrator under this section without the prior review and approval of the Floodplain Administrator regarding the disposition of the permit application by the code official.

105.3 Application for Permit.  To obtain a permit, the applicant (as defined in Section 105.3.1) shall submit an application for a permit in the form prescribed and provided by the code official.  Where a permit is required, it shall be obtained by the applicant prior to the commencement of corresponding work, except as provided in Section 105.4.6.

105.3.1 Authorized Applicant.  Permit applications shall be submitted by the owner or lessee of the premises, or an authorized agent of either. (The persons referred to in 105.3.1 and 105.3.1.1 are referred to collectively as the “applicant”).

105.3.1.1 Trade Permit Applicant.  A trade permit application shall be submitted only by, or on behalf of, the D.C.-licensed master tradesperson who is to be responsible for supervising the work to be done under a trade permit when issued.

105.3.1.2 Change in Applicant.  Where a change in the applicant is proposed or occurs during the pendency of an unexpired permit application, whether as the result of a transfer of the premises or other circumstances, the permit application shall be deemed abandoned pursuant to Section 105.10 unless:

- The applicant of record notifies the code official of a change in applicant; and

- The new applicant submits information required by the code official on an approved form.

If these actions are not  completed by (a) the date that is 30 days after the date on which the change of applicant occurs, or (b) the date on which the permit application is approved, whichever is earlier, the permit application shall be deemed abandoned as of such date.

Exception: Trade permit applications are not transferable.

105.3.2 Form and Content of Application. Unless otherwise specified by the code official, the application shall:

- Be accompanied by any filing fee deposit required pursuant to Section 108.2.1.1 and any other fees required by the code official to be paid at the time of filing.  All other fees shall be paid prior to issuance of the permit pursuant to Section 108.

- Clearly identify and describe the work to be covered by the permit for which application is made.

- Describe the premises on which the proposed work is to be done by address and lot and square.

- Provide sufficient information clearly distinguishing the existing use of the premises, or relevant portion thereof, from the proposed use.

- Indicate the use and occupancy for which the proposed work is intended.

- Be accompanied by a fully completed intake form and supporting submittal documents as required by Section 106.

Exception: Submittal documents are not required for permit applications proposing only a change of use or occupant load where no proposed alterations are to be made. If a code compliance issue needs to be addressed following inspection of the premises, submittal documents shall be submitted as directed by the code official.

- Include an accurate breakdown of construction valuation in accordance with Section 108.3.

- Include name and contact information, including a valid electronic mail address, for all of the following:

8.1	The applicant;

8.2	The permit expediter (if applicable); and

8.3	The D.C. licensed general contractor or construction manager (if known when the application is filed; if not known at the time of filing, this information shall be provided to the code official by the applicant as soon as the general contractor or construction manager is selected, but no later than the scheduling of the first inspection).

- Include the name and contact information, including a valid electronic mail address, for the person designated to receive Department communications relating to the application and for electronic service of notices and orders related to the permit based on the application.

- Include the applicant’s certification that the information provided in the application is true and correct to the best of the applicant’s knowledge, and acknowledging that a false statement in an application may subject the applicant to penalties as listed in Section 105.3.3. Submission of an online application shall be deemed to constitute the certification required under this section.

- Include the additional information required by Appendix G, Section G104, if the development site is located wholly or partially within a flood hazard area, including, but not limited to an elevation certificate or floodproofing certificate where required.

- Include the “Standards of External Effects” application required by the District of Columbia Zoning Regulations (11-U DCMR, Section 805) if the property is located in a PDR District.

- Include a list of names and addresses of owners of adjoining premises as identified in the Real Property Tax Database maintained by the Office of Tax and Revenue of the Office of the Chief Financial Officer for work subject to notification requirements in Sections 105.7 and/or 106.2.18.3.

- Include the name, signature, and license number of the licensed master tradesperson, or licensed elevator contractor or elevator mechanic, responsible for supervising the work as required by Sections 105.4.3 and 105.8, for trade permit applications to authorize work in electrical, mechanical, plumbing, fuel gas systems, or elevators and other conveying systems.

- Be signed by the applicant (as defined in Section 105.3.1.). Submission of an online application shall satisfy this requirement.

- Provide such other data and information as required by the code official.

105.3.3 Penalties for False Statements.  False statements in an application shall constitute grounds for permit revocation pursuant to Section 111. Applicants are also subject to criminal penalties pursuant to Section 404 of the District of Columbia Theft and White Collar Crimes Act of 1982, effective December 1, 1982 (D.C. Law 4-164; D.C. Official Code § 22-2405 (2012 Repl. & 2019 Supp.)) for false statements.

105.3.4 Responsibility to Maintain Current Electronic Mail Address.  While applications are pending for processing and after issuance of a permit, applicants and permit holders are required to inform the Department within five days of any changes to the electronic mailing addresses provided in the underlying permit application as specified in Section 105.3.2, Items 8 and 9. The Department will provide any required notices or orders to the electronic mail address submitted with the permit application as updated in compliance with this subsection.

105.3.5 Time Limitation of Application.  An application for a permit for any proposed work shall be deemed to have been abandoned:

- 180 days after the date of filing, unless such application has been pursued in good faith, an extension has been granted pursuant to Section 105.3.5.1, or a permit has been issued; or

- Where a change in the applicant occurs and the applicant of record and/or the new applicant fail to comply with the requirements of Section 105.3.1.2.

105.3.5.1 Extension of Application Time Limitation. The code official is authorized to grant a maximum of two extensions of time, not exceeding 180 days each, for agency consideration of a permit application, provided that the extension is requested in writing and justifiable cause demonstrated.  Refunds of the unused portion of the application file deposit shall be made pursuant to Section 108.6.

105.4 Additional Provisions Applicable to Certain Permits.

105.4.1 After-Hours Permit. No person shall engage in any work pursuant to a permit outside of the authorized construction hours specified in Section 105.1.2 including noted exceptions, unless the permit holder has obtained an after-hours permit pursuant to the procedures established by the code official. Any work authorized by an after- hours permit shall comply with noise regulations set forth in 20 DCMR and to the conditions set forth in Section 105.4.1.1.

105.4.1.1 After-Hours Permit Impacting Residential Premises. No permit application for after-hours work in or within 500 feet (152 400 mm) of a Residence District or a Special Purpose District, or within 500 feet (152 400 mm) of a premises with an R occupancy as defined in Chapter 3 of the Building Code, shall be approved by the code official without written comments or recommendations of : (a) any   Advisory Neighborhood Commission(s) (ANC) whose boundaries (i) encompass the  premises where the after-hours work will take place or (ii) are within 500 feet (152 400 mm) of the premises where the after-hours work will take place (collectively the “affected premises”); or (b) the ANC Commissioner for the single-member ANC District(s) in which the affected premises are located (or, where such a seat is vacant, the ANC Chair or the ANC Chair’s designee).

Exceptions The code official is authorized to issue an after-hours permit without the ANC or ANC Commissioner comments or recommendations required by Section 105.4.1.1:

- Where the code official determines that emergency conditions exist requiring the after-hours work; or

- Where the code official determines that the public interest necessitates the after-hours work.

105.4.2 Annual Permit.  In lieu of an individual permit for each alteration to an existing approved electrical, gas, mechanical or plumbing system, the code official is authorized, upon application therefor, to issue an annual permit allowing alterations to such installations to any person, firm or corporation regularly employing one or more qualified tradespersons in the building, other structure or on the premises owned or operated by the applicant for the permit.

105.4.2.1 Annual Permit Records.  The person or entity to whom an annual permit is issued shall keep a detailed record of alterations made under such annual permit.  The code official shall have access to such records at all times or such records shall be filed with the code official as designated.

105.4.3 Trade Permits. A trade permit is required for any work involving electrical, gasfitting, mechanical, plumbing, elevators and other conveying systems, and boilers, unless the work is exempted from permit requirements by Section 105.2.  Trade permits shall be issued only where the following criteria are met:

- Where required by Section 105.8., the  person applying for the trade permit must be a master tradesperson licensed in the District of Columbia who will be responsible for performing or supervising the work to be done under such permit in compliance with the licensing requirements for specific trades as set forth in Section 105.8; and

- Trade permits must be associated with a building permit, except in the following circumstances:

- Where the code official determines that the scope of work is such that review of submittal documents is not required pursuant to Section 106.1; or

- Where the code official determines that, based on the scope of work proposed, the submission of shop drawings is sufficient to ascertain compliance with the Construction Codes and the applicant submits shop drawings as required by the code official with the trade permit application.

105.4.4 Raze Permits.  Before a raze permit is issued, the owner of the building or other structure to be razed, or the owner’s agent, shall post and maintain a notice furnished by the code official on the premises where the building or other structure is located.  The notice shall front on the street of address of the building or other structure, or as designated by the code official, so as to be readable from the public way.  The raze permit shall not be issued by the code official until the applicant provides an affidavit to the Department affirming that the notice has been posted and maintained as required by this section for at least 30 days. This notification requirement shall not apply to any emergency raze ordered by the code official.

105.4.4.1 Other Requirements.  Prior to issuing a raze permit, the code official is authorized to require the applicant to submit other clearances and/or information that the code official deems necessary, including, but not limited to, asbestos removal, utility disconnects, grading plans, and historic preservation.

105.4.4.2 Fee.  The applicant for a raze permit shall pay a fee for the furnishing of the notice required under Section 105.1.3.4 in accordance with the applicable fee schedule published in the D.C. Register, as amended from time to time.

105.4.4.3 Fines.  Violations of this section shall be deemed a Class 3 infraction pursuant to 16 DCMR § 3200.

105.4.4.4 Additional Notifications Required.  Applicants for raze permits are also required to comply with Section 106.2.18 where the raze work involves any structural work within 3 feet of an adjoining lot line or excavation work more than 3 feet below existing grade.

105.4.5 Sign Permits. To the extent that the code official is designated as the permitting and enforcement official for signs, pursuant to the Sign Legislation (as defined in Section 202.2) a, the duties and powers of the code official shall be governed by: (a) Chapter 1, 12-A DCMR and (b) Chapter 1, 12-G DCMR, including, but not limited to, the code official’s authority to receive applications, to review submittal documents and issue permits, to institute administrative and legal actions to correct violations or infractions, and to inspect premises.

105.4.5.1 Adoption of Superseding Sign Regulations. Applicability of Construction Codes to Signs. Signs shall be designed, constructed installed, displayed and maintained in accordance with the requirements of the Construction Codes including, but not limited to, Building Code Appendix N, which is hereby expressly adopted and incorporated by reference, and Chapters 7, 15, 16 and 26, except to the extent that such requirements are superseded by regulations adopted by the District of Columbia pursuant to the Sign Legislation.

105.4.6 Permits for Emergency Work.  When necessary to make emergency repairs or replacements to buildings, other structures or systems, an application for a permit to cover all emergency work shall be submitted no later than the first business day following the performance of such emergency work.

105.4.7 Site Development Permits. The code official is authorized to issue a site development permit for earth retention or the construction of foundations before the entire plans and specifications for the whole building or other structure have been submitted, provided adequate information and detailed statements have been filed complying with all pertinent requirements of the Construction Codes.  Issuance of a site development permit by the code official does not constitute assurance that a permit for the entire building or structure will be granted.  The holder of a site development permit proceeds with the construction at the holder’s own risk and without assurance that a permit for the entire building or other structure will be granted.

105.5 Action on Application.  The code official shall examine or cause to be examined all applications for permit and amendments to applications within a reasonable time after filing.  The code official may reject an application at the time of filing if the application and required supporting documents are not substantially complete.  If the application or the plans do not conform to the requirements of all pertinent laws, the code official is authorized to reject such application.  The code official shall state the reasons for the rejection in writing, citing specific sections of the Construction Codes, and stating the applicant’s right of appeal under Section 112.  If the code official is satisfied that the proposed work conforms to the requirements of the Construction Codes and all applicable laws, rules, and regulations, the code official shall issue a permit as soon as practicable.

105.5.1 Plan Review by Third-Party Agency. An applicant shall have the option of using an approved third-party agency to perform a code compliance review of a project, at the applicant’s expense, pursuant and subject to the provisions of: this Section 105.5.1; D.C. Official Code § 6-1405.02 (2018 Repl.)); and the Third-Party Program Procedure Manual.

105.5.1.1 Notification of Intent to Use Third-Party Agency for Plan Review.  Where a permit applicant wants to use a third-party agency for plan review, the applicant shall notify the Department of its intent in accordance with the procedures set forth in the Third Party Program Procedure Manual.

105.5.1.2 Acceptance of Certification by Third-Party Agency. The code official is authorized to accept a certification, signed and sealed by the professional-in-charge of the approved third-party agency, in accordance with the procedures set forth in the Third Party Program Procedure Manual. The Department shall complete its review within 15 business days after the date of submission of a complete application package to the Department, including the required third-party certification. The code official’s issuance of related permits will be subject to receipt of any required approvals from other reviewing agencies, and compliance with applicable adjoining premises notification requirements.

105.5.2 Stormwater Management and Erosion and Sediment Control.  A permit shall not be issued for a “major substantial improvement activity” (as defined by 21 DCMR Chapter 5) or a land-disturbing activity regulated by 21 DCMR Chapter 5, until the submitted plans reflect the pertinent features approved by the official charged with the administration and enforcement of 21 DCMR Chapter 5, and the requirements of the Water Pollution Control Act of 1984, effective March 16, 1985 (D.C. Law 5-188; D.C. Official Code §§ 8-103.01 et seq. (2013 Repl. & 2019 Supp.)) as amended.

105.5.3 Flood Hazard Areas.  A permit shall not be issued for work within the scope of Appendix G without review and receipt of comments and recommendations from the Floodplain Administrator concerning the code official’s disposition of the application, as required therein.

105.5.4 Additional Grounds for Permit Denial.  The code official is authorized to deny issuance of a permit to an applicant:

- Pursuant to D.C. Official Code § 6-1407.01; or

- Where the owner, applicant, general contractor, construction manager, home improvement contractor, registered design professional, registered design professional in responsible charge, or responsible officer has outstanding fines, penalties, notices or orders imposed under the Construction Codes, or if the code official determines that the owner, applicant, general contractor, construction manager, home improvement contractor, registered design professional, registered design professional in responsible charge, or responsible officer is in violation of any provision of the Construction Codes.

105.5.4.1 Code Official Authority. For purposes of Section 105.5.4 and 105.5.5, the code official is authorized to request additional information from an applicant to determine whether the applicant has filed under a new organizational form or name, in order to avoid either permit denial under the provisions of Section 105.5.4 or posting of fine amounts under Section 105.5.5.

105.5.5 Outstanding Fines for Illegal Construction.  Where civil infraction citations for illegal construction under Section 113.1 have been issued to an applicant, all applicable fine amounts must be posted with the Treasurer of the District of Columbia by the applicant, prior to the issuance of any permit to the applicant. Upon adjudication of said civil infraction citations, any fines or penalties not assessed to the applicant will be refunded. The code official in his or her discretion may reduce the amount of the fines required to be posted.

105.5.6 Approval of Construction Documents.  When the code official issues a permit, the construction documents shall be approved, in writing or by stamp, as “Approved.”  Unless submitted electronically, one set of approved construction documents so reviewed by the code official shall be retained by the code official and the other sets shall be returned to the applicant.

105.5.7 Signature on Permit.  The code official’s signature shall be attached to every permit, or the code official may authorize a subordinate to affix a facsimile of the code official’s signature to permits. The code official’s signature shall not be construed as indicating that the construction complies with any other requirement of District law or regulation other than the Construction Codes and the Zoning Regulations.

105.6 Posting of Permit.  The permit, or a copy thereof, shall be kept on the work site and conspicuously displayed at a location visible from the street until the completion of work for which the permit is issued. Public information deemed relevant by the code official for all permits issued by the Department shall be published on the Department’s website.

105.6.1 On-Site Retention of Construction Documents. A legible, printed copy of approved construction documents for each permit, of a size sufficient to see all details, shall be kept on-site at all times until a certificate of occupancy for the premises subject to the permit is issued or until completion of the work and approval of the final inspection for the work performed at the premises under the permit if no certificate of occupancy or new certificate of occupancy is required.

105.7 Notification of Owners of Adjoining Premises in Certain Districts. Upon issuance of a permit authorizing work on a premises in a Residential, Special Purpose or Mixed Use District, and prior to commencing that work, the permit holder shall provide written notice on an approved form to each owner of a one-family or two-family dwelling on a lot adjoining the premises on which the work is authorized pursuant to the permit. Delivery of the notification required by this section will be satisfied by mailing the required form to the owner of record of the adjoining premises by first-class mail at the address listed in the Real Property Assessment Database maintained by the District of Columbia Office of Tax and Revenue.

105.8 Duties of Persons Performing Work Pursuant to a Permit. No person shall undertake work pursuant to a permit required by Section 105 without possessing a valid and appropriate business license, professional license and/or trade license in the District of Columbia, pursuant to D.C. Official Code §§ 47-2853.01 et seq., and Titles 16 and 17 DCMR, as applicable.

105.8.1 General Contractors, Construction Managers and Home Improvement Contractors. General contractors, construction managers and home improvement contractors are responsible for hiring and/or subcontracting with persons who possess the appropriate license(s) to perform the work, and shall, at all times, be responsible for the proper supervision and inspection of the work and to perform the work in compliance with the Construction Codes and the approved construction documents. The general contractor, construction manager or home improvement contractor is responsible to employ or subcontract with at least one master or qualified individual of the appropriate category to perform the duties of a master or qualified individual for trade permits as specified in Section 105.8.2. Upon request by the code official, the general contractor, construction manager or home improvement contractor shall provide a written listing of persons holding qualifications specified in Sections 105.8.2.1 through 105.8.2.5, and other employees or subcontractors, with their respective D.C. license numbers, for each permit in effect.

105.8.2 Performance of Work Pursuant to Trade Permit.  The person to whom a trade permit is issued shall be responsible for performing or supervising the work to be performed under such permit. Work in electrical systems, refrigeration or air conditioning systems, plumbing systems, fuel gas systems, and elevator and conveying systems that requires a permit shall be performed and supervised in accordance with Sections 105.8.2.1 through 105.8.2.5.  Registration and licensure requirements of the applicable tradespersons shall be pursuant to D.C. Official Code §§ 47-2853.01 et seq. (2015 Repl. & 2019 Supp.) and Titles 16 and 17 DCMR.  The code official is authorized to request current proof of compliance with this section in the course of inspections of such work.

105.8.2.1 Electrical Trades.  Electrical work requiring a permit shall be performed by a licensed master electrician, a licensed master electrician limited (low voltage), a licensed journeyman electrician, or a registered apprentice electrician under the supervision of a licensed master electrician.  A licensed master electrician limited (low voltage) shall be authorized to supervise electrical work in low voltage systems.  Licensure and registration requirements for these tradespersons shall be pursuant to D.C Official Code §§ 47-2853.91 through 47-2853.93 (2015 Repl. & 2019 Supp.) and Title 17 DCMR, Chapter 2.

105.8.2.2 Mechanical Trades.  Refrigeration and air-conditioning work requiring a permit shall be performed by a licensed master mechanic, a licensed master mechanic limited, a licensed journeyman refrigeration and air-conditioning mechanic, or a registered apprentice refrigeration and air-conditioning mechanic under the supervision of a licensed master mechanic.  A licensed master mechanic limited shall be authorized to supervise refrigeration and air-conditioning work in systems less than 25 compressor horsepower.  Licensure and registration requirements for these tradespersons shall be pursuant to D.C Official Code §§ 47-2853.201 through 47-2853.203 (2015 Repl.) and Title 17 DCMR, Chapters 3 and 15.

105.8.2.3 Plumbing Trades.  Plumbing work requiring a permit shall be performed by a licensed master plumber/gasfitter, a licensed master gasfitter, a licensed journeyman plumber, a licensed journeyman gasfitter, or a registered apprentice plumber under the supervision of a licensed master plumber/gasfitter. Licensure and registration requirements for these tradespersons shall be pursuant to D.C. Official Code §§ 47-2853.121 through 47-2853.123 (2015 Repl. & 2019 Supp.).

105.8.2.4 Gasfitting Trades.  Gasfitting work requiring a permit shall be performed by a licensed master plumber/gasfitter, a licensed master gasfitter, a licensed journeyman plumber, a licensed journeyman gasfitter, a registered apprentice plumber, or a registered apprentice gasfitter under the supervision of a licensed master plumber/gasfitter or of a licensed master gasfitter.  Licensure and registration requirements for these tradespersons shall be pursuant to D.C Official Code §§ 47-2853.121 through 47-2853.123 (2015 Repl. & 2019 Supp.).

105.8.2.5 Elevator and Conveying Systems Trades.  Work in elevators and conveying systems requiring a permit shall be performed by a licensed elevator contractor, an employee of a licensed elevator contractor, a licensed elevator mechanic, or a registered apprentice elevator mechanic under the supervision of a licensed elevator contractor or a licensed elevator mechanic. Licensure and registration requirements for these tradespersons shall be pursuant to D.C Official Code §§ 47-2853.95 through 47-2853.99 (2015 Repl. & 2019 Supp.).

105.9 Permit Revisions.  The holder of a valid active permit shall be authorized to amend it or to amend the plans, application or other records pertaining to the permit by filing, at any time before completion of the work for which the original permit was issued, by submitting an application for permit revision, accompanied by a copy of the originally approved submittal documents and, unless submitted electronically, by two sets of the revised plans.  If the code official approves a permit revision, and a revised permit is issued, it shall be deemed part of the original permit and shall be kept therewith in the official records of the Department. A revision permit shall become invalid upon expiration of the original permit it amends. The extension provisions of Section 105.5.1 shall apply to the original permit and shall only affect the respective revision permits to the extent that the original permit is extended.

105.9.1 Code Official Authority.  Nothing herein shall preclude the code official from requiring submission of a new permit application, in lieu of permit revisions.

105.10	Expiration of Permit.  Any permit issued shall become null and void, upon occurrence of any one of the following circumstances, unless a permit extension has been obtained under Section 105.11:

- The authorized work is not begun within 12 months after the permit is issued, or within 180 days after the permit is issued where the permit is issued for work (a) regulated by the Residential Code or (b) to occur on premises located wholly or partially within a Flood Hazard Area; or

- The authorized work is suspended or abandoned for a period of 12 months, or for 180 days for permits issued for work (a) regulated by the Residential Code or (b) to occur on premises located wholly or partially within a Flood Hazard Area; or

- The authorized work has not received inspection approval or partial inspection approval for at least one inspection required by Section 109 within a period of 12 months, or within a period of 180 days for permits issued for work (a) regulated by the Residential Code or (b) to occur on premises located wholly or partially within a Flood Hazard Area, which period shall commence on the later of (i) the date authorized work is begun or (ii) the date of the last approved inspection or partial inspection; or

- The authorized work has not obtained final inspection approval within 48 months after the permit is issued unless the code official grants an extension under Section 105.11.

105.10.1 Expiration of Permits for Unsafe, Abandoned or Deteriorated Premises.  Any permit issued for work on premises that have been deemed to be unsafe or unfit for human occupancy (in accordance with Sections 115 or 116 of the Building Code or Sections 108 or 109 of the Property Maintenance Code), or abandoned or deteriorated property (in accordance with D.C. Official Code §§ 42-3171.01 et seq. (2012 Repl.)), shall become null and void if the authorized work is not begun within 30 days after the permit is issued and completed within six months after the date work is begun, unless the permit is extended in accordance with Section 105.11. If the work has not been completed within the 180 day period or any extension period granted by the code official, the Department is authorized to complete the work in accordance with D.C. Official Code §§ 42-3131.01 et seq. (2012 Repl.) and to seek any other remedies or penalties authorized by law, including monetary fines, criminal prosecution, or court orders directing correction or abatement of the violation.

.	105.10.2 Suspended or Abandoned Work.  In determining whether work has been suspended or abandoned under Section 105.10, the code official shall have the right to request documentation from the permit holder and to inspect the premises for which the permit has been granted.

105.10.3 Reinstatement of Expired Permit.  The code official has the authority to reinstate, in writing, an expired permit upon a showing of applicable extenuating circumstances.

105.11 Extension of Permit.  A permit may be extended upon written request, prior to expiration and upon a showing of good cause subject to the conditions set forth in this section.  The code official is authorized to grant no more than four extensions of time, not to exceed 180 days per extension. In no event shall the aggregate extensions of time exceed two years. The code official shall have the discretion to inspect the premises for which a permit extension has been requested prior to granting an extension.

- 105.11.1 Permits for Single-Family Dwellings.  Notwithstanding the provisions of Sections 105.10 and 105.11, the code official is authorized to impose a three-year time limit to complete construction of new detached single-family dwellings, additions to detached single-family dwellings and new residential accessory structures. The time limit shall begin from the issuance date of the permit. The code official is authorized to grant extensions of time if the applicant can demonstrate substantive progress, characterized by approved inspections as specified in this code of at least one inspection within a period of six months or other evidence that would indicate substantial work has been performed.

105.12 Change in Permit Holder.  Where a change in the permit holder of a valid, unexpired permit is proposed or occurs, whether as the result of a transfer of the premises or other circumstances, the permit shall be deemed null and void unless, within 30 days after the date on which the change of permit holder occurs:

- The permit holder of record notifies the code official of a change in permit holder; and

- The new permit holder submits information required by the code official on an approved form.

Exception: Trade permits are not transferable.

105.13 Surrender and Cancellation of Permits. If a permit holder desires to terminate a valid permit, the permit holder shall surrender the permit to the Department with a notarized affidavit stating the permit holder’s irrevocable renouncement of all rights under the permit.  Upon receipt of the surrendered permit and affidavit terminating the permit holder’s rights under the permit, the Department shall declare the surrendered permit invalid and cancel the permit.  The code official is authorized to conduct an inspection of the premises under Section 104.4 in connection with the surrender or cancellation.

105.14 Revocation of Permits. Procedures for revocation of permits are set forth in Section 111. Appeals of permit revocations shall be governed by Section 112.

Strike Section 107 of the International Building Code in its entirety and substitute new Section 106 in the Building Code in its place to read as follows:

106 	SUBMITTAL DOCUMENTS

106.1 General.  Submittal documents shall consist of construction documents (as specified in this Section 106 or as may be required by the code official), a statement of special inspections, reports, and other data. The construction documents shall be prepared by a registered design professional where required by the Construction Codes. Where special conditions exist, the code official is authorized to require additional construction documents, including those submittal documents to be prepared by a registered design professional.

Exception: Where the code official deems that the nature of the work applied for is such that review of submittal documents is not necessary to confirm compliance with the Construction Codes, the code official is authorized to accept and process a permit application without some or all of the otherwise required submittal documents, or to modify the form and content of any otherwise required submittal document, provided, that this exception does not apply where the Construction Codes require submittal documents to be prepared by a registered design professional.

106.1.1 Electronic Submission. Required submittal documents shall be submitted electronically with each permit application.

Exception: Applicants are authorized to submit four sets of construction documents and one set of all other submittal documents, in lieu of an electronic submission where specified by the code official.

Where submittal documents are not required to be submitted electronically, the code official is authorized to establish requirements, including but not limited to maximum overall size, for submittal documents acceptable for review.

106.1.2 Scale of Construction Documents. All construction documents shall be drawn to the scale of not less than 1/8 inch to the foot (10 mm/m).

Exceptions:

- Site Plan; and

- Building Plat.

106.2 Construction Documents. Construction documents shall be in accordance with Sections 106.2.1 through 106.2.20.

106.2.1 Architectural and Engineering Details.  The code official shall require adequate details of architectural, structural, accessibility, fire protection, electrical, fuel gas, mechanical, plumbing, energy conservation, and green building provisions to be submitted, including computations, stress diagrams, sound transmission details and other technical data essential to assess compliance with the Construction Codes, as further specified in this Section 106.  In addition, these construction documents shall include the following:

1. 	Concrete and masonry strengths, floor and wall design and 	reinforcement details.

2. 	Wood Framing design and details.

3. 	Footing, foundation wall design and details.

4. 	Roof framing design and details.

5. 	Interior supporting elements and details.

6. 	Pre-Manufactured systems referenced in Section 106.2.1.14.

7. 	Underpinning, sheeting and shoring and associated schedules.

8. 	Fire rated walls, floors, roofs and other assemblies with details of installation.

9.	For exterior alteration of and/or addition to an existing structure, include photograph(s) that clearly depict the condition of the structure’s front, rear, sides, roof, and adjoining roofs, as applicable, at the time the permit application is submitted.

106.2.2 Means of Egress.  The construction documents shall show in sufficient detail the location, construction, size and character of all portions of the means of egress, including the path of the exit discharge to the public way, in compliance with the provisions of the Construction Codes.  In occupancies other than Group R-2, R-3 and I-1 occupancies, the construction documents shall designate the number of occupants to be accommodated on every floor and in all rooms and occupiable spaces.

106.2.3 Exterior Envelope.  The construction documents for all buildings shall describe the exterior wall envelope, roof envelope and building thermal envelope in sufficient detail to determine compliance with the Construction Codes.  The construction documents shall provide details of the exterior wall and roof envelope as required, including materials, flashing, intersections with dissimilar materials, corners, end details, control joints, intersections at roof, eaves or parapets, means of drainage, water-resistive membrane, details around openings, fire-resistive construction and fire-resistive protection of wall openings, wall cavities and intersections with floor assemblies, as applicable.

106.2.3.1 Exterior opening near a lot line. Where exterior wall openings are provided in accordance with Section 705.8.7, the construction documents shall include separate drawings illustrating compliance with all criteria of Section 705.8.7 in its entirety. Drawings shall indicate distances to interior record lot lines, adjacent buildings, percentages of exterior openings, protection of openings, and vertical distances above adjacent buildings on the same or adjacent lots as needed to demonstrate compliance with Section 705.8.7.

106.2.4 Structural Documents.  Before a permit is issued and before work can begin, structural documents shall be submitted in accordance with Section 1603 of the Building Code, showing the complete design, with sizes, sections, and relative locations of various structural members, floor elevations, column, or bearing wall centers, and beam or joint sizes and spacings. A geotechnical report shall be provided where required by Sections 1705.6 and 1803. The code official shall have the right to require that the structural computations for the structure be submitted for review.

106.2.5 Fire Protection Documents The applicant shall provide plans and schedules of sufficient detail showing the applicable features and characteristics of all fire protection systems components for any system required by the Construction Codes or otherwise proposed to be installed.  The construction documents shall show the location and type of all fire alarm devices, fire alarm control equipment and panels, fire alarm primary and backup power sources.  The construction documents shall include sufficient information and detail to adequately describe the elements of any smoke control systems including stair pressurization calculations, equipment location and engineering needs as required by the Construction Codes.  The construction documents shall show the (a) standpipes and (b) automatic sprinkler system infrastructure including the location, size and type of risers, valves, flow and pressure sensors, Siamese connections, fire pump, jockey pump, pump controllers, pump test pipes and other appurtenances of the system, as applicable.  The type of sprinkler system and areas and openings requiring special coverage shall be so noted on the construction documents.  The construction documents shall show details of other fire suppression systems, including gaseous and kitchen hood systems.  The construction documents shall show capacities and loads of the means of egress, maximum travel distances at every floor, remoteness between exits, fire resistance rating of structural members, floors and walls enclosing means of egress, rating of fire doors and fire dampers, fire stop penetration details at rated wall and floor assemblies, location and type of exit signs and emergency lighting.  Construction documents for work in part of an existing building shall include a scoping document listing all floors of the building and the extent to which each floor is protected with an automatic fire suppression system.

106.2.6 Elevator and Other Conveying Systems Documents.  The applicant shall provide plans and schedules of sufficient detail showing the applicable features and characteristics of all conveying systems components for any system required by the Construction Codes or otherwise proposed to be installed.  The construction documents shall clearly show:

1.	The location, overall dimensions and type of all vertical transportation systems;

2.	The primary and secondary levels of elevator recall, the location and type of elevator lobby smoke detectors, other smoke detectors for elevator recall, as well as other fire alarm and fire suppression devices proposed to be installed in elevator machine rooms, elevator pits and top of elevator hoistways and shall include a sequence of elevator operation in emergency mode when such fire detection equipment is activated;

3.	The primary and backup power sources for the elevator equipment;

4.	Clearances at top and bottom of hoistway and at elevator equipment spaces, minimum interior dimensions of cabs, provisions for access to elevator pits, provisions for drainage of elevator pits, provisions for illumination and electric power in elevator machine rooms, elevator hoistways, elevator pits and elevator equipment spaces shall be shown on the construction documents, as applicable; and

5.	The location of provisions for emergency disconnect of elevator power in elevator pits, elevator machine rooms and elevator equipment spaces, and shall show the location of sprinkler valves and sprinkler flow sensors for systems serving elevator machine rooms and hoistways, as required.

106.2.7 Electrical Documents.  The applicant shall provide plans and schedules of sufficient detail and clarity showing the location and capacity of all lighting facilities, electrically operated equipment and electrical circuits required for all service equipment of the building or other structure. All electrically controlled devices, including signal, communicating and lighting systems and associated wiring, wherever required under the provisions of the Construction Codes, shall be shown on the electrical plans for the following purposes:

1.	Control of emergency lighting systems in places of public assembly and education and, in accordance with Section 1008 of the Building Code, and life safety systems for hazardous uses in Sections 414 and 415 of the Building Code.

2.	Stairway and exit illumination in accordance with Section 1205 and Section 1006 of the Building Code, “Exit” sign lighting circuits in accordance with Section 1011 of the Building Code, and elevator car illumination in accordance with Chapter 30 of the Building Code.

3.	Electrical equipment and control of heating, refrigerating and ventilating machinery and devices in accordance with the Mechanical Code.

4.	Fire protective signaling systems, automatic fire detection systems, fire department communications and supervisory services in accordance with Sections 901.6 through 901.6.3 of the Building Code and Section 907 of the Building Code.

5.	Wiring of signs in accordance with Section 3107, and telecommunication and broadcast towers in accordance with Section 3108 of the Building Code.

6.	Power control electric operation and circuit wiring of elevators, escalators and other conveying systems in accordance with Chapter 30 of the Building Code.

7.	Illumination of spaces intended for human occupancy in accordance with Section 1205 of the Building Code.

8.	Backup emergency and standby power systems.

9.	Lighting intensity levels along all required paths of egress.

10.	All fire stop penetration details at rated wall and floor assemblies.

11.	Fault current calculations.

- Service Size and load calculations.

- Riser diagram with details.

- Panel schedule with details and references.

106.2.7.1 Exemptions.  Electrical plans shall not be required for the following:

1.	Any work exempted from the building permit requirement in accordance with Section 105.2.

2.	Repair or replacement in kind of electrical equipment.

3.	Work involving only structures without equipment regulated by the Electrical Code, such as open sheds for storage purposes, detached private garages and other similar spaces not required by the Construction Codes to be provided with electric current.

4.	Temporary sanitary installations required for construction operations.

106.2.8 Fuel Gas Documents.  The applicant shall provide construction documents, engineering calculations, diagrams and other data, which shall be of sufficient clarity to indicate the location, nature and extent of the fuel gas work proposed and show in detail that the work conforms to the provisions of the Construction Codes.  Construction documents shall indicate where penetrations will be made for installations and shall indicate fire stop penetration details at rated wall and floor assemblies. Plans must include a piping plan with gas riser diagram.

106.2.9 Mechanical Documents.  The applicant shall provide diagrammatic mechanical equipment or system and mechanical plans, which shall show the location and arrangement of the mechanical equipment, fuel systems, ductwork and appurtenances, including safety and pressure-controlling devices.  The plans shall show in sufficient detail the relevant features and clearances of the appliances and systems, including: fire stop penetration details at rated wall and floor assemblies, and size and type of apparatus; construction of flue, stack or chimney; stack connections; type of fuel; method of operation; and the method of compliance with all the applicable regulations for the class and type of equipment installed.

106.2.9.1 Exemptions.  Mechanical plans shall not be required for the following:

1.	Any work exempted from building permit requirement in accordance with Section 105.2.

2.	Repair or replacement in kind of mechanical equipment.

3.	Work involving only structures without equipment regulated by the Mechanical Code, such as open sheds for storage purposes, detached private garages and other similar spaces not required by the Construction Codes to be heated.

106.2.10 Plumbing Documents.  The applicant shall provide plans of each floor and of a typical floor showing the complete plumbing system layout, all plumbing fixtures, total Drainage Fixture Unit (DFU) values, the water supply piping layout, together with building sections showing vertical and diagrammatic elevations of the soil, waste, vent and water supply lines with traps and valves, and the location and size of the public sewer or other disposal system.  The plumbing plans shall show in sufficient detail: the layout and spacing of fixtures; the size, material and location of the building and storm sewers and drains; the soil, waste, vent and water supply piping; the method or equipment proposed to prevent cross-contamination and backflow; and fire-stop penetration details at rated wall and floor assemblies.

106.2.10.1 Public Sewer. Plans for new plumbing or alterations to existing plumbing systems shall be accompanied by a diagram showing the relative elevation of the lowest fixture and the top of the public sewer referred to in the established datum of DC Water. The plans shall show the size, number and location of all new sewer connections. When relevant to the scope of work, the permit applicant shall secure from DC Water the location and other necessary details regarding water and sewer mains to serve the premises to be permitted and shall submit this information with the permit application to the code official.

106.2.10.2 Public Water Main. Where the installation of a water distribution system or the replacement or alteration of an existing water supply system is contemplated, the plumbing plans shall show the location and size of all water lines and branches involved all fixtures or other devices to be supplied, and the minimum water pressure in the main in front of the building or other structure.

106.2.10.3 DC Water Certificate of Approval. A water and sewer Certificate of Approval, issued by DC Water, shall be provided with the plumbing plans for every project where DC Water is requested to furnish new water or sewer service connections.

106.2.10.4 Exemptions. Plumbing plans shall not be required for the following:

1.	Any work exempted from building permit requirement in accordance with Section 105.2.

2.	Repair or replacement in kind of plumbing fixtures.

3.	Work involving only structures without plumbing fixtures, such as open sheds for storage purposes, detached private garages and temporary installations for exhibition purposes where not designed for sanitary use and not directly connected to a sewage system.

4.	Temporary sanitary installations required for construction operations that are not designed to be directly connected to the public sewer system.

106.2.11 Energy Conservation Documents.  The applicant shall provide plans and schedules of sufficient clarity to indicate the location, nature and extent of the work proposed and show in sufficient detail pertinent data and features of the building and the equipment and systems as herein governed, including, but not limited to:

1.	Design criteria, exterior envelope component materials, insulation materials and their R-values;

2.	Fenestration U-factors and SHGCs;

3.	Area-weighted U-factor and SHGC calculations, and mechanical system design criteria;

4.	Mechanical and service water heating systems and equipment types, sizes and efficiencies;

5.	Economizer description, equipment and system controls;

6.	Fan motor horsepower (hp) and controls;

7.	Duct sealing, duct and pipe insulation and location;

8.	Lighting fixture schedule with wattage and control narrative;

9.	Air sealing details; and

10.	Other pertinent data to indicate compliance with the requirements of the Energy Conservation Code and relevant laws, ordinances, rules and regulations, as determined by the code official.

106.2.12 Green Building Documents.  The applicant shall provide plans and supporting documents in sufficient detail and clarity to show compliance with the relevant green building construction practices as required by the Green Construction Code or an alternative compliance path selected pursuant to Section 101.12, and with any green building submittal requirements specified by the code official as set forth in the Department’s Administrative Bulletins.

106.2.13 Zoning Compliance Review Data.  The applicant shall provide to the Zoning Division of the Department plans showing orientation of the lot as to North, drawn to a scale indicated numerically as well as depicted graphically, and including the following information:

1.	The shape, dimensions and topography of the lot to be built upon, in sufficient detail to allow determination of heights above both the existing grade and the proposed finished grade of all proposed structures, so as to allow determination of compliance with pertinent height limitations of the Zoning Regulations.

2.	The width of all public streets and public rights-of-way contiguous to the lot, with elevations at measuring points along them sufficient to determine compliance with the An Act to regulate the height of buildings in the District of Columbia, approved June 1, 1910 (36 Stat. 452; D.C. Official Code § 6-601.05 (2018 Repl.)) as amended.

3.	The shape and location in plan of all existing and proposed structures, fully dimensioned and labeled, including orientation, elevation in relationship to existing and proposed grades, and distances to lot lines so as to define without ambiguity the dimensions and location of said structures.

4.	Longitudinal elevations of all existing and proposed structures fully dimensioned and shown in relation to the entire lot and the existing and proposed grades, so as to define without ambiguity the dimensions of said structures.

5.	The parking and loading plans, with labels distinguishing existing facilities from proposed facilities, and the basis for computation of the facilities shown on those plans.

6. 	The location and elevation of any proposed retaining walls higher than 48 inches (1219 mm) above existing grade.

7.	A Zoning Data Summary of the project including, as applicable to the particular requirements of the zone in which the premises that are subject to the permit application, at least the following data: lot width, area of the lot, percentage of lot occupancy, height of the structure and the location and elevation of the height measurement reference points, gross floor area for each floor level, area of basement, area of cellar, proposed Floor Area Ratio, areas dedicated to each use, width of any proposed side yard, rear yard or court, number of standard and compact parking spaces and dimensions of loading berths and delivery loading spaces.

8.	Other information necessary to determine compliance with the Zoning Regulations.

106.2.14 Shop Drawings.  Before construction or installation of the elements and systems listed below, the code official is authorized to require submission of shop drawings bearing the review stamp of the engineer of record, and bearing the seal and signature of the registered design professional who designed the system. Where the project is subject to the mandatory electronic submission requirements in Section 106.1, shop drawings shall be submitted electronically unless otherwise allowed by the code official. Where electronic submission is not required, four sets of shop drawings shall be submitted.

- Structural steel and steel trusses, with connection details.

- Open web steel joists.

- Precast and prestressed concrete.

4.	Post tensioning.

5.  	Space frames.

6.  	Strong backs.

7.  	Curtain wall.

8.  	Structural wood trusses, beams, girders, and posts with connection details

9.  	Concrete mixes.

10. 	Structural, electrical, and mechanical loads related to new construction installations of elevators, escalators and other conveying systems including, but not limited to, accessibility lifts.

11.  	Pre-engineered elements.

12.  	Suspended plaster ceiling systems.

13.  	Underpinning.

14.  	Sheeting and shoring.

15.  	Formwork.

16.  	Automatic fire suppression systems.

17.  	Fire alarm systems.

18.  	Smoke control systems.

19.  	Commercial kitchen hood suppression systems.

20.  	Flammable and combustible liquid storage tanks.

21.  	All installations, modernizations or alterations of elevators and conveying systems.

Exception for Items 16, 17, and 19:  The code official is authorized to accept the following shop drawings without the seal and signature of the registered design professional who designed the system:

- Where the automatic fire suppression systems shop drawing bears the stamp and signature of a National Institute for Certification in Engineering Technology (NICET) Level III Technician certified in Automatic Sprinkler System Layout or Special Hazards Suppression Systems.

- Where the fire alarm shop drawing bears the stamp and signature of a NICET Level III Technician certified in Fire Alarm Systems.

106.2.15 Official Building Plat.  The applicant shall provide an official building plat of a lot that is the subject of an application, issued by the D.C. Office of the Surveyor, in duplicate or by electronic submission, as part of applications for permit involving any of the following:

1.	Erection of a new building or other structure.

2.	Addition to an existing building.

3.	Permanent construction higher than 48 inches (1219 mm) above grade, outside the footprint of existing buildings.

4.	Construction or alteration of projections into public space.

5.	Erection of retaining walls higher than 48 inches (1219 mm).

6.	Establishment of new parking spaces or loading berth(s) external to a building or other structure, regardless of the amount of work involved.

106.2.15.1 Plat Information.  The applicant shall show upon the building plat, completely dimensioned and drawn in ink to the same scale as the plat, the following:

1.  	The outline of recorded easements and all buildings, additions, or other structures existing and to be constructed, with existing structures labeled and clearly distinguished from those to be constructed;

2.	The number, size, shape and location of all open parking spaces, open loading berths, and approaches to all parking and loading facilities, as applicable, external to a building or other structure, as well as all approaches to all parking and loading facilities existing and to be installed on the lot, whether within or exterior to any building or other structure, with existing parking and loading facilities labeled and clearly distinguished from those proposed to be added;

3.	The grade in elevation datum on the edges of the lot and any change in grade over 5 feet (1524 mm’) within the lot, or a statement by the owner or agent that no change in grade over 5 feet (1524 mm’) occurs on the lot;

4. 	Any proposed pervious surface to be used to satisfy zoning requirements; and

5.	Other information deemed necessary by the Zoning Administrator to determine compliance with the Zoning Regulations. If necessary due to the complexity of the proposed work, the Zoning Administrator is authorized to require the submission of two plats, one depicting existing conditions, including structures and topography, and the other depicting proposed conditions, including structures and topography.

106.2.15.2 Certification of Plat. The accuracy of the representation of the location of the structures on the plat shall be self-certified by the owner or authorized agent for the owner of the lot of record or parcel of land, who shall sign a certificate in a form prescribed by the code official, printed on the building plat.

106.2.16 Site Plan.  The applicant shall provide a site plan, which shall not substitute for the official building plat required by Section 106.2.15, whenever the application for permit involves any of the following:

1.	Erection of a new building or other structure.

2.	Addition to an existing building.

3.	Permanent construction outside the footprint of existing buildings.

4.	Construction or alteration of projections into public space.

5.	Erection of retaining walls.

6.	A major substantial improvement activity (as defined by 21 DCMR Chapter 5) or a land-disturbing activity regulated by 21 DCMR Chapter 5.

7.	Demolition or razing of existing structures or buildings.

8.	Installation or replacement of underground utility service connections.

9.	Installation or replacement of site drainage systems.

10. 	Alteration to the path of the exit discharge to the public way.

11. 	Construction in whole or in part on a development site in whole or in part within a Flood Hazard Area as established in 20 DCMR, Chapter 31.

106.2.16.1 Site Plan Information.  The applicant shall show upon the site plan, completely dimensioned and drawn to a scale indicated numerically and graphically, the following:

1.	The site.

2.	Its orientation to North.

3.	The location and dimensions of all existing structures on the site, labeled if it is to be demolished or to be retained.

4.	The location and dimensions of all new construction on the site.

5.	The distances from lot lines.

6.	The established street grades.

7.	The existing and proposed finished grades, including any change over five (5) feet across the lot.

8.	Any features required to comply with 21 DCMR Chapter 5.

9.	Location of the path of the exit discharge to the public way.

10.	Location of utility service lines and connections thereto 	(with dimensions and all appurtenant features of such connections).

11.	Where a development site is wholly or partially within a flood hazard area, then the flood hazard area(s) floodways and identification of design flood elevations, as applicable, shall be provided in compliance with Appendix G.

106.2.17 Flood Hazard Areas – Additional Submission Requirements. For development in a development site that is within the scope of Appendix G, the applicant shall provide the additional information and data required by Appendix G as part of the permit application.

106.2.18 Protection of Adjoining Premises-Additional Submission Requirements.

106.2.18.1 Underpinning. Where underpinning is chosen to provide the protection or support of adjoining premises, the applicant shall provide such information as the code official deems necessary to determine the applicant’s compliance with the applicable provisions of the Construction Codes.

106.2.18.2 Excavations. Where an application for permit proposes excavation work, the code official is authorized to require the applicant to submit additional data the code official deems necessary to determine the appropriateness of the proposed structural measures to protect the integrity of the soil and structures located on the adjoining premises.

106.2.18.3 Notification of Owners of Adjoining Premises.  Notification of owners of adjoining premises (and owners of adjacent premises for snow drift loads) shall be provided by the applicant pursuant to the procedures set forth in Section 106.2.18.3.1, where the proposed work involves all or any of the following:

- Where excavation requiring a permit will occur on the construction site.

Exception: Where the code official determines that the excavation work will not have any adverse impact on structural or lateral support of the adjoining premises.

- Where there is a need to install permanent or temporary structural support for an adjoining premises or portion thereof, including but not limited to underpinning, as a result of the proposed work.

- Where the proposed work will alter imposed loads on a party wall or any load-bearing member of an adjoining premises.

- Where access to an adjoining premises is required to install protective measures or undertake other work required by Section 3307.

- Where the proposed work will render or potentially render adjoining or adjacent premises non-compliant with the Chimney Provisions (as defined in Section 3307.1.1) or with the snow load requirements in Section 1603.1.3 or Section R301.2.3 of the Residential Code as applicable.

Exception: Notification is not required for applications submitted pursuant to Section 3307.1.4, by the owner of an adjoining or adjacent premises that has assumed responsibility for any required protective work.

For purposes of this section, a “party wall” shall be defined as “a wall that straddles, or is in close proximity to, a lot line, and which is used for structural support by two or more adjoining buildings or structures.”

106.2.18.3.1 Evidence of Notification.  As required by this section, and prior to permit issuance, the applicant shall provide evidence of notification, consisting of: (1) evidence of the posting required by Section 106.2.18.3.1.1; (2) evidence of the delivery of written notice required by Section 106.2.18.3.1.2; and (3) the affidavit of maintenance required by Section 106.2.18.3.1.3. No permit application within the scope of Section 106.2.18.3 will be granted without the specified evidence of notification, except as provided in Section 106.2.18.3.1.3.

106.2.18.3.1.1 Required Posting.  A notice of the filing of a permit application within the scope of Section 106.2.18.3 shall be posted by the applicant on the premises upon which the permit application seeks authorization to perform the work, and shall comply with the following conditions:

- The notice shall be posted for a continuous period of at least 30 days, including the 30-day period immediately prior to issuance of the permit.

- The notice shall be given on a form approved by the code official and shall be legible from the public way that provides the main entrance to the premises, as determined by the code official.

- The applicant shall maintain the notice by checking it at least once per week and reposting when necessary.

- The applicant shall submit to the code official a photograph of the sign after posting, as viewed by the public, and identify the exact location and date of posting the sign.  The associated permit(s) shall not be issued without this photographic evidence.

106.2.18.3.1.2 Required Written Notice. Prior to submission of a permit application within the scope of Section 106.2.18.3, the applicant shall provide written notice in an approved form to the owner or owners of the adjoining premises in accordance with one of the methods below:

- By USPS registered or certified mail to the address of the owner as maintained in the Real Property Tax Database maintained by the Office of Tax and Revenue of the Office of the Chief Financial Officer; or

- By proper use of an approved private delivery service (such as Federal Express, UPS, or DHL) to the address of the owner as maintained in the Real Property Tax Database maintained by the Office of Tax and Revenue of the Office of the Chief Financial Officer.

106.2.18.3.1.2.1 Evidence of Delivery of Written Notice. Acceptable evidence of delivery of written notice shall consist of: (1) proof of proper use of registered or certified mail (registered or certified mail sender’s receipt); or (2) proof of proper use of an approved private delivery service.

106.2.18.3.1.3 Affidavit of Maintenance. Prior to permit issuance, the applicant shall submit a notarized affidavit attesting that the posting required by Section 106.2.18.3.1.1 was continuously maintained for the requisite 30-day period of time.

106.2.18.3.1.4 Substantial Compliance with Notification Requirements. The code official is authorized to grant a permit application, that is otherwise complete, where the code official determines, based on a written request submitted to the code official by the applicant, the applicant has substantially complied with the provisions of Section 106.2.18.3.1. The determination by the code official of substantial compliance is not subject to reconsideration or appeal under Section 112 absent compelling evidence submitted by the owner of the adjoining or adjacent premises that such owner was directly and adversely affected by a lack of notice.

106.2.18.4 Access to Adjoining Premises. Where an application proposes work that will or potentially require Protective Work (as defined in Section 3307) on an adjoining or adjacent premises, and such Protective Work will require access to the adjoining or adjacent  premises by the applicant,  a permit shall not be issued until the applicant submits one of the following:

- A written agreement in an approved form signed by the applicant and the owner of the adjoining or adjacent premises that grants access to the applicant to undertake the Protective Work;

- A written agreement signed by the applicant and the owner of the adjoining or adjacent premises that denies access to the applicant and which acknowledges the obligation of the owner of the adjoining or adjacent premises to be responsible for the Protective Work on such owner’s premises;

- A court order granting the applicant access to the adjoining or adjacent premises to perform the Protective Work; or

- A revised work plan that eliminates the need for access to the adjoining or adjacent premises.

Exception: A limited or temporary right of access to the adjoining premises is expressly granted in Sections 3307.2.2 or 3307.4.1 for the specific Protective Work required.

106.2.19 Covenants and Agreements.  Where a covenant or agreement is required by the Construction Codes or drafted in connection therewith (a “Required Covenant”), a copy of the Required Covenant, certified by the Recorder of Deeds as having been recorded in the Land Records, shall be submitted by the owner or authorized agent to the code official as and when required by Section 120. The Required Covenant shall comply with D.C. Official Code § 6-1405.01(b) (2018 Repl.) and with the provisions of Section 120 as applicable.

106.2.19.1 Other Agency Covenants.  Where an agency other than the Department requires a covenant or agreement relating to proposed construction, including, but not limited to, the covenants specified in Section 120.4 the applicant shall comply with such other agency’s requirements.

106.2.20 Construction Noise – Additional Submission Requirements. No permit for construction, demolition or raze shall be issued until the permit applicant has provided as part of the permit application written acknowledgement that the noise emanating from the planned activity will comply with the limitations established by the noise regulations set forth in Title 20 DCMR.

106.3	Statement of Special Inspections. A statement of special inspections shall accompany each application where special inspections and tests are required by Sections 109.3.13 and 1705. Submission of a statement of special inspections complying with Section 1704.3 shall be a condition for permit issuance as specified in Section 1704.2.3.

106.4 Registered Design Professional.  The design of work for new construction, repair, expansion, addition or alteration projects submitted for permit shall comply with Sections 106.4.1 through 106.4.6 as applicable.

106.4.1 Architectural Services.  Where the project involves the practice of architecture, as defined by D.C Official Code § 47-2853.61 (2015 Repl. & 2019 Supp.), the corresponding permit documents shall be prepared by an architect licensed to practice architecture in the District of Columbia.  All plans, computations, and specifications required to be submitted in connection with a permit application for such architectural work shall be prepared by or under the direct supervision of an architect with a valid and unexpired District of Columbia architecture license and shall bear the architect’s  signature and seal in accordance with the laws of the District of Columbia.

106.4.2 Engineering Services.  Where the project involves the practice of engineering, as defined by D.C Official Code § 47-2853.131 (2015 Repl. & 2019 Supp.), the corresponding permit documents shall be prepared by a professional engineer licensed to practice engineering in the District of Columbia. All plans, computations, and specifications required to be submitted in connection with a permit application for such engineering work shall be prepared by or under the direct supervision of a professional engineer with a valid and unexpired District of Columbia engineer license and shall bear the engineer’s signature and seal in accordance with the laws of the District of Columbia.

Exception: An architect licensed in the District of Columbia is authorized to perform engineering work that is incidental to the practice of architecture, as permitted by D.C Official Code § 47-2853.61 (2015 Repl. & 2019 Supp.).

106.4.3 Interior Design Services. Plans for non-structural alterations and repairs of a building, including the layout of interior spaces, which do not adversely affect any structural member, any part of the structure having a required fire resistance rating, or the public safety, health or welfare, and which do not involve the practice of architecture and engineering as defined by D.C Official Code §§ 47-2853.61 and 47-2853.131 (2015 Repl. & 2019 Supp), shall be deemed to comply with this section when such plans are prepared, signed and sealed by an interior designer licensed and registered in the District of Columbia in accordance with D.C Official Code § 47-2853.101 (2015 Repl. & 2019 Supp.).

106.4.4 Exemptions. The professional services of a licensed architect, professional engineer or interior designer are not required for the following:

- Work done under any of the exemptions from registration provided for in the laws of the District of Columbia governing the licensure of architects, professional engineers and interior designers.

- Nonstructural alteration of any building of R-3 occupancies or of any building under the jurisdiction of the Residential Code.

- Preparation of drawings or details for cabinetry, architectural millwork, furniture, or similar interior furnishings, for any work to provide for their installation or for any work exempt from permit by Section 105.2.

- Drawings or details for the installation of water and sewer building connections to a single-family residential structure prepared by a master plumber licensed pursuant to D.C Official Code §§ 47-2853.121 et seq. (2015 Repl. & 2019 Supp.).

106.4.5 Registered Design Professional in Responsible Charge.  The code official is authorized to require the owner to engage and designate on the permit application a registered design professional who shall act as the registered design professional in responsible charge. If the circumstances require, the owner shall designate a substitute registered design professional in responsible charge who shall perform the duties required of the original registered design professional in responsible charge. Where a registered design professional in responsible charge is required, the code official shall be notified in writing by the owner if the registered design professional in responsible charge is changed or is unable to continue to perform the duties. The registered design professional in responsible charge shall be responsible for reviewing and coordinating submittal documents prepared by others, including phased and deferred submittal items, for compatibility with the design of the building.

106.4.6 Attestations Required.

106.4.6.1 Registered Design Professional. The signature and seal of the registered design professional, where required by and in accordance with Section 106.4, shall serve as attestation of the following:

- For architects: “I am responsible for determining that the architectural designs included in this application are in compliance with all relevant laws and regulations of the District of Columbia. I have personally prepared, or directly supervised the preparation of, the architectural designs included in this application.”

- For engineers: “I am responsible for determining that the engineering designs included in this application are in compliance with all relevant laws and regulations of the District of Columbia. I have personally prepared, or directly supervised the preparation of, the engineering designs included in this application.”

106.4.6.2 Registered Design Professional in Responsible Charge. Where the code official determines that a registered design professional in responsible charge is required for any project, an attestation sealed and signed by the registered design professional in responsible charge engaged by the owner shall be submitted prior to the issuance of any and all certificate(s) of occupancy for the project.  The attestation shall identify the registered design professional in charge by name and registration number, shall identify the project or portion thereof being attested to, and shall state, to the code official’s satisfaction, that the project or portion thereof has been completed in a manner that is substantially compatible with the design of the building that was the basis of the corresponding permit.  Furthermore, the attestation shall state that changes from such permit documents, including but not limited to submittal documents prepared by others during the course of construction, and phased and deferred submittal items, have been reviewed and coordinated by the attesting registered design professional in responsible charge.

106.5 Examination of Documents.  The code official shall examine or cause to be examined the submittal documents accompanying permit applications, pursuant to Section 105.3.

106.5.1 Review by Other Agencies.  Permit applicants shall be responsible for obtaining any required approvals from other reviewing agencies and entities, including, but not limited to, the Historic Preservation Office, the Historic Preservation Review Board, the District Department of Energy &  Environment, the Public Space Committee, the District Department of Transportation, the Commission on Fine Arts, the Chinatown Steering Committee, and DC Water. If deficiencies in the plans or other supporting documents are discovered during reviews by other agencies, the other reviewing agencies shall respond according to the procedures set forth in its rules and/or procedures. Any restrictions or conditions imposed by other reviewing agencies may be annotated on the plans and shall be incorporated into and deemed a condition of the permit.

106.6 	Conformance to Approved Construction Documents.  All work shall conform to the approved construction documents and any approved amendments to them. Any changes made during construction that are not in compliance with the approved construction documents shall be submitted to the Department for approval as an application for permit revision in accordance with Sections 105.9 and 105.9.1.

Strike Section 108 of the International Building Code in its entirety and insert new Section 107 in the Building Code in its place to read as follows:

107 	TEMPORARY STRUCTURES AND USES

107.1 General.  The code official is authorized to issue a permit to construct temporary structures, tents and other membrane structures in accordance with Section 3103 and Section 3103 of the Fire Code.  Such permits shall be limited as to time of service, not to exceed 180 days.  The code official is authorized to grant extensions for demonstrated cause.

107.2 Temporary Uses.  A temporary certificate of occupancy shall be obtained, in accordance with Section 110.4.4, for temporary use and occupancy of: (1) temporary structures, tents and other membrane structures; and (2) existing buildings, existing structures or lots.

107.3 Temporary Utility Services. Utility connections for temporary structures shall be in accordance with Section 119.2.

107.4 Termination of Approval.  The code official is authorized to order a temporary structure to be razed, or removed or a temporary use to be discontinued, as applicable, where the associated permit and/or certificate has expired. Revocation of permits for temporary structures, tents and other membrane structures, and revocation of temporary certificates of occupancy shall be governed by Section 111.

Strike Section 109 of the International Building Code in its entirety and insert new Section 108 into the Building Code in its place to read as follows:

108 	FEES

108.1 Payment of Fees.  A permit shall not be issued until all required fees have been paid to the Department or other authorized agency, nor shall an amendment to a permit requiring an additional fee be issued until the additional fee has been paid.

108.1.1 Application Filing Deposit for New Construction and Alterations.  All permit applications filed for new construction or alterations must be accompanied by a deposit of 50 percent of the permit valuation determined in accordance with Sections 108.2 and 108.3; provided, that the required deposit shall not exceed twenty thousand dollars ($20,000).

108.1.2 Accounting.  The code official shall keep an accurate account of all fees 	collected, and such collected fees shall be deposited with the D.C. Treasurer, or otherwise deposited as required by law.

108.2 Code Official Authority. The code official is authorized to establish by approved rules a fee for each permit, certificate or authorization issued by the Department, as prescribed in a fee schedule adopted in accordance with Section 108.2.1, for buildings and other structures and for their appurtenant systems, fixtures, appliances and equipment. The code official is authorized to establish fees based on cost of the proposed work or to use alternate methodologies including, but not limited to, the square footage of the project.

108.2.1 Fee Schedule.  Fees for permit processing, inspections and related services, including, but not limited to, fees for processing and issuance of certificates of occupancy, shall be established by the code official in a fee schedule published in the D.C. Register, as amended from time to time.

108.3 Building Permit Valuations Based on Cost of Work.  Where a permit fee is based on cost of work, the applicant for a building permit shall provide an estimated cost of the proposed work at time of application, or such other information as the code official specifies, for purposes of establishing a permit valuation.  Cost of the proposed work shall be based upon (a) total value of materials and labor for which the permit is being issued, including electrical, gas, mechanical, plumbing equipment and permanent systems or, (b) at the Department’s discretion, the most current edition of the National Building Cost Manual or comparable standard.  The total cost shall not include architectural, engineering, and other associated professional costs.  If, in the opinion of the code official, the cost of proposed work is underestimated on the application, the permit shall be withheld, unless the applicant can show detailed estimates to meet the approval of the code official.  Final building permit valuation shall be determined by the code official.  Acceptable evidence of the estimated cost of the proposed work shall include any of the following:

- A fully executed construction contract.

- A formal contractor’s estimate.

- When a deferred method of determining construction cost is submitted, the code official is authorized to request from the applicant a certified contractor’s certificate of payment showing the actual cost of construction and the code official is authorized to adjust the building permit fee to reflect the actual cost of construction prior to issuing a certificate of occupancy.

- A construction estimate for repairs and alterations in Group R-3 and structures under the jurisdiction of the Residential Code.

- The cost based on national standards for construction costs, as modified for the District of Columbia region, as set forth in the most current edition of the National Building Cost Manual or comparable standard.

108.4 Fees Associated With Work Commencing Before Permit Issuance.  Any person who commences any work on a building, other structure, gas, electrical, mechanical or plumbing system before obtaining the necessary permits shall be subject to an additional fee established in the official fee schedule that shall be in addition to the required permit fees and any fines that may have been levied.

108.5 Related Fees.  The payment of the fee for the construction, alteration, removal, raze or demolition for work done in connection to or concurrently with the work authorized by a permit shall not relieve the applicant or holder of the permit from the payment of other fees that are prescribed by law; or any other privileges, services or requirements, allowed or prescribed by law.

108.6 Refunds.  The code official is authorized to establish a refund policy.

108.7 Waiver of Fees.  No person or entity shall be entitled to a waiver of fees, except as set forth in the License Fees and Charges Act of 1976, effective September 14, 1976 (D.C. Law 1-82; D.C. Official Code § 47-2712 (2015 Repl. & 2019 Supp.)).

Strike Section 110 of the International Building Code in its entirety and insert new Section 109 in the Building Code in its place to read as follows:

109 	INSPECTIONS

109.1 	General.  Construction or work for which a permit is required shall be subject to inspection by the code official pursuant to the provisions of this section and Section 104.6. It shall be the duty of the permit holder to cause the construction or work to remain accessible and exposed for inspection purposes until approved. The permit holder shall be liable for any expenses entailed in the removal or replacement of any material required to allow inspection. Approval as a result of an inspection shall not be construed to be an approval of a violation of the provisions of the Construction Codes or of other laws or regulations of the District of Columbia.  Regardless of whether the code official inspects the construction or work, it is the responsibility of the permit holder and the individual or entity doing the work to comply with all applicable provisions of the Construction Codes.

109.1.1 Preliminary Inspection.  Before issuing a permit, the code official is authorized to examine or cause to be examined all premises for which a permit application has been filed.

109.1.2 Termination of an Inspection. The code official is authorized to terminate an inspection where interference with an inspection occurs or where the code official determines that the work is not sufficiently accessible and exposed for inspection.

109.1.3 Identification of General Contractor or Construction Manager. No inspection by the code official will be scheduled unless and until the applicant has complied with the requirements of Section 105.3.2(8).

109.1.4 Master Tradesperson to be Onsite During Inspections. The master tradesperson to whom a trade permit is issued, or the District of Columbia licensed representative of the master tradesperson, shall be present after the second consecutive rejection of the inspection for the specific scope of work performed under the trade permit. At the discretion of the inspector, the master tradesperson or his licensed representative shall be present during the next or subsequent inspections.  Nothing shall limit the code official’s authority to require the master tradesperson or his licensed representative to be present for an inspection.

109.2 	Required Inspections and Testing.  The permit holder shall be responsible for notifying the code official when the stages of construction are reached that require any inspection under Section 109 and for other critical items as directed by the code official.  Upon notification, the code official shall make the inspections specified in this Section 109 and such other inspections as necessary, and shall either approve that portion of the construction or shall notify the permit holder of any violations that shall be corrected.  The code official shall not be responsible for conducting inspections unless appropriately notified. The code official shall respond to inspection requests without unreasonable delay.   It shall be the duty of the person requesting any inspections required by the Construction Codes to provide access to and means for inspection of such work.

109.2.1 Inspection Record.  Work requiring a permit shall not be commenced until the permit holder or an agent of the permit holder maintains on the job site an inspection record card or other approved documentation issued by the code official.  Such inspection record document shall be made available by the permit holder on the job site until final inspection approval has been granted by the code official.  Only an inspector authorized by the Department shall document inspections conducted.  Any entry on the inspection record document made by a person other than an authorized inspector shall be grounds for revocation of the permit per Section 111.

109.2.2 Approval Required. Work shall not be done beyond the point indicated in each successive inspection without first obtaining the approval of the code official. The code official shall approve the work or portion thereof that is satisfactory as completed, and, where applicable, shall notify the permit holder or an agent of the permit holder that the work or any portion thereof fails to comply with the Construction Codes. Any portions that do not comply shall be corrected and such portions shall not be covered or concealed until authorized by the code official.

109.3 	Types of Inspections.  After issuing a permit, the code official shall conduct the types of inspections specified in Section 109 as deemed necessary by the code official and shall confirm submission of documents required by Sections 109.3 and 109.4, during and upon completion of the work. A record of all such inspections and of all noted violations of the Construction Codes shall be maintained by the code official.

109.3.1 Building Inspections.

109.3.1.1 Footing and Foundation Inspections.  Footing and foundation inspections are required in accordance with Sections 109.3.1.1.1 and 109.3.1.1.2.

109.3.1.1.1 Footing Inspections. Footing inspection is required after excavation for footings is complete and any required reinforcing steel is in place. For concrete footings, any required forms shall be in place prior to inspection. Materials for the footing shall be on the jobsite at the time of inspection, except where concrete is ready mixed in accordance with ASTM C94, the concrete need not be on the jobsite.

109.3.1.1.2 Foundation Inspections.  Foundation inspection is required after approval of footings, for location of walls and columns with respect to footings, piles and piers.  For concrete foundations, any required forms, spacers and reinforcement shall be in place prior to inspection. Inspections will include materials, concrete cover, anchoring and dimensions as appropriate.

109.3.1.1.3 Energy Footing and Foundation Insulation Inspection. Inspection of installation is required for insulation R-value, location, thickness, depth of burial and protection at footing, foundation, and under floor prior to covering of the materials.

109.3.1.2 As-Built Foundation Survey (Wall Check).  A wall check survey is required before a wall reaches a height of 1 foot (305 mm) above grade, or, in the case of other vertical construction, when a template or form is located and noted. The code official is authorized to require up to three wall checks depending on the design of the structure: below grade at footer, near grade, and final grade.  Surveys, wall examinations and reports, and field notes shall comply with 10-B DCMR §§ 2802, 2810-2812.  Wall check surveys shall be performed by a D.C.- Registered Land Surveyor.  Wall check reports, including drawings and field notes, shall be filed with the D.C. Office of the Surveyor.  Surveying practices should comply with standards set forth in the “Manual of Practices For Real Property Surveying In The District Of Columbia” published by The District of Columbia Association of Land Surveyors (January 2017). Authorization to continue construction of any building or other structure beyond construction of the foundation shall not be issued until a wall report has been prepared and submitted to the Department.  The wall report shall confirm that the location and elevation of the building or other structure conform to the approved plans and the provisions of the Construction Codes and other applicable District of Columbia regulations.

109.3.1.3 Backfill Inspection.  Backfill inspection is required prior to placement of backfill materials, for inspection of placement and cover of required footing drain tile, wall waterproofing, drainage and insulation.  Backfill materials shall be on the jobsite at the time of inspection.

109.3.1.4 Concrete Slab or Under-floor Inspection.  Concrete slab inspections are required after in-slab or under-floor reinforcing steel is in place to verify reinforcement size, spacing, concrete cover, splicing, vapor barrier, and mesh.  For slab-on-grade foundations, any required forms shall be in place prior to inspection. Energy footing and foundation insulation inspection, in accordance with Section 109.3.1.1.3, is required prior to concrete slab or under-floor inspection.

109.3.1.5 Floodplain Elevation Certificate.  For any work subject to Appendix G, upon placement of the lowest floor, and prior to proceeding with construction above that floor level, the elevation certificate required by Section 1612.5, shall be submitted to the code official. This certificate shall be reviewed and approved by the Floodplain Administrator before construction above the lowest floor proceeds, and any such construction before such review and approval shall be at the permit holder’s risk.  Approval by the Floodplain Administrator of the elevation certificate must be received by DOB prior to the scheduling and performance of any subsequent inspections required by Section 109.

109.3.1.6 Pre-Cladding Inspections.  Inspections in accordance with Sections 109.3.1.6.1 and 109.3.1.6.2 are required, as applicable, prior to placement of exterior cladding.

109.3.1.6.1 Exterior Wall Sheathing Inspection.  Inspection is required, for sheathing materials and nailing patterns, prior to covering the sheathing with any material, such as exterior insulation, water-resistive barrier, or air barrier.

109.3.1.6.2 Water-resistive Barrier Inspection.  Inspection is required for water-resistive barrier material and installation, prior to application of exterior insulation, roofing materials or exterior wall cladding, veneer or finishes.

109.3.1.7 Framing Inspection.  Framing inspections are required for interior and exterior walls, floor-ceiling and roof-ceiling assemblies. Inspections shall be performed after the framing and bracing of the respective assemblies has been completed, including but not limited to framing of walls, shaft walls, exit enclosures, elevator hoistways, floor-ceiling assemblies, roof assemblies and roof sheathing.  Framing inspections shall be performed before thermal envelope interior insulation is applied.  Framing inspections shall not be approved before the rough-in inspections of electrical, plumbing, gasfitting and mechanical work have been approved.

109.3.1.8 Energy Inspections

109.3.1.8.1 Energy Primary Air Barrier Inspection. Inspection of installation is required for the primary air barrier prior to covering of the materials in accordance with the provisions of the Energy Conservation Code.

109.3.1.8.2 Energy Insulation Inspection. Inspection of installation is required for the insulation R-value at the building thermal envelope prior to covering of the material. This includes, exterior wall, interior wall, roof. and attic insulation. Fenestration installed in the building thermal envelope shall be inspected for U-factor and SHGC value. Envelope commissioning documentation shall be provided per established guidance upon request of the code official. Compliance with relevant building envelope provisions of the Energy Conservation Code shall be verified.

109.3.1.9 Inspection of Fire-Resistant Rated Assembly.  An inspection is required of fire-resistant rated assemblies, including, but not limited to, those constructed of gypsum board or shaftliner board. This inspection includes assemblies that are part of a fire or smoke-rated wall, a shear wall, a shaft wall or a sound attenuation assembly, and shall be performed after the gypsum board is in place, but before the outer layer of gypsum board joints and fasteners are taped and covered with joint compound.  Shaft walls constructed with shaftliner shall be inspected on the shaftliner face from three sides of the shaft, and from the exterior of the shaft on all sides of the shaft.

109.3.1.10 Accessibility Inspections. Inspections of features affecting accessibility are required at various stages of construction. Building elements such as, but not limited to, required floor clearances, maneuvering clearances, ramp slopes, grab bar wall reinforcements, shall be inspected when construction is ready for framing or rough-in inspections. Features such as, but not limited to, required signage, reach ranges, floor surfaces, thresholds, mounting heights, shall be inspected when construction is ready for final inspections. All accessibility inspections shall be performed prior to the final building inspection.

109.3.1.11 Final Building Inspection.  A final building inspection is required after all other required building inspections are approved, and after any associated final inspections, acceptance testing, submissions or reports specified in Sections 109.3.2. through 109.3.13, as applicable, are approved and recorded, and the work for which a permit was issued has been completed in compliance with the Construction Codes. This inspection will confirm that each relevant system and component has successfully undergone a final acceptance testing or inspection, and that the life safety related items, as installed, perform or operate as intended and the premises are deemed safe to occupy.  This inspection will also confirm, among other things, that:

- The required means of egress are compliant and unobstructed through the exit discharge;

- The required signage is appropriately posted;

- Opening protective ratings are correct;

- Installed handrails and hardware are compliant; and

- The permit holder has complied with Sections 109.3.1.11.1 and 109.3.1.11.2 as applicable.

109.3.1.11.1 Flood Hazard Documentation. For work subject to Appendix G, a final building inspection shall not be approved unless the permit holder has complied with the requirements of either (a) or (b) as applicable:

(a) 	An elevation certificate shall be submitted to the code official and reviewed and approved by the Floodplain Administrator documenting the as-built elevation of the lowest floor as required by Section 1612.5; or

(b) 	A floodproofing certificate shall be submitted to the code official and reviewed and approved by the Floodplain Administrator prior to either (i) the final inspection, or (ii) the issuance of a certificate of completion or the first certificate of occupancy for a occupied space at grade or above, whichever is earlier, to certify a floodproofing design for a non-residential building that is permitted as an alternative to elevating to or above the base flood elevation.

109.3.1.11.2 Addressing. A final building inspection shall not be approved unless the premises complies with the applicable addressing requirements in Section 118.

109.3.2 Electrical Inspections.

109.3.2.1 Underground and Slab Inspection.  Inspection is required after trenches or ditches are excavated, forms are erected, conduit or cable are installed, and before any backfill or concrete is placed.

109.3.2.2 Service Inspection.  Inspection of each new or upgraded electrical service is required before the service entrance equipment is authorized to be energized.

109.3.2.3 Rough-in Inspection.  Inspection is required after the framing, fire blocking, and fire stopping are in place, after all circuit wiring, outlet boxes and luminaires are roughed-in, and prior to the installation of insulation and wall and ceiling membranes.

109.3.2.4 Energy Rough-in Inspection. Inspection is required after all circuit wiring, outlet boxes and luminaires are roughed-in, and prior to the installation of insulation and wall and ceiling membranes. Inspection of installation is required for the wiring of controls and other electrical provisions of the Energy Conservation Code.

109.3.2.5 Energy Final Inspection. Inspection is required after completion of all the electrical work planned or required on the premises for which a permit was issued. Inspection of installation is required for lighting efficacy, lighting controls, and other electrical provisions of the Energy Conservation Code.

109.3.2.6 Final Electrical Inspection.  A final electrical inspection is required after completion of all the electrical work planned or required on the premises for which a permit was issued, to confirm that all required electrical outlets, switches, luminaires and equipment are in place and properly connected and protected.

109.3.3 Plumbing Inspections.

109.3.3.1 Underground and Slab Inspection. Inspection is required after trenches or ditches are excavated, forms are erected, and piping is installed, and before any backfill or concrete is placed.  Drainage piping shall be inspected for appropriate size and slope, and all piping to be buried or embedded shall be tested for leaks under appropriate hydrostatic pressure in accordance with Sections 312.2 and 312.5 of the Plumbing Code and corresponding provisions of the Residential Code if applicable. Inspection of water and sewer laterals to the point of connection to the public mains is also required.

109.3.3.2 Rough-in Inspection.  Inspection is required prior to the installation of insulation and wall and ceiling membranes, after the framing, fire blocking and fire stopping are in place, and after water, soil, waste and vent piping is complete. All piping systems, whether to be concealed or not, shall be tested for leaks under appropriate hydrostatic pressure, in accordance with Sections 312.2 and 312.5 of the Plumbing Code and corresponding provisions of the Residential Code if applicable, before installation of any concealing materials.

109.3.3.3 Energy Rough-in Inspection. Inspection is required after the installation of pipe insulation. Inspection of installation is required for plumbing pipe insulation and other plumbing provisions of the Energy Conservation Code prior to covering of the material or equipment

109.3.3.4 Water Service Pipe Inspection. Domestic water service pipe installation inspection is required for pipe size, materials, trenching and bedding, from the public water main tap to the water distribution system of the premises, prior to backfilling the trench.

109.3.3.5 Building sewer pipe inspection. Inspection of installation of sanitary, storm and combined building sewer, as applicable, is required for pipe size, materials, slope, trenching and bedding, from the building drain to the public sewer serving the premises, prior to backfilling the trench.

109.3.3.6 Water Service Flush Inspection. Domestic water service pipe flush inspection is required prior to connection of the service to the water distribution system of the premises, to witness the removal of debris in the water service line.

109.3.3.7 Energy Final Inspection. Inspection is required after the work for which a permit was issued has been completed, all plumbing fixtures and equipment are in place and properly connected, and all the plumbing work to be done in the structure, building, or portion thereof is completed. Inspection of installation is required for plumbing controls and other plumbing provisions of the Energy Conservation Code.

109.3.3.8 Final Plumbing Inspection.  Final plumbing inspection is required after the work for which a permit was issued has been completed, all plumbing fixtures and equipment are in place and properly connected, and all the plumbing work to be done in the structure, building or portion thereof is completed.

109.3.4 Mechanical Inspections.

109.3.4.1 Underground and Slab Inspection. Inspection is required after trenches or ditches are excavated, forms are erected, underground duct or fuel piping is installed, and before any backfill and/or concrete is placed.

109.3.4.2 Rough-in Inspection.  Inspection is required prior to the installation of wall and ceiling membranes, and after the roof, framing, fire blocking and bracing are in place and all duct and fuel piping to be concealed are complete.

109.3.4.3 Energy Rough-in Inspection. Inspection is required prior to the installation of wall and ceiling membranes, and after all duct to be concealed are complete. Inspection of installation is required for duct insulation, ventilation strategy, and other mechanical provisions of the Energy Conservation Code. The rough-in duct leakage test results shall be provided. Systems commissioning documents shall be provided per established guidance upon request of the code official.

109.3.4.4 Commercial Kitchen Hood and Duct Inspections.  Inspection is required after a commercial kitchen hood and associated exhaust duct have been installed.

109.3.4.4.1  Grease Duct Inspection.  This inspection shall be performed before concealing any portion of the grease duct, and shall include, but not be limited to, inspection of duct joints and witnessing of a grease duct leakage test in accordance with Section 506.3.2.5 of the Mechanical Code.

109.3.4.4.2  Kitchen Exhaust Hood Inspection. This inspection shall be performed after connecting the hood to the grease duct, and shall include, but not be limited to, inspection of the connection between hood and duct, and of any required grease duct enclosure installation, in accordance with Section 506.3.11 of the Mechanical Code. This inspection is in addition to the commercial kitchen exhaust hood testing required by Section 109.3.7.6.

109.3.4.5 Energy Final Inspection.  Inspection is required after the work for which a permit was issued has been completed, the mechanical systems and appliances are in place and properly connected. Inspection of installation is required for HVAC system sizing, ventilation strategy controls, and other mechanical provisions of the Energy Conservation Code. If not provided at Energy Rough, 109.3.4.3, the post construction duct leakage test report shall be provided. Systems commissioning documents shall be provided per established guidance upon request of the code official.

109.3.4.6 Final Mechanical Inspection. A final mechanical inspection is required after the work for which a permit was issued has been completed, the mechanical systems and appliances are in place and properly connected and all work regulated by the Mechanical Code (or corresponding provisions of the Residential Code if applicable) to be done on the premises is completed.

109.3.5 Fuel Gas Inspections.

109.3.5.1 Rough-in Inspection.  Inspection is required after all piping authorized by the permit has been installed and before any such piping has been covered and concealed or any fixtures or appliances have been connected. This inspection shall include witnessing a test and performing an inspection of the gas piping systems, in accordance with Section 406 of the Fuel Gas Code and corresponding provisions of the Residential Code if applicable.

109.3.5.2 Final Fuel Gas Inspection. A final inspection is required after all fuel gas work for which a permit was issued has been completed.

109.3.6 Elevators, Escalators and Other Conveying Systems Inspections.  Prior to operation of an elevator, escalator or other conveying system that has been installed or altered pursuant to a permit, a final inspection and issuance of a certificate of inspection shall be required in accordance with Section 3001.__.

109.3.7 Fire Protection Systems Inspections

109.3.7.1 Fire Alarm Systems Rough-in.  Inspection of fixed portions of fire detection and alarm systems, whether to be concealed or not, is required before installation of any concealing materials, for inspection of wiring methods and supports.

109.3.7.2 Fire Suppression Systems Pressure Testing and Inspection.  Before installation of any concealing materials, or painting of any piping or fittings, an inspection is required of all portions of fire suppression systems piping, whether to be concealed or not. This inspection shall include, but not be limited to, the materials installed, the method of installation, clearances and supports, the location of sprinklers or nozzles, and the witnessing of pressure tests with appropriate testing media, to detect leaks. Where water-based suppression systems have to be tested with gas or air, an additional hydrostatic test shall be performed and witnessed in accordance with Section 903.5 of the Building Code and Section 901.5 of the Fire Code, as soon as temperature conditions allow it.

109.3.7.3 Fire Service Flush Inspection. Fire service flush inspection is required prior to connection of the service to any portion of the fire pump or sprinkler system piping, to witness the removal of debris in the fire service line.

109.3.7.4 Fire Pump Inspection. Before final inspection of a water-based fire suppression system, where a new or replacement fire pump assembly is installed, a fire pump inspection is required, for proper installation, initiation and operation, under normal and backup power, to verify that appropriate pressure and flow are achieved.  This inspection shall include witnessing an acceptance test of the pump in accordance with the relevant standard.

109.3.7.5 Fire Suppression Systems Final Inspection. Final inspection is required to verify the installation and coverage, and, where appropriate, proper operation of each fire suppression system.  Where appropriate, this inspection shall include witnessing the testing of system discharge control devices under the relevant standard.

109.3.7.6 Kitchen Hood and Duct Fire Suppression Systems Final Acceptance Testing.  Final acceptance testing is required of work for which a permit has been issued to confirm proper installation, coverage and operation of fire suppression systems. This acceptance testing shall include witnessing the testing of system discharge control devices, as appropriate under the relevant standards.

109.3.7.7 Fire Alarm Systems Final Acceptance Testing.  Final acceptance testing is required of any work on a fire detection and alarm system for which a permit has been issued to confirm proper initiation, notification, annunciation and operation of the system. This acceptance testing shall include witnessing an acceptance test of the system in accordance with the relevant standard.

109.3.8 Energy Final Inspection.  A final energy inspection is required after the work for which a building permit was issued has been completed and all the mechanical, plumbing, electrical and building envelope systems have been installed and programmed, to ascertain compliance of the project with the relevant provisions of the Energy Conservation Code. The building air leakage test results shall be provided to the code official.

109.3.9 Green Building Inspections.  Where the Green Construction Code applies, the following green building inspections are required.

109.3.9.1 Green Demolition Inspection. Inspection is required for material resource conservation, efficiency, and indoor environmental air quality at the time of indoor air quality plan implementation but prior to starting construction activities likely to produce dust or odors. The green demolition inspection is applicable to all projects subject to the Green Construction Code performing demolition.

109.3.9.2 Green Rough-in Inspection. Inspection is required for site development, material resource conservation, energy conservation, water resource conservation, and indoor environmental quality at the time of first insulation inspection in accordance with 109.3.1.9 and after mechanical, electrical, and plumbing rough-in inspections. Inspection is required prior to the covering of the materials or equipment.  A Green Rough-in inspection is not required if the project is only performing demolition.

109.3.9.3    Green Final Inspection. Inspection is required for site development, material resource conservation, energy conservation, water resource conservation, and indoor environmental quality prior to the final building inspection in accordance with Section 109.3.1.11. A green final inspection is not required if the project is only performing demolition.

109.3.10 Boiler and Pressure Vessel Inspections.  A boiler or pressure vessel inspection is required prior to operating a new or altered boiler or pressure vessel. This final inspection shall be performed to confirm that the boiler or pressure vessel has been installed or altered in compliance with the Mechanical Code and the conditions of its installation permit.  This final inspection and issuance of a certificate of inspection are required pursuant to Section 1003.2 of the Mechanical Code.

109.3.11 Other Inspections.  In addition to the inspections specified above, the code official is authorized to make, or to require the owner of a building or other structure to have an independent inspection agency perform, other inspections of any construction work. These inspections shall ascertain compliance with the provisions of the Construction Codes, the Zoning Regulations and other laws or regulations that are enforced by the Department.

109.3.12 [Reserved].

109.3.13 Special Inspections.  Special inspections shall be made in accordance with Chapter 17 of the Building Code, the Third Party Program Procedure Manual published by the Department, and the Special Inspections Procedural Manual published by the Department.

109.3.13.1 Authority to Require Special Inspections.  The code official is authorized to require the owner to employ special inspectors having adequate qualifications for inspection or supervision of the types of construction in accordance with Chapter 17 of the Building Code, the Third Party Program Procedure Manual and the Special Inspections Procedural Manual.

109.3.13.2 Final Report of Special Inspections.  In order to obtain a final building inspection and/or Certificate of Occupancy, a final report of Special Inspections must be submitted to the code official after review and approval by the Special Engineer of Record in accordance with the requirements of the Third Party Program Procedure Manual and the Special Inspections Procedural Manual.

109.3.13.3 Inspection at Point of Manufacture or Fabrication.  When required by the provisions of the Building Code, materials or assemblies shall be inspected at the point of manufacture or fabrication in accordance with Sections 1704.2.5 and 1704.2.5.1, and the Special Inspections Procedural Manual.

109.3.14 Certificates Authorizing Use and Occupancy of Premises or Portion Thereof. The code official is authorized to conduct an inspection upon submission of an application for a Certificate required by Section 110, to confirm that work authorized by a permit has been completed in compliance with the Construction Codes, and the proposed use and occupancy or both complies with all applicable provisions of the Construction Codes and Zoning Regulations.

109.4 Inspections of Permitted Work by Third Party Agencies.

109.4.1 Authorization to Use a Third-Party Agency.  When approved by the Department, a permit holder, at the permit holder’s expense, shall have the option of having a Third Party Agency conduct the inspections required by Section 109.3 for work subject to a permit issued by the Department. The Third Party Agency must be pursuant and subject to the provisions of D.C. Official Code § 6-1405 (2018 Repl.), this Section 109.4, and the Third-Party Program Procedure Manual (the provisions of which are incorporated herein by reference). Where the Department approves the use of a Third Party Agency the Third Party Agency shall provide and perform inspection services of the work for which a permit has been issued by the Department in accordance with D.C. Official Code § 6-1405, this Section 109.4, and the provisions of the Third-Party Program Procedure Manual.

109.4.1.1 Special Inspections. Special inspections shall be governed by Section 109.3.13 and Chapter 17 of the Building Code, the Third Party Program Procedure Manual and the Special Inspections Policy Manual.

109.4.2 Procedures for Inspections by Third Party Agencies. Where inspections are to be conducted by one or more approved Third Party Agencies of work subject to any permit issued by the Department, the Third Party Agency shall comply with the provisions of the Third-Party Program Procedure Manual.

109.5 Right of Entry.  The code official’s right of entry shall be governed by Section 104.6.

109.6 Coordination of Inspections.  Whenever, in the enforcement of the Construction Codes or another law or regulation, the responsibility of more than one official of the District of Columbia is involved, it shall be the duty of the officials involved to coordinate their inspections and administrative orders as fully as practicable so that the owner and occupants of the premises are not subjected to multiple visits by numerous inspectors or multiple or conflicting orders.

Strike Section 111 of the International Building Code in its entirety and insert new Section 110 in the Building Code in its place to read as follows:

110 	LETTERS OF CORE AND SHELL COMPLETION AND CERTIFICATES AUTHORIZING OCCUPANCY AND USE OF PREMISES

110.1 General. Section 110 provides procedures and requirements for the following:

- Letters of Core and Shell Completion;

- Certificates of Occupancy;

- Single-Family Certificates of Completion;

- Conditional Certificates of Occupancy; and

- Temporary Certificates of Occupancy.

For purposes of Section 110, the term “Certificate” shall collectively refer to all of the certificates identified in items 2 through 5 above.

110.2 Letter of Core and Shell Completion.  The code official is authorized to issue a Letter of Core and Shell Completion in accordance with the provisions of Section 110.2 for construction, whether involving newly constructed or existing buildings, where the code official determines that the building’s core and shell are substantially complete in accordance with the Construction Codes. The issuance of a Letter of Core and Shell Completion under this section shall not authorize or be deemed to authorize the use or occupancy of any portion of a premises or portion thereof for which a Certificate is required. The core and shell shall include any elements, systems and components that the code official shall designate.

110.2.1 Applications for a Letter of Core and Shell Completion.  All applications for a Letter of Core and Shell Completion shall be filed with the Department on the prescribed forms provided by the code official, shall be accompanied by the prescribed filing fee paid at the time of the application, and shall include the following:

- A list of permit numbers for all valid, associated permit(s) that authorized the construction for which the Letter of Core and Shell Completion is sought;

- Where the premises is located wholly or partially within a flood hazard area, the as-built elevation certificate or flood-proofing certificate required by Appendix G as applicable; and

- Other information as the code official shall require.

110.2.2 Additional Requirements for Action on Applications for Letters of Core and Shell Completion.  Prior to issuance of a Letter of Core and Shell Completion, the code official shall conduct inspections pursuant to Section 109.3.8 to confirm compliance with the applicable Construction Codes, and shall obtain review and approval by the Floodplain Administrator if the premises are located wholly or partially within a flood hazard area.

110.2.3 Issuance of Letter of Core and Shell Completion.  The code official shall review applications for Letters of Core and Shell Completion which are complete, and shall approve such applications and issue a Letter of Core and Shell Completion upon a finding that the application satisfies the requirements of Sections 110.2, 110.2.1 and 110.2.2., and other applicable provisions of the Construction Codes. The Letter of Core and Shell Completion issued by the Department shall contain the following information:

1.	The address of the premises, along with the lot and square number;

2.	The name and address of the owner;

3.	A description of the premises or portion of the premises for which the Letter of Core and Shell Completion is issued;

4.	The permit number(s) associated with the Letter of Core and Shell Completion (if applicable);

5.	The type of construction as defined in Chapter 6 of the Building Code;

6.	The edition of the Construction Codes under which the permit(s) were issued;

7.	List of all building elements, systems and components encompassed by the Letter of Core and Shell Completion and any special stipulations and conditions;

8.	The name of the code official; and

9.  The date of issuance.

110.3 	Required Certificates Authorizing Use and Occupancy of a Premises or Portion Thereof.  Until a Certificate authorizing the use and occupancy of the premises or portion thereof in accordance with Sections 110.3 and 113.4 has been issued by the code official, no person shall use or occupy any premises or any portion thereof for any purpose , and no change in the existing use, occupancy classification, occupancy load, tenant floor layout or ownership of a premises or portion thereof shall be made for any purpose. The issuance of a Certificate shall not be construed as an approval of a violation of the provisions of the applicable Construction Codes or Zoning Regulations or of the provisions of other laws or regulations of the District.

Exceptions:

- One-family dwellings (including congregate living facilities with six or fewer residents) in existence on the effective date of the Construction Codes.

- Repairs or alterations (Level 1 or Level 2) to one-family dwellings (including congregate living facilities with six or fewer residents).

- Transfer of ownership of a one-family dwelling (including congregate living facilities with six or fewer residents) in itself does not require a new certificate.

110.4 Code Official Authority to Issue Certificates.  The code official is authorized to issue the following Certificates authorizing use and occupancy of a premises, or portion thereof, in accordance with the requirements of Sections 110.4 through 110.6:

- Certificate of Occupancy.

- Single-Family Certificate of Completion.

- Conditional Certificate of Occupancy.

- Temporary Certificate of Occupancy.

110.4.1 Certificate of Occupancy.  The code official is authorized to issue a Certificate of Occupancy where the code official determines that:

- Work pursuant to a permit has been completed;

- A satisfactory final inspection has been approved in accordance with Section 109.3.1.11;

- The construction conforms substantially to the permit including approved construction documents and to the provisions of the Construction Codes, the Zoning Regulations and other applicable laws and regulations; and

- The owner has complied with the requirements of Section 110.5.

110.4.2 Single-Family Certificate of Completion.  Where the code official determines that the conditions of Section 110.4.1 are satisfied, the code official has authority to issue a Single-Family Certificate of Completion in the following circumstances:

- One-family dwellings (including congregate living facilities with six or fewer residents) constructed after the effective date of the Construction Codes.

- Additions or Level 3 alterations to existing one-family dwellings (including congregate living facilities with six or fewer residents) completed after the effective date of the Construction Codes.

110.4.3 Conditional Certificate of Occupancy.  The code official is authorized to issue a Conditional Certificate of Occupancy to authorize the conditional use and conditional occupancy of a premises, or a portion thereof, for which construction has begun but not been completed pursuant to a valid permit where all of the following conditions are met:

1.  The code official has determined that the portion of the premises for which the Conditional Certificate of Occupancy is requested may be safely occupied notwithstanding that the work authorized by the permit has not been completed. A building will not be deemed safe for occupancy unless, at a minimum, the following are in place for the areas being occupied: adequate light, ventilation and sanitation; means of egress, fire protection systems, primary structural frame and secondary members.

2.	A valid Letter  of Core and  Shell Completion has been issued for the entire building or structure in which the premises or portion thereof for which the Conditional Certificate of Occupancy is requested is located unless the code official makes a determination in writing that a Letter of Core and Shell Completion is not required.

- The proposed occupancy (both as to initial occupancy and subsequent identical occupancies thereafter) complies with all use and occupancy requirements of Chapters 3 and 4 of the Building Code and the applicable Zoning Regulations.

- The owner has complied with the requirements of Section 110.5.

The issuance of a Conditional Certificate of Occupancy under this Section shall only authorize the use or occupancy of the part of the premises specified therein, and shall not authorize or be deemed to authorize the use or occupancy of any other part of the premises. A substantial separation will be established and maintained between the area occupied and the areas remaining under construction to prevent noise, pollutants and other unsafe conditions from adversely affecting occupied areas.

110.4.3.1 Authority to Impose Conditions. The code official is authorized to impose conditions on the Conditional Certificate of Occupancy as the code official deems necessary to protect the public health, safety, and welfare, including, but not limited to, an expiration date for the Conditional Certificate of Occupancy and a requirement that a single Certificate of Occupancy be obtained for the entire building or structure upon completion of all phases of the work permitted.

110.4.3.2 Expiration of Conditional Certificate of Occupancy. A Conditional Certificate of Occupancy shall become null and void upon the expiration date specified in the Conditional Certificate of Occupancy without any additional notice or order required by the code official. The code official is authorized to identify expired certificates in the Department’s database, or to take any other actions necessary to administer this provision.

110.4.4 Temporary Certificate of Occupancy.  The code official is authorized to issue a Temporary Certificate of Occupancy, subject to the requirements of Section 110.5, in either of the following circumstances:

      - To authorize the temporary use and temporary occupancy of a temporary structure, tent or membrane structure for which a permit has been issued  pursuant to Sections 107.1 and 3103 and/or Sections 3103 and 3104 of the Fire Code  for a defined  period of time not to exceed six months.

Exception: The code official has authority to issue a Temporary Certificate of Occupancy for up to 12 months for temporary use and temporary occupancy of a permitted temporary structure, tent or membrane structure, where the use and occupancy occurs intermittently, and for no more than two days per week, and no permanent structure is built.

      - To authorize the temporary use (including a temporary change of use) and temporary occupancy of (a) an existing building or existing structure, or portion thereof, or (b) a lot (but not any temporary structures, tents or membrane structures located thereon) for a defined period of time not to exceed 12 months, where the code official determines that the premises, or designated part thereof, is safe to use and occupy.

The issuance of a Temporary Certificate of Occupancy under this Section shall only authorize the use or occupancy of the part of the premises specified therein, and shall not authorize or be deemed to authorize the use or occupancy of any other part of the premises.

110.4.4.1 Authority to Impose Conditions. The code official is authorized to impose conditions on the Temporary Certificate of Occupancy as the code official deems necessary to protect the public health, safety, and welfare.

110.4.4.2 Expiration of Temporary Certificate of Occupancy. The code official shall specify the expiration date for the Temporary Certificate of Occupancy in the Certificate issued under this Section.  A Temporary Certificate of Occupancy shall become null and void upon the expiration date specified in the Temporary Certificate of Occupancy without any additional notice or order required by the code official. The code official is authorized to identify expired certificates in the Department’s database, or to take any other actions necessary to administer this provision.

110.5 Application for and Processing of Certificates.  All applications for a Certificate authorizing the use and occupancy of a premises or a portion thereof shall be filed with the Department on the prescribed forms provided by the code official, shall be accompanied by the prescribed filing fee paid at the time of the application, and shall include the following:

- A list of permit number(s) for the valid, associated permit(s) that authorized the construction of the premises or portion thereof for which the Certificate is sought unless the code official determines that an associated permit is not required;

- A copy of the final inspection approval per Section 109.3.8, unless the code official determines that no inspection is required pursuant to Section 110.5.1;

- For premises located in a PDR zone, the “Standards of External Effects” application required by Section U-805 of the Zoning Regulations;

- If an application pertains to a structure or use authorized by an order of the Zoning Commission or Board of Zoning Adjustment and the permission granted in that order was made subject to conditions, a copy of the Order and a statement demonstrating compliance with the Order, including all conditions that were to be satisfied prior to the issuance of a Certificate;

- Where the premises is located wholly or partially within a flood hazard area, the required elevation certificate or flood-proofing certificate as applicable with evidence of review and approval of such certificate by the Floodplain Administrator; and

- Any other information required by the code official.

110.5.1 Inspections. Following the filing of an application for a Certificate, and as required by the code official, inspections shall be conducted pursuant to Section 109.3.14 to confirm compliance with the applicable Construction Codes and the Zoning Regulations.

Exceptions:

- Application for issuance of a new Certificate for a premises or portion thereof due to a change in ownership or change in tenancy, where the premises or portion thereof has an existing valid Certificate, the code official is authorized to issue a new Certificate without an inspection. The code official is authorized to conduct inspections to confirm that no other changes have been made from the prior Certificate.

- Application for issuance of a new Certificate for a premises or portion thereof that have an existing valid Certificate from which the only change proposed is a change in use, the code official is authorized to issue a Certificate without requiring an inspection upon a determination by the code official that the change of use or occupant load is not accompanied by any physical changes to the premises or portion thereof for which the Certificate is requested. The code official is authorized to conduct inspections to confirm that no other changes have been made from the prior Certificate.

- Application for issuance of a new Certificate for a premises or portion thereof that have an existing valid Certificate from which the only change proposed is a change in occupant load, the code official is authorized to issue a Certificate without requiring an inspection upon a determination by the code official that the change in occupant load does not require changes to means of egress, plumbing or ventilation requirements. The code official is authorized to conduct inspections to confirm that no other changes have been made from the prior Certificate.

- Changes in occupancy classification as defined in Chapter 3 require a separate permit, and approved inspections must be completed prior to issuance of a Certificate for the new occupancy classification.

110.5.2 Zoning Review and Approval.  Prior to issuance of a Certificate, the code official shall obtain review and approval by the Zoning Administrator to confirm that the proposed use of the premises, including accessory uses, complies with the Zoning Regulations.

Exception: Approval of the Zoning Administrator shall not be required for a Certificate for any use for which the Zoning Regulations do not require a Certificate of Occupancy.

110.5.3 Special Restrictions for Projects Subject to Green Building Act and Green Construction Code Alternate Compliance Paths.

110.5.3.1 Projects Subject to the Green Building Act.  No Certificate of Occupancy shall be issued for a project subject to Section 4 of the Green Building Act (D.C. Official Code § 6-1451.03) and Section 302 of the Green Construction Code, until the owner complies with the financial security requirement of Section 6 of the Green Building Act (D.C. Official Code § 6-1451.05) or Section 302 of the Green Construction Code, as applicable.

110.5.3.2 Projects Not Subject to the Green Building Act. For projects electing an alternate compliance pathway pursuant to Sections 101.4.9.4.2.2, 101.4.9.4.2.3, or 101.4.9.4.2.4, prior to issuance of a Certificate of Occupancy, or prior to issuance of the first Certificate of Occupancy for occupiable space in a story above grade plane where a project has multiple Certificates of Occupancy, the code official is authorized to request additional documentation as deemed necessary to confirm that the project is on track to be certified as compliant with the elected pathway.

110.6 Issuance of Certificate Authorizing Use or Occupancy. The code official shall review applications for Certificates which are complete, and shall approve such applications and issue the applicable Certificate upon a finding that the application satisfies the requirements of the Construction Codes, the Zoning Regulations, and other laws or regulations that are enforced by the Department. The Certificate issued by the Department shall contain the following information:

- The address of the premises, along with the lot and square number and the applicable zone district;

- The name and address of the owner or tenant, as applicable;

- A description of the premises, or portion thereof, for which the Certificate is issued;

- The permit number(s) associated with the Certificate, if applicable;

- The use and occupancy authorized in accordance with the provisions of Chapters 3 and 4 of the Building Code;

- The use and occupancy authorized in accordance with the Zoning Regulations;

- The design occupant load;

- The type of construction as defined in Chapter 6 of the Building Code;

- If an automatic sprinkler system is provided, whether the sprinkler system is required;

- The edition of the Construction Codes under which the permit was issued;

- Any special stipulations and conditions of the Certificate or the associated permit(s);

- The name of the code official;

- The date of issuance; and

- The date of expiration, if a Conditional or Temporary Certificate of Occupancy.

- The code official is authorized to omit any of the above information upon determination that such information is not necessary or applicable to the specific Certificate.

110.7 Posting of Certificate.  All Certificates shall be conspicuously posted in or upon the premises to which they apply so that they are readily visible to anyone entering the premises.

Exceptions:

- Certificates for places of religious worship are not required to be posted.

- Certificates are not required to be posted for one-family dwellings (including congregate living facilities with six or fewer residents).

110.8 	Revocation of a Certificate.  Revocations of any Letter of Core and Shell Completion or Certificate issued pursuant to this Section are governed by Section 111.

110.9 	Fees for Letters of Core and Shell Completion and Certificates. A fee for the processing and issuance of a Letter of Core and Shell Completion and Certificates shall be paid to the D.C. Treasurer in accordance with the applicable fee schedule.

110.9.1 Fee Schedule.  The Director is authorized to establish, from time to time, by approved rules, a schedule of unit rates and other fees for Letters of Core and Shell Completion, Certificates and other related miscellaneous services.

Strike Section 112 of the International Building Code in its entirety and insert a new Section 111 into the Building Code in its place to read as follows:

111	REVOCATION OF PERMITS AND CERTIFICATES

111.1 Revocation of a Permit.  The code official is authorized to revoke in whole or in part any permit issued under the Construction Codes or the Zoning Regulations upon service of notice as specified by Section 111.3, for any of the following reasons:

- Where the Office of Administrative Hearings/OAH or Board of Zoning Adjustment/BZA has issued an Order revoking a permit or finding that a permit was issued in error.

- When the permit holder, contractor, or Registered Design Professional in Responsible Charge has been cited, under Sections 115 or 116 of the Building Code for one or more violations of the Construction Codes which, by the determination of the code official, threaten the health and safety of the public in the District of Columbia, and when the permit holder fails to restore safety or otherwise remedy the situation under the terms and conditions of the code official’s order and within the time period specified.

- When the code official determines that the permit has been erroneously issued as the result of administrative or clerical error and notifies the permit holder of the error within five business days after permit issuance.

- When the code official determines that the permit has been erroneously issued as the result of administrative or clerical error and notifies the permit holder of the error more than five business days after permit issuance.

- When permits are issued to a contractor, construction manager or tradesperson without the requisite District of Columbia license(s) or whose District of Columbia license(s) have expired, or are suspended or revoked by the Board or DOB Division having jurisdiction.

- Where the application or construction documents on which the issuance of a permit or approval was based contain a significant inaccuracy, a false statement or a material misrepresentation of fact that substantively affected the approval and issuance of the permit, including, but not limited to, inaccuracies with respect to pre-existing conditions.

- When work at a construction site covered by the permit has been posted with two or more stop work orders, under Section 114, and, where the stop work order is not otherwise withdrawn by the code official, the permit holder fails to comply with the terms of the stop work orders in two or more instances, so as to establish a pattern indicative of the permit holder’s unwillingness to fully comply with the Construction Codes.

- When the work at a construction site covered by the permit:  (a) does not comply with (i) the Construction Codes (or any modification duly granted thereunder by the code official), (ii) the Zoning Regulations (or any relief granted therefrom by the Board of Zoning Adjustment or the Zoning Commission), (iii) the permit, (iv) the revised permit, (v) one or more conditions of any Board of Zoning Adjustment or Zoning Commission Order that authorized the construction, or (vi) the approved construction documents; and (b) the permit holder fails to correct the non-conforming condition  within the time period specified in a notice or order issued under Section 113 if such is issued.

- Where the application or construction documents on which the issuance of a permit or approval was based was signed by an architect or engineer without the requisite District of Columbia license(s) or whose District of Columbia license(s) have expired, or are suspended or revoked by the Board or DOB Division having jurisdiction.

- Where the registered design professional of record or the registered design professional in responsible charge has been disciplined by the Board for Professional Engineers or the Board for Architects or any other regulatory authority.

111.1.1 Effective Date of Permit Revocation. Revocation of a permit shall become final upon occurrence of one of the following conditions:

- Revocations based on item 1 of Section 111.1 shall be summary revocations that take effect on the effective date of the order of the OAH or BZA.

- Revocations based on item 2 of Section 111.1 shall be summary revocations that take effect on the date ordered by the code official.

- Revocations based on item 3 of Section 111.1 shall be summary revocations that take effect upon timely issuance by the code official of a notice to the permit holder declaring the permit null and void and cancelling the permit.

- All revocations based on Section 111.1 other than those subject to items 1, 2 or 3 of Section 111.1.1 , shall be proposed actions that will take effect upon one of the following conditions:

  - If based on violations of the Construction Codes, ten business days after service of the notice of revocation pursuant to Section 111.3 unless the permit holder requests a hearing to appeal the proposed revocation from the Office of Administrative Hearings (OAH) within that ten business day period; or

  - If based on violations of the Zoning Regulations, at the end of the 60-day period established in Section 11-Y 302 of the Zoning Regulations for appeals to the Board of Zoning Adjustment (BZA), after service of the notice of revocation pursuant to Section 111.3 unless the permit holder requests a hearing to appeal the proposed revocation from the Board of Zoning Adjustment (BZA) within that 60-day period.

111.2 Revocation of a Certificate. The code official is authorized to revoke a Certificate or Letter of Core and Shell Completion issued under Section 110 as to the whole or a portion of a premises, as reasonably deemed appropriate by the code official, upon service of notice as specified by Section 111.3, for any of the following conditions:

- Where the Office of Administrative Hearings/OAH or Board of Zoning Adjustment/BZA has issued an Order revoking a Certificate or finding that a Certificate was issued in error.

- Where the owner or permit holder or the Registered Design Professional in Responsible Charge has been cited, under Sections 115 or 116 of the Building Code, for one or more violations of the Construction Codes which, by the determination of the code official, threaten the health and safety of the public in the District of Columbia, and when the Certificate holder fails to restore safety or otherwise remedy the situation under the terms and conditions of the code official’s order and within the time period specified.

- Where the application or information on which the issuance of the Certificate was based contained a significant inaccuracy, a false statement or a material misrepresentation of fact that substantively affected the approval and issuance of the Certificate; or

- When the code official determines that the Certificate has been erroneously issued as the result of administrative or clerical error and notifies the Certificate holder of the error within five business days after Certificate issuance.

- When the code official determines that the Certificate has been erroneously issued as the result of administrative or clerical error and notifies the Certificate holder of the error more than five business days after Certificate issuance.

- Where the actual occupancy does not conform with that which was permitted under the Certificate, including any conditions, or permitted under the applicable laws and regulations of the District, including, but not limited to situations where the use is being operated in violation of one or more conditions of any Zoning Commission or Board of Zoning Adjustment Order that authorized the establishment of the use or the construction, renovation, or alteration of the building in which the use is located. Such violations include, but are not limited to, (i) the failure to establish or maintain any public benefit in accordance with a condition set forth in any Zoning Commission order granting a planned unit development on the premises in which the use is located, or (ii) the failure to comply with a condition imposed by the Board of Zoning Adjustment (BZA) in any special exception or variance order of that Board related to the premises in which the use is located.

- When all of the following conditions are verified:

a.  The premises or portion thereof, for which a certificate had been previously issued, is undergoing alteration or repair, or an addition thereto is being constructed, under a duly issued permit, and the original use is being continued during the construction period; and

b.  The code official deems that construction is not progressing at a reasonable pace and the unfinished portion of the project, as shown on the approved construction documents, or the missing systems or portions thereof, are such that the code official deems that the safety, health or welfare of the public or of the occupants is seriously threatened thereby.

8.	Where the owner or occupant fails to timely apply for a new Certificate in accordance with Section 110, where such certificate is required, the Certificate previously issued for the premises or portion thereof shall be revoked in whole or in part as applicable.

111.2.1 Effective Date of Revocation.  Revocations of a Certificate shall become final upon occurrence of one of the following conditions:

- Revocations based on item 1 of Section 111.2 shall be summary revocations and shall take effect on the effective order of the OAH or BZA.

- Revocations based on item 2 of Section 111.2 shall be summary revocations and shall take effect on the date ordered by the code official.

- Revocations based on item 3 of Section 111.2 shall be summary revocations that take effect upon timely issuance of a notice by the code official to the Certificate holder declaring the Certificate null and void.

- All revocations based on Section 111.2 other than those subject to items 1, 2 or 3 of Section 111.1.2, shall be proposed actions that will take effect upon one of the following conditions:

a.	Based on violations of the Construction Codes, ten business days after service of the notice of revocation pursuant to Section 111.3 unless the permit holder requests a hearing to appeal the proposed revocation from the Office of Administrative Hearings (OAH) within that ten business day period; or

b.	Based on violations of the Zoning Regulations, within the 60-day period established in Section 11-Y 302 of the Zoning Regulations for appeals to the Board of Zoning Adjustment (BZA), after service of the notice of revocation pursuant to Section 111.3 unless the permit holder requests a hearing to appeal the proposed revocation from the Board of Zoning Adjustment (BZA) within that 60-day period.

111.3 Notice of Revocation of a Permit or Certificate. The code official or Zoning Administrator shall provide written notice of the revocation to the holder of the permit or Certificate of Occupancy. This notice shall include the following:

- A statement of the grounds for the action taken, citing the provisions of the D.C. Official Code, the Construction Codes or the Zoning Regulations which have been violated;

- The effective date of the proposed revocation; and

- A statement advising the permit holder or Certificate holder of the right to appeal the revocation in accordance with Section 112.2.

Exception: For revocations based on item 1 of Section 111.1 and item 1 of Section 111.2, the Order of the Office of Administrative Hearings (OAH) or of the Board of Zoning Adjustment (BZA), as applicable, ordering the revocation of a permit or Certificate or finding that a permit or Certificate has been issued in error, shall constitute the Notice of Revocation required under this section and no additional notice is required.

111.3.1 Service of Notice to Revoke a Permit or Certificate.  The code official shall provide service of a notice to revoke a permit to the permit holder or the permit holder’s agent in accordance with Section 113.5.  The code official shall provide service of a notice to revoke a Certificate to the Certificate holder or the Certificate holder’s agent in accordance with Section 113.5.

111.4 Appeals of Revocations.  Appeals of revocations of permits and of Certificates shall be governed by Section 112.

Exception:  Revocations based on item 1 of Section 111.1and item 1 of Section 111.2 shall not be appealed to the Office of Administrative Hearings (OAH) or the Board of Zoning Adjustment (BZA), as applicable, but instead shall be appealed only to the District of Columbia Court of Appeals pursuant to Section 11 of An Act To prescribe administrative procedures for the District of Columbia Government, approved October 21, 1968 (82 Stat. 1209; D.C. Official Code § 2-510 (2016 Repl. & 2019 Supp.)).

Strike Section 113 of the International Building Code in its entirety and insert a new Section 112 in the Building Code in its place to read as follows:

112 	INTERNAL AGENCY REVIEW AND APPEALS OF FINAL DECISIONS OF CODE OFFICIAL AND ZONING ADMINISTRATOR

112.1 Internal Agency Review Process.  The purpose of this Section 112.1 is to facilitate internal agency review of a Staff Action (as defined in Section 112.1.2) by the code official or Zoning Administrator in certain limited situations authorized by Sections 112.1.1 through 112.1.4.

112.1.1 Persons Authorized to Seek Internal Agency Review. The right to seek internal agency review is available only to (1) an applicant for a permit or Certificate, or the holder of a permit or Certificate, that is adversely affected or aggrieved by a Staff Action as defined in Section 112.1.2, or (2) by persons specified in Section 112.1.1.1.

112.1.1.1 Stop Work Orders for Illegal Construction.  Where a person is served with a Stop Work Order for violation of the Construction Codes in accordance with Section 114, and such person is neither a permit applicant nor a permit holder, such person is authorized and required to seek internal agency review of the Stop Work Order by the code official in accordance with the provisions of Section 112.1 before initiating an appeal to OAH or the Board of Zoning Adjustment (BZA) pursuant to Sections 112.2 and 112.3, as applicable.

112.1.2 Staff Action Subject to Internal Agency Review.  A Staff Action for purposes of Section 112.1 shall consist of an interpretation of the Construction Codes or Zoning Regulations, or an action or decision based on such interpretation, that is made or taken by Department staff other than the code official or the Zoning Administrator, and which relates only to the following:

- Application processing;

- Interpretation or application of pertinent provisions of the Construction Codes or the Zoning Regulations,

- Inspections; or

- A Stop Work Order issued pursuant to Section 114.

112.1.3 Requirements to Obtain Code Official Review of a Staff Action. To seek code official review of a Staff Action pursuant to Section 112.1, the following conditions apply:

- Code official review pursuant to Section 112.1 shall only be available to the persons authorized to seek internal agency review as specified in Sections 112.1.1 and 112.1.1.1 (the “aggrieved person”);

- The request for internal agency review by the code official shall be submitted by the aggrieved person on a review form provided by the Department and shall state in writing the grounds for the requested review of a Staff Action, with: (i) references to the specific provisions of the Construction Codes that are  alleged to have been incorrectly interpreted or applied, and (ii)  where evidence of alternate methods or means of compliance with the Construction Codes is proposed by the aggrieved person, evidence to support the assertion that an equally good or better form of construction can be used in compliance with the Construction Codes; and

- Internal agency review authorized by Section 112.1 must be initiated by the aggrieved person no later than ten business days after the aggrieved person (as defined in Sections 112.1 and 112.1.1) is notified of or learns of the Staff Action.

112.1.3.1 Time of Notification for Section 112.1.3.  For purposes of Section 112.1.3, the aggrieved person shall be deemed to have been notified of the Staff Action on the earliest occurrence of any of the following:

1. 	Posting of a Stop Work Order in accordance with Section 114;

2.  	Entry of a hold for corrections by the Department on the Department’s review database;

3.  Entry of a failure to pass a required inspection on the Department’s review database;

4.  Refusal by Department staff to accept an application for issuance of a permit or a Certificate;

5.  Notification by Department staff in writing or by electronic communication to the aggrieved person that all submittal documents required by Section 106 pertinent to the permit applied for, or documentation specified in Section 110 to support an application for a Certificate, is absent or deemed insufficient; or

6.  Notice by Department staff, issued in writing or by electronic communication to the aggrieved person that continued processing of an application for issuance of a permit or Certificate is suspended pending compliance with one or more specified sections of the Construction Codes.

112.1.4 Requirements to Obtain Zoning Administrator Review of a Staff Action. To seek Zoning Administrator review of a Staff Action pursuant to Section 112.1, the following conditions apply:

- Zoning Administrator review pursuant to Section 112.1 shall only be available to the persons authorized to seek internal agency review as specified in Sections 112.1.1 and 112.1.1.1 (the “aggrieved person”);

- The request for internal agency review by the Zoning Administrator shall be submitted by the aggrieved person on a review form provided by the Department and shall state in writing the grounds for the requested review of a Staff Action with references to the specific provisions of the Zoning Regulations, that are alleged to have been incorrectly interpreted or applied;

- Internal agency review authorized by Section 112.1 must be initiated by the aggrieved person no later than ten   business days after the aggrieved person (as defined in Sections 112.1.1 and 112.1.1.1) is notified of or learns of the Staff Action.

112.1.4.1 Time of Notification for Section 112.1.4. For purposes of Section 112.1.4, the aggrieved person shall be deemed to have been notified of the Staff Action on the earliest occurrence of any of the following:

1.  Posting of a Stop Work Order in accordance with Section 114;

2.  Entry of a hold for corrections by the Department in the Department’s database;

3.  Entry of a failure to pass a requested inspection in the Department’s database;

4.  Refusal by staff of the Office of the Zoning Administrator to process an application for issuance of a permit or a Certificate;

5.  Notification by staff of the Office of the Zoning Administrator, issued in writing or by electronic communication to the aggrieved person, that all submittal documents required by Section 106 pertinent to the permit applied for or documentation specified in Section 110 to support an application for a Certificate, relative to consideration for compliance with the Zoning Regulations, in either case, is absent or deemed insufficient; or

6.  Notice by staff of the Office of the Zoning Administrator, issued in writing or by electronic communication to the aggrieved person that continued processing of an application for issuance of a permit or Certificate is suspended pending compliance with one or more specific sections of the Zoning Regulations.

112.1.5 Code Official Action on Request for Agency Internal Review.  Upon receipt of a request for review that complies with Section 112.1.2, the code official shall affirm, modify, or reverse the Staff Action within 15 business days of receipt of such request. If the code official affirms the Staff Action, or does not act upon the review request within the 15 business day period, the Staff Action shall be deemed affirmed. The decision of the code official on requests for an internal agency review of a Staff Action authorized by Section 121.1, shall be a final decision of the Department on the specific issue raised in the review request which the aggrieved person (as defined in Sections 112.1.1 and 112.1.1.1) may appeal to OAH in accordance with Section 112.2 below.

112.1.6 Zoning Administrator Action on Request for Agency Internal Review. The Zoning Administrator shall affirm, modify, or reverse the Staff Action within 15 business days of receipt of a review form that complies with Section 112.1.3. If the Zoning Administrator affirms the Staff Action or does not act upon the review request within the 15 business day period, the Staff Action shall be deemed affirmed. The decision of the Zoning Administrator on requests for an internal agency review of a Staff Action allegedly in violation of the Zoning Regulations, including the passive affirmation of a challenged Staff Action, shall be the final decision of the Zoning Administrator, which the aggrieved person (as defined in Sections 112.1.1 and 112.1.1.1) may appeal to the Board of Zoning Adjustment in accordance with Section 112.2.2 below.

112.1.7 Effect of Filing of Request Review of Staff Action. Notwithstanding the foregoing, the submission of a request for internal agency review of a  Staff Action by an aggrieved person (as defined in Sections 112.1.1 and 121.1.1.1) shall not stay the time period established in the Zoning Regulations within which to appeal the Staff Action decision to the Board of Zoning Adjustment.

112.2 Appeal of a Final Decision of the Code Official based on Alleged Violations of the Construction Codes. The applicant for, or holder of, a permit or Certificate, or any person directly affected or aggrieved in a materially adverse manner by a final decision or order of the code official, including but not limited to issuance or revocation of a permit or Certificate, is authorized to appeal the final decision or order, or portion thereof, that is based upon the Construction Codes by filing an appeal with the Office of the Administrative Hearings (OAH).

The appeal shall be filed within 10 business days after the date the appellant had notice or knowledge of the decision, or should have had notice or knowledge of the decision, whichever is earlier, subject to the reconsideration procedure for permits involving adjoining property issues set forth in Section 112.7.

This 10-business day appeal period shall not be extended, tolled, or restarted by a request for an internal agency review under Section 112.1, but the appeal period shall be extended where reconsideration is timely sought in accordance with Section 112.7 as to the limited issue of whether the proposed work plan will provide adequate technical protection to the adjoining premises. The appeal shall specify the specific provisions of the Construction Codes, or the rules legally adopted thereunder, that the appeal alleges the code official incorrectly interpreted or applied and shall provide evidence to support an allegation, if part of the appeal, that an equally good or better form of construction can be used.

In reviewing an appeal based in whole or in part on a technical determination or interpretation by the code official, OAH shall have no authority to waive requirements of the Construction Codes and shall not overrule the code official’s technical determination or interpretation unless determined by OAH to be arbitrary or capricious.

Exceptions:

- OAH review of a notice or order to close or vacate residential premises issued pursuant to Section 115 shall be based solely on the issue of whether the code official’s determination that the premises are unsafe or unfit for occupancy requiring a building closure under the provisions of Section 115 was arbitrary and capricious;

- OAH review of a notice or order to close or vacate residential premises issued pursuant to Section 116 shall be based solely on the issue of whether the code official’s building closure decision was arbitrary and capricious.

- Only the person that is a party identified in either Section 112.1.1 or Section 112.1.1.1 is authorized to appeal a final decision of the code official as a result of the internal agency review process authorized by Section 112.1.

112.2.1 Appeal by Permit Holder of Summary Revocation under Section 111.1 (Item 2).  When a summary revocation of a permit is ordered under item 2 of Section  111.1, the permit holder is authorized to request an expedited hearing from OAH within 72 hours (excluding Saturdays, Sundays, and legal holidays) after service of notice of the revocation pursuant to Section 111.3.1,  to review the reasonableness of the revocation order. At this hearing, the code official shall have the burden of establishing a prima facie case of immediate or serious and continuing endangerment. The OAH shall not stay the code official's decision to revoke a permit under Item 2 of Section 111.1 pending the final resolution of the hearing.

112.2.2 Appeal by Certificate Holder of Summary Revocation under Section 111.2 (Item 2).  When a summary revocation of a permit is ordered under item 2 of Section  111.2, the permit holder is authorized to request an expedited hearing from OAH within 72 hours (excluding Saturdays, Sundays, and legal holidays) after service of notice of the revocation pursuant to Section 111.3.1,  to review the reasonableness of the revocation order. At this hearing, the code official shall have the burden of establishing a prima facie case of immediate or serious and continuing endangerment. The OAH shall not stay the code official's decision to revoke a permit under Item 2 of Section 111.1 pending the final resolution of the hearing.

112.2.3 Request for Expedited Hearing of Building Closure Pursuant to Section 115 by Tenant or Occupant of Rental Unit. Where a notice or order to close or vacate a building with rental units is issued pursuant to Section 115, a tenant or occupant of a rental unit affected by such notice or order has a right to request an expedited hearing by OAH prior to the closure subject to the following requirements:

- The tenant or occupant shall file the request for an expedited hearing with OAH no later than the date specified in the notice or order for tenants or occupants to vacate the premises;

- OAH review shall be based solely on the issue of whether the premises are unsafe or unfit for occupancy requiring a building closure under the provisions of Section 115 of the Building Code;

- Enforcement of the closure notice or order shall be stayed until OAH issues a written decision; and

- OAH shall hold a hearing within 72 hours of receipt of a timely request, and shall issue a decision within 72 hours after the hearing. For purposes of computing these 72-hour periods, Saturdays, Sundays, and legal holidays shall be excluded.

112.2.3.1 Additional Provisions Applicable to Buildings with Residential Units. Nothing herein shall be construed to authorize an expedited hearing for any orders or notices issued, or actions taken, pursuant to Section 116.  Appeal of a notice or order under Section 115 to close or vacate a building with rental units, or a request for an expedited hearing pursuant to Section 112.2.1.3, shall not preclude the code official from issuing a notice or order pursuant to Section 116 for the same premises, or any portion thereof, while such appeal or hearing is pending.

112.3 Appeal of a Final Decision of the Zoning Administrator based on Alleged Violations of the Zoning Regulations. The applicant for, or holder of, a permit or Certificate, or any person directly affected or aggrieved in a materially adverse manner by a final decision or order of the Zoning Administrator, including a revocation of a permit or Certificate, may appeal those aspects of the final decision or order that are based upon the Zoning Regulations to the Board of Zoning Adjustment (BZA) of the District of Columbia, pursuant to D.C. Official Code § 6-641.07 (2018 Repl.). The appeal shall be filed within a 60-day period after the date the appellant had notice or knowledge of the decision, or should have had notice or knowledge of the decision, whichever is earlier, as established by the Zoning Regulations. The appeal shall specify the specific provisions of the Zoning Regulations, or the rules legally adopted thereunder, that the appeal alleges the Zoning Administrator incorrectly interpreted or applied.

Exception: Only the aggrieved person (as defined in Sections 112.1.1 and 112.1.1.1) is authorized to appeal a final decision of the Zoning Administrator as a result of the internal agency review process authorized by Section 112.1.

112.4 Appeal of Orders of OAH or BZA.  No appeal may be taken to OAH or to the BZA when a ground for revocation of a permit or Certificate is an Order of OAH or the BZA finding that the permit or Certificate was issued in error. The revocation in such cases may be appealed to the District of Columbia Court of Appeals pursuant to D.C. Official Code § 2-510.

112.5 Enforcement of OAH or BZA Orders.  The code official or the Zoning Administrator, as applicable, shall take immediate action in accordance with the Order of the OAH or the BZA, as applicable, in any appeal.

112.6 Stay of Enforcement.  Appeals of notices or orders issued by the code official or Zoning Administrator shall stay the enforcement of the notice or order until the appeal is heard by OAH or BZA.

Exceptions:

- Closure or imminent danger notices or orders issued pursuant to Section 116, and related orders to vacate premises;

- Closure notices or orders issued pursuant to Section 115, and related orders to vacate premises, except where the tenant or occupant has requested an expedited OAH hearing in accordance with Section 112.2.3;

- Stop Work Orders;

- Revocation of one or more Certificates based upon one or more violations of the Zoning Regulations; and

- Summary revocation of permits and/or Certificates in accordance with items 1, 2 and 3 of Sections 111.1.1 and 111.2.1.

112.7 Limited Right of Reconsideration of Code Official Action by Owner of Adjoining Premises. Where notification of the owner of adjoining premises is required by Section 106.2.18.3, the owner entitled to such notification by a permit applicant shall have ten business days 30 days from the date that the permit is issued to seek reconsideration by the code official, based solely on the grounds that: (1) the permit authorizes one or more construction activities identified in Section 106.2.18.3; and (2) the work authorized by the permit will not protect the adjoining premises of the objecting owner from structural damage. The objection shall include (1) technical support for the objecting owner’s conclusions that the work authorized by the permit will not protect the adjoining premises of the objecting owner from structural damage; and (2) any proposed changes to the work plan that the claimant asserts are necessary to protect the claimant’s premises from structural damage.  A copy of the request for reconsideration shall be served on the permit holder in accordance with any of the methods specified in Section 113.5.5. The sufficiency of notification under Section 106.2.18.3.1, or the code official’s determination of substantial compliance pursuant to Section 106.2.18.3.1.4, shall not be subject to challenge upon reconsideration.

112.7.1 Review by the Code Official. Within 15 business days 30 days of receipt of a written reconsideration request that complies with Section 112.7, the code official shall determine whether the specific measures requested by the owner of the adjoining premises are supported by technical documentation. If the code official denies reconsideration, or does not act upon the reconsideration within the 15 business day period, the permit issuance shall be deemed affirmed and the claimant is authorized to appeal the matter directly to OAH in accordance with Sections 112.2 and 112.3.  If the code official finds the technical documentation submitted by the claimant to be persuasive, the code official is authorized to require the permit holder to revise the proposed work plan, to amend the permit, to revoke the permit, or to take such other actions as the code official deems necessary to protect the adjoining premises.

Strike Section 114 of the International Building Code in its entirety and insert a new Section 113 into the Building Code in its place to read as follows:

113 	VIOLATIONS, REMEDIES, PENALTIES AND OTHER ENFORCEMENT ACTIONS

113.1 Unlawful Acts.  It shall be unlawful for any person to erect, construct, alter, extend, repair, raze, demolish, use, or occupy any premises, or portion thereof, including any equipment thereon, regulated by the Construction Codes or Zoning Regulations, or cause same to be done, in conflict with or in violation of:

- Any of the provisions of the Construction Codes or Zoning Regulation;

- A notice or order of the code official issued under the authority of the Construction Codes or the Zoning Regulations; or

- A permit or certificate, including the approved construction documents and approved amendments thereto, issued under the provisions of the Construction Codes or the Zoning Regulations.

Any person engaging in or causing unlawful acts as defined in Sections 113.1 and 113.1.1 shall be subject to penalties as prescribed by law, including but not limited to those set forth in Section 113.2.

113.1.1 	Work Without a Permit. Work started or occurring without a permit where a permit is determined to be required under Section 105 shall be a violation of the Construction Codes.

113.1.2 	Continuation of Unlawful Use.  The continuation of occupancy or use of a premises, or portion thereof, contrary to the provisions of the Construction Codes or to the provisions of the Zoning Regulations, shall be a violation or infraction under the Construction Codes. The code official, as defined in Section 103.1, is authorized to issue a notice of violation and order requiring discontinuance of the use or occupancy, and the owner or other violator shall be subject to the penalties or fines prescribed in Section 113.

113.2 Enforcement Methods. The code official is authorized to use any of the methods set forth in the Construction Codes or in other District of Columbia laws and regulations, singly or in combination, to enforce compliance with the Construction Codes, the Zoning Regulations, other laws or regulations enforced by the Department, and notices or orders of the code official issued pursuant thereto, including, but not limited to, the following:

1.  Stop Work Orders (Section 114);

2.  Revocations of Permits and Certificates of Occupancy (Section 111);

3.  Notices of Unsafe or Emergency Conditions and Building Closure Orders (Sections 115 and 116);

4. Notices of Violations or Orders directing the discontinuance of an unlawful action or condition and/or the abatement of the violation;

5.  Penalties as set forth in D.C. Official Code § 6-1406 (2018 Repl.);

6.  Injunctive relief as set forth in D.C. Official Code § 6-1407 (2018 Repl.);

7.  Criminal prosecution pursuant to D.C. Official Code § 6-1406 (2018 Repl.);

8.  Civil fines, penalties, and fees in addition to any other available remedies, for any infraction of the provisions of the Construction Codes or Zoning Regulations, or any orders, rules, or regulations issued under the authority of the Construction Codes, pursuant to the Civil Infractions Act, (D.C. Official Code §§ 2-1801.01 et seq. (2016 Repl. & 2019 Supp.) as amended; D.C. Official Code § 6-1406 (2018 Repl.) as amended; and Title 16 DCMR, Chapters 31-34;

9.  Actions pursuant to An Act To provide for the abatement of nuisances in the District of Columbia by the Commissioners of said District, and for other purposes, approved April 14, 1906 (34 Stat. 114; D.C. Official Code §§ 42-3131.01 et seq. (2012 Repl. & 2019 Supp.)), and the Due Process Demolition Act of 2002, effective April 19, 2002 (D.C. Law 14-114; D.C. Official Code §§ 42-3171.01 et seq. (2012 Repl. & 2019 Supp.));

10. Suspension, restriction or revocation of licenses issued by the Department to the general contractor, contractor, construction manager, or referral to the Board having jurisdiction over a tradesperson, architect or engineer for suspension, restriction or revocation of a license or other appropriate disciplinary action; and

11.  Disconnection of service utilities (Section 119.3).

113.3 Code Official Authority.  The code official is authorized to issue all necessary notices or orders to ensure compliance with: (1) the Construction Codes, the Zoning Regulations, and other laws or rules enforced by the Department; (2) notices or orders of the code official issued pursuant to the Construction Codes, the Zoning Regulations, and other laws or rules enforced by the Department; and (3) permits or certificates issued under the provisions of the Construction Codes or Zoning Regulations, including the approved construction  documents and any approved amendments thereto.

113.3.1 Prosecution or Adjudication of Violation.  The code official is authorized to institute, or to  request  the Office of the Attorney General for the District of Columbia to institute, as the case may be, the appropriate proceedings at law or in equity to prosecute, restrain, correct, or abate a violation, or to require the removal of a building or other structure, or the termination of the unlawful use or occupancy of a premises in violation of the provisions of the Construction Codes or the Zoning Regulations or of an order or direction made under the Construction Codes or the Zoning Regulations. The imposition of any remedies, penalties or enforcement actions authorized in the Construction Codes shall not preclude the Office of the Attorney General for the District of Columbia from instituting appropriate action to prevent unlawful construction or to restrain, correct, or abate a violation, or to prevent illegal occupancy of a premises, or to stop an illegal act, conduct, business, or use of a premises.

113.3.2 Continuing Violations.  Each day a violation continues shall, for purposes of criminal prosecutions (Section 113.2(7)) and civil fines (Section 113.2(8)), be considered a separate offense.

113.3.3 Abatement of Violation by Department.  The imposition of any remedies, penalties or enforcement actions authorized by Section 113, other provisions of the Construction Code, or other laws and regulations of the District of Columbia, shall not preclude or prevent the Department from undertaking abatement or corrective actions as authorized by the Construction Codes or by other statutes and regulations, including, but not limited to, the Nuisance Abatement Act, D.C. Official Code §§ 42-3131.01 et seq. (2012 Repl. & 2019 Supp.). The code official is authorized to assess the costs of any abatement or corrective actions undertaken by the Department, and all expenses thereto as a tax against the property on which the violating condition existed, or from which such condition arose as the case may be, and such tax shall be carried on the regular tax rolls of the District, and collected in the same manner as general taxes in the District are collected

113.3.4 Collection of Unpaid Civil Fines. See D.C. Official Code § 2-1802.03.

113.3.5 Notice of Violation Not a Prerequisite. Issuance of a notice of violation or order directing the discontinuance of an unlawful action or condition and/or the abatement or correction of a violation, prior to taking other enforcement action, is at the discretion of the code official.  Failure to issue such notice of violation or order shall not be a bar or a prerequisite to any criminal prosecution, administrative proceeding, civil action, corrective action or civil infraction proceeding based upon a violation of the Construction Codes or the Zoning Regulations.

113.4 Requirements for Form and Content of Notices or Orders.

113.4.1 Stop Work Orders. See Section 114.2.

113.4.2 Revocations of Permits and Certificates. See Section 111.3.

113.4.3 Notice of Unsafe Condition.  See Section 115.3 with the exception of remedial orders pursuant to Section 115.4.

113.4.4 Notice of Emergency Condition; Order to Vacate Premises. See Section 116.1.1 and 116.1.2

113.4.5 Notices of Infraction. See D.C. Official Code § 2-1802.01(b).

113.4.6 Other Notices and Orders. Notices or orders issued by the code official, except for those covered by 113.4.1 through 113.4.5, shall be in accordance with all of the following:

- Be in writing.

- Include a description of the premises subject to the notice or order sufficient for identification.

- State the reason for the notice or order.

- Identify the code section(s) violated, and why the notice or order is being issued.

- Include, if the notice or order affords an opportunity to abate a violation, a reasonable period of time to make the repairs and improvements required to bring the premises or equipment thereon into compliance with the provisions of the Construction Codes.

- Include, if applicable, a specific time by which premises shall be closed, barricaded and/or vacated, or equipment placed out of service.

- Inform the owner of the right to appeal to OAH or BZA, as applicable, pursuant to Section 112.

- Include a statement of the District of Columbia’s right: to abate a specified violation without the owner’s consent if the owner fails to comply with a notice or order directing the abatement of the violation or to file a timely appeal; to assess the costs of such abatement against the owner; and to place a tax lien on the property in accordance with Section 113.3.4 for the costs of such abatement.

113.5 Service of Notices and Orders.

113.5.1 Stop Work Orders. See Sections 114.3 and 114.4.

113.5.2 Notice of Unsafe Condition.  See Section 115.3 with the exception of remedial orders pursuant to Section 115.4.

113.5.3 Notice of Emergency Condition; Order to Vacate Premises. See Sections 116.1.1 and 116.1.2

113.5.4 Notices of Infraction.  See D.C. Official Code § 2-1802.05.

113.5.5 Other Notices and Orders. A notice of violation or any other authorized notice or order not covered by Sections 113.5.1 through 113.5.4, shall be served on the owner, operator, occupant, permit or certificate holder, or other person responsible for the unlawful act or condition (the “respondent”) by any one of the following methods:

- Personal service on the respondent or respondent’s agent;

- Delivery of the notice or order by electronic mail, with confirmation of delivery, to the electronic mail address provided to the Department by the respondent or respondent’s agent, as required by Section 105.3.2, items (8) and (9). If the respondent has failed to comply with Section 105.3.4, service is deemed effective if made to the last known electronic mail address filed by the respondent or respondent’s agent with the Department;

- Delivery of the notice or order by hand to the last known home or business address of the respondent or respondent’s agent as identified by the permit or certificate application,  tax records, corporate registration records, or business license records, and leaving it with a person over the age of 16 years old present at the time at the home or business address;

- Mailing the notice or order, via USPS first class mail postage prepaid or express mail, or by private delivery services (i.e., DHL Express, FedEx, UPS), at least five days prior to the date of the proposed action, to the last known home or business address of the respondent or respondent’s agent as identified by the permit or certificate application, tax records, corporate registration records, or business license records; or

- If the notice or order is returned as undeliverable by the Post Office authorities, or if no address is known or can be ascertained by reasonable diligence, by posting a copy of the notice or order in a conspicuous place in or about the premises affected by such notice or order.

- Posting of a notice on property or on a building or portion of a building at, near or adjacent to the area identified as the subject of the violation. Pictures of the posting shall be maintained by the department and associated with the Notice of Violation.

113.5.5.1 Respondent’s Agent.  For the purposes of this section, respondent’s agent shall include a general agent, employee, registered agent, or attorney of the respondent.

113.6 Additional Procedural Requirements Applicable to Premises With Rental Units.  Where a notice or order is issued to the owner of premises with respect to a rental unit occupied by a tenant, the code official shall provide such tenant with a copy of the notice or order.  This requirement will be satisfied by mailing a copy to the tenant by first-class mail, leaving a copy at the tenant’s residence with a responsible individual at least 16 years of age present there, or any other reasonable method in the code official’s discretion.

113.6.1 Premises With Multiple Rental Units.  In premises with more than one rental unit, any instance where a notice or order affects the rental unit and/or common space of more than one tenant, the code official shall post a copy of any notice or order issued to the owner pursuant to Section 113 for a reasonable time in one or more locations on the premises where the violation exists. The locations for posting the notification shall be reasonably selected to give notice to all tenants affected. Any tenant directly affected by the violation(s) shall, upon request to the code official, be sent a copy of the posted notification.

113.6.2 Exclusivity of Tenant Notice provisions.  The code official shall not be subject to any other tenant notification provisions, except as expressly set forth in Section 113.6.

113.6.3 Notices or Orders Requiring Closure of Premises With Rental Units.  Where the code official (a) posts a notice of unsafe condition on a building with rental units that prohibits access to or occupancy of the premises or issues an order to close and barricade a building with rental units pursuant to Section 115, or (b) posts a notice of emergency condition pursuant to Section 116 on a building with rental units requiring tenants and occupants to vacate the premises, the following additional requirements shall apply:

- The notice or order shall specify a date and time by which tenants or occupants of the rental units are required to vacate the premises.

- The notice or order shall include a statement informing tenants or occupants of the rental units of the right to appeal pursuant to Section 112.2, including, where applicable, the right to an expedited hearing pursuant to Section 112.2.3.

- The code official shall provide a copy of the notice or order to each tenant of the rental units affected by the notice or order by leaving a copy at each dwelling unit or any other reasonable method in the code official’s discretion.

- The notice or order shall provide contact information for the Office of the Tenant Advocate.

113.7 Transfer of Ownership.  It shall be unlawful for the owner of any premises or portion thereof, upon whom a notice of violation or order directing the discontinuance of an unlawful act or condition and/or the abatement or correction of a violation has been served, to sell, transfer, or otherwise dispose of such premises, or of a controlling interest in the owner,  to another person until (1) the conditions of the notice or order have been abated, or (2) such owner furnishes the buyer or transferee with a true copy of any notice or order issued by the code official and furnishes  the code official with a signed and notarized statement from the buyer or transferee, acknowledging the receipt of such notice or order and fully accepting responsibility, without condition, for making the corrections or repairs required by such notice or order. Notwithstanding the foregoing, a sale, transfer or other disposition shall not relieve the owner upon whom the notice or order is served from liability for the unlawful act.

Strike Section 115 of the International Building Code and insert a new Section 114 in the Building Code in its place to read as follows:

114	STOP WORK ORDERS

114.1 Authority.  Whenever the code official finds that any work on any premises is being performed in violation of the provisions of the Construction Codes or the Zoning Regulations, or in an unsafe or dangerous manner, the code official is authorized to issue a Stop Work Order.

114.1.1 Partial Stop Work Order.  The code official is authorized to issue a partial Stop Work Order prohibiting certain types of work on the premises or all work in a particular area of the premises.  A partial Stop Work Order shall specify in writing what activities and areas are within the scope of the partial Stop Work Order. If the code official provides a separate written authorization modifying the scope of work allowed under a partial Stop Work Order, the owner, owner’s agent or person doing work on the premises posted with the partial Stop Work Order shall retain a copy of the written authorization.  Unless otherwise expressly stated, the term “Stop Work Order” shall, for purposes of the Construction Codes, include a partial Stop Work Order.

114.2 Form and Content of Stop Work Order.  The Stop Work Order shall be in writing, in a form prescribed by the code official.  The Stop Work Order shall contain the following information:

- The reason for the order, and the conditions under which the cited work will be permitted to resume.

- The address of the premises.

- The specific activities and areas of the premises covered by the order if a partial Stop Work Order is issued pursuant to Section 114.1.1.

- The specific section or sections of the Construction Codes and/or the Zoning Regulations violated.

- Whether access to the premises or a portion thereof is prohibited during the pendency of the Stop Work Order.

- A description of the right to appeal the Stop Work Order, and information on how and where to file an appeal, and the deadline to file such appeal.

No Stop Work Order shall be issued nor considered valid unless it contains all of the information specified in this section, and the signature of the issuing official.

114.3 Service of a Stop Work Order.  The code official shall effect service of a Stop Work Order by one of the following methods:

- Personal service on the owner of the premises involved or on the owner’s agent, or to the person doing the work at the premises; or

- Posting the Stop Work Order on the premises in accordance with Section 114.4.

114.4 Posting of Stop Work Order.  Regardless of the manner of service of the Stop Work Order, the code official shall post the Stop Work Order in a conspicuous location, in or about the premises subject to the Stop Work Order.

114.5 Effect of Stop Work Order. Upon service of a Stop Work Order pursuant to Section 114.3, all construction activity on the premises, or the work specified in a partial Stop Work Order issued pursuant to Section 114.1.1, shall immediately cease until the Department issues an official written authorization lifting the Stop Work Order, or as otherwise provided for by the code official.

114.5.1 Access to Premises Covered by a Stop Work Order. Access to premises or portion thereof covered by a Stop Work Order shall be at the discretion of the code official.

114.6 	Removal or Obstruction of a Posted Stop Work Order.  Unauthorized removal or obstruction of a posted Stop Work Order is a violation of the Construction Codes, and is subject to the penalties provided in Section 113 and D.C. Official Code § 6-1406 (2018 Repl.), and the injunctive relief set out in D.C. Official Code § 6-1407 (2018 Repl.). The owner of the premises posted with a Stop Work Order, or the owner’s agent, shall promptly notify the Department if the posted Stop Work Order has been removed, damaged or obstructed so that the Stop Work Order can be reposted.

114.6.1 Prior Written Authorization Required to Remove a Posted Stop Work Order. A posted Stop Work Order shall only be removed pursuant 	to an official written authorization from the Department. If a posted Stop Work Order is removed without the Department’s official written authorization, the owner or the owner’s agent shall notify the Department in accordance with Section 114.6, and no work shall be resumed until the Department reposts the Stop Work Order at the premises or issues an official written authorization lifting the Stop Work Order, or as otherwise provided by the code official.

114.7 Public Notice of Stop Work Order.  The code official is authorized to make public, by publishing in a newspaper of general distribution, in the District of Columbia Register, or at the DOB website, a list of the addresses where Stop Work Orders have been posted.

114.8 	Failure to Comply with Stop Work Order.  Any person who fails to comply with the terms and conditions of a Stop Work Order, or with the applicable requirements of Section 114, including, but not limited to, the unauthorized removal of a Stop Work Order, shall be in violation of the provisions of the Construction Codes, and shall be subject to civil and criminal penalties as set forth in Section 113.

114.8.1 Additional Sanctions Affecting Licensees.  Failure to comply with a Stop Work Order shall constitute grounds for suspension, restriction or revocation of any license issued by the Department to the non-compliant Registered Design Professional in Responsible Charge, Special Inspector, general contractor, construction manager, or home improvement contractor.  Failure to comply with a Stop Work Order by a D.C.-licensed tradesperson, including but not limited to the following, shall be grounds for referral of the licensee to the Board of Industrial Trades for disciplinary action, including license suspension or revocation:

- A licensed master electrician;

- A licensed master electrician limited (low voltage);

- A licensed journeyman electrician;

- A registered apprentice electrician;

- A licensed master mechanic;

- A licensed master mechanic limited;

- A licensed journeyman refrigeration and air-conditioning mechanic;

- A registered apprentice refrigeration and air-conditioning mechanic;

- A licensed master plumber/gasfitter;

- A licensed master gasfitter;

- A licensed journeyman plumber;

- A licensed journeyman gasfitter;

- A registered apprentice plumber;

- A registered apprentice gasfitter;

- A licensed elevator contractor, or an employee of a licensed elevator contractor;

- A licensed elevator mechanic;

- A registered apprentice elevator mechanic;

- A licensed steam engineer, or another licensed operating engineer; or

- Any registered design professional in responsible charge for any portion of the construction work being performed.

114.9 Appeal of Stop Work Order. Appeals of Stop Work Orders shall be in accordance with Section 112.

114.10 Lifting of Stop Work Orders. The code official shall lift the Stop Work Order when he or she deems that the violations leading to imposition of the Stop Work Order have been corrected or abated to the satisfaction of the code official.

Strike Section 116 of the International Building Code in its entirety and insert new Section 115 in the Building Code in its place to read as follows:

115	UNSAFE CONDITIONS

115.1 Unsafe Conditions.  All premises or equipment thereon that are or hereafter become abandoned, deteriorated, unsafe, unsanitary, or deficient because of inadequate means of egress facilities, inadequate light and ventilation, or which constitute a fire hazard, or are otherwise dangerous to human life or the public welfare, or that involve illegal or improper use or occupancy or inadequate maintenance, shall be deemed an unsafe condition.  Unsafe conditions shall be removed or made safe and secure, as the code official deems necessary pursuant to this section or pursuant to other laws, including, but not limited to, D.C. Official Code §§ 42-3131.01 et seq. (2012 Repl. & 2019 Supp.), D.C. Official Code §§ 42-3171.01 et seq. (2012 Repl. & 2019 Supp.), or D.C. Official Code §§ 6-801 et seq. (2018 Repl.). In addition, unsafe conditions shall include those referenced in Section 108 of the Property Maintenance Code. A vacant premises, unguarded or open at door or window, shall be deemed a fire hazard and unsafe within the meaning of the Construction Codes.

115.2 Examination and Record of Unsafe Premises.  The code official shall examine every premises reported as dangerous, unsafe structurally, or constituting a fire hazard, and shall maintain a record of those premises where the code official finds an unsafe condition.

115.3	Posting of Notice of Unsafe Condition. Where the code official finds an unsafe condition, as defined in Section 115.1, the code official shall post a notice of unsafe condition on the premises where the unsafe condition exists. The code official shall have discretion to post the notice of unsafe condition in the location or locations that the code official deems necessary to warn persons that access to, or use or occupancy of, the premises is restricted.

115.3.1 Access to Posted Premises. The notice of unsafe condition posted in accordance with Section 115.3 shall specify whether entry, use and/or occupancy of the posted premises, or a portion thereof, is prohibited by the code official. Entry, use and/or occupancy of the posted premises shall be at the discretion of the code official, subject as applicable to the requirements for closure of buildings with rental units set forth in Sections 113.2.5 and 115.8.

115.3.2 Compliance with Posted Notice.  Entry, use and/or occupancy of a premises or portion thereof in violation of the terms of a posted notice of unsafe condition shall be unlawful.

115.3.3 Unauthorized Removal or Obstruction of Posted Notice. Unauthorized removal or obstruction of a posted notice of unsafe condition is a violation of the Construction Codes, and is subject to the penalties provided in Section 113 and D.C. Official Code § 6-1406 (2018 Repl.) and the injunctive relief set out in D.C. Official Code § 6-1407 (2018 Repl.). The owner of the premises posted with a notice of unsafe condition, or the owner’s agent, shall promptly notify the Department if the posted notice has been removed, damaged or obstructed so the notice can be reposted.

115.4 Remedial Notices or Orders Relating to Unsafe Condition.  In addition to posting of a notice in accordance with Section 115.3, where the code official finds an unsafe condition, the code official is authorized to issue a notice or order to require the owner of the premises to make the premises safe and secure or to remove the unsafe condition as the code official deems necessary. The notified person shall employ sufficient means to comply with the notice as expeditiously as can be done.

- 115.4.1 Content and Service of Remedial Notices or Orders. The remedial notices or orders specified in Section 115.4 shall comply with the procedures set forth in Sections 113.4.6, 113.5.5 and 113.6.

115.5 Disregard of Remedial Notice or Order  Upon the refusal or neglect of the person served with a remedial notice or order  pursuant to Section 115.4 to comply with the requirements of the notice or order to abate or remove the unsafe condition, the code official is authorized to pursue any penalties or remedies authorized by law or regulation, including, but not limited to, abatement of the unsafe condition by the code official or referral to the Office of the Attorney General for appropriate legal action to compel compliance.

115.5.1 Abatement by Code Official.  Where the person notified of an unsafe condition pursuant to Section 115.4 fails to abate or remove such unsafe condition, the code official is authorized to cause such condition to be corrected and assess the costs of any corrective action, and all expenses incident thereto, as a tax against the property on which the violating condition existed, and such tax shall be carried on the regular tax rolls of the District, and collected in the same manner as general taxes in the District are collected. Costs shall include, but not be limited to, all expenses incurred for or necessitated by any corrective action; costs of inspectors, testing agencies or experts retained; costs of testing or surveying; costs of mailings, postings and recordings; and costs of attorney’s fees expended for recovering the costs of the corrective action or to obtain or enforce a related order.

115.6 Remedies Not Exclusive. Nothing herein shall be deemed to preclude or negate any other penalties or remedies set forth in Section 113, or to preclude conversion of a special assessment lien to an administrative judgment, enforceable in the same manner as any other civil judgment under District of Columbia law, as authorized by D.C. Official Code § 42-3131.01.

115.7 Other Laws.  The provisions of this Section 115 shall not be deemed to nullify any other provisions of local law governing razing, demolition or repair of unsafe structures, including, but not limited to, the provisions of D.C. Official Code §§ 6-801 et seq. (2018 Repl.) as amended, D.C. Official Code §§ 42-3131.01 et seq. (2012 Repl. & 2019 Supp.) as amended, or D.C. Official Code §§ 42-3171.01 et seq. (2012 Repl. & 2019 Supp.) as amended.

115.8 Special Provisions Applicable to Rental Units.

115.8.1 Copies of Notices and Orders.  The code official shall provide tenants of rental units with copies of remedial notices and orders issued to the owner of the rental unit pursuant to Section 115.4 in accordance with Section 113.2.1.3.  The code official shall not be required to provide tenants of rental units with copies of any other notices, orders or communications except as expressly required by set forth in Section 113.2.1.3.

115.8.2 Closures of Buildings with Rental Units.  The code official is authorized to order tenants or occupants of rental units to vacate the premises within a time sufficient to allow the owner to comply with an order to close and barricade the premises. The notice or order shall include the time by which the premises must be vacated, provided that tenants and occupants shall be given at least five calendar days to vacate, unless the code official determines that the tenants and occupants must leave the premises immediately for their personal safety.

If any tenant or occupant fails to vacate the premises within the time period set forth in the notice or order, subject to the appeal provisions of Section 112.2.3, the code official is authorized to order the removal of the tenants or occupants.

115.8.3 Other Rental Housing Provisions.  The removal of tenants from rental units, or the service of an order to vacate pursuant to this Section 115, shall not be considered an eviction or notice to vacate under D.C. Official Code § 42-3505.01 (2012 Repl. & 2019 Supp.).  Notwithstanding the foregoing, nothing herein shall be construed to nullify or abrogate any other rights to which a tenant is entitled under District laws or regulations, including relocation assistance, the right to reoccupy the rental unit following rehabilitation, or the right to pursue rights and remedies under D.C. Official Code, Title 42, Chapter 34.

Insert new Section 116 in the Building Code to read as follows:

116	EMERGENCY CONDITIONS

116.1 Emergency Condition. When an emergency condition exists, the code official is hereby authorized to take such actions as the code official deems necessary to meet such emergency in accordance with this Section 116. An emergency condition shall exist when, in the opinion of the code official, there is imminent danger, including, but not limited to:

- An unsafe condition, including, but not limited to collapse or potential imminent collapse of a building, other structure, site, or street; or

- An unsanitary condition or the operation of defective or dangerous equipment which immediately endangers the health or safety of occupants of a premises or those in the proximity of a premises; or

- The presence of flammable materials or explosives, flammable fumes or vapors, toxic fumes, gases, or substances or other hazardous or toxic conditions.

116.1.1 Order to Vacate Premises. When in the opinion of the code official an emergency condition as defined in Section 116.1 exists, the code official is authorized to require occupants of any premises that the code official identifies as potentially affected by the emergency condition, to vacate the premises forthwith or within a time period specified by the code official. This order can be communicated verbally, provided that a notice of emergency condition pursuant to Section 116.1.2 is posted as expeditiously as possible.

116.1.2 Posting of Notice of Emergency Condition. Where the code official deems an emergency condition to exist, the code official shall cause to be posted on all premises where such emergency condition exists, a notice that states: (1) an emergency condition exists at or near the posted premises; and (2) access, use and/or occupancy of the posted premises or a portion thereof is prohibited by the code official.  The notice shall be posted in the location or locations that the code official deems necessary, in the code official’s sole discretion. Access to the posted premises shall be at the discretion of the code official, subject as applicable to the requirements for closure of buildings with rental units as set forth in Section 116.7.  Failure to comply with the terms of a posted notice of emergency condition shall be unlawful.

116.1.3 Unauthorized Removal or Obstruction of Posted Notice. Unauthorized removal or obstruction of a posted notice of emergency condition is a violation of the Construction Codes, and is subject to the penalties provided in Section 113 and D.C. Official Code § 6-1406 (2018 Repl.) and the injunctive relief set out in D.C. Official Code § 6-1407 (2018 Repl.). The owner of the premises posted with a notice of emergency condition, or the owner’s agent, shall promptly notify the Department if the posted notice has been removed, damaged or obstructed so the notice can be reposted.

116.2 Emergency Work.  Whenever, in the opinion of the code official, an emergency condition exists, the code official is authorized to require  or to undertake the necessary work to be done at the premises where the emergency condition exists to render such premises safe in light of the existing emergency condition, including, but not limited to requiring implementation of temporary safeguards, repairs, demolition, or razing (any of such work at a premises required  or undertaken by the code official to address an emergency condition being referred to as “emergency work”). The code official also is authorized to take such other action(s) as the code official deems necessary to address such emergency condition, including, but not limited to employing the necessary labor and materials to perform the necessary emergency work at a premises as expeditiously as possible.

116.2.1 Compliance With Order. Any person ordered by the code official to undertake emergency work at a premises pursuant to Section 116.2 shall comply with such order forthwith and complete the emergency work within the time period specified by the code official. The code official is not required to provide the owner of the premises where an emergency condition is deemed to exist with an opportunity to correct the emergency condition before the code official undertakes emergency work, or to await the expiration of a time period specified in an order under this Section 116.2.1.

116.2.2 Historic Buildings. Prior to requiring or undertaking emergency work to be undertaken at a premises that is a building or other structure that is listed in the D.C. or National Register of Historic Places, or a portion thereof, either as an individual listing or as a contributing resource to a listed historic district, the code official shall consult with the State Historic Preservation Officer as required by D.C. Official Code § 6-801 (2018 Repl.).

116.3 Safety Perimeter.  When necessary for public safety, the code official is authorized to temporarily close sidewalks, streets, alleys, premises and areas adjacent to a premises on which the emergency condition exists, and to temporarily prohibit access thereto.

116.4 	Costs of Emergency Work.  Where the code official causes emergency work to be done at a premises pursuant to Section 116.2, any costs incurred by the District of Columbia  in the performance of such emergency work, and expenses incident thereto, shall be paid from appropriations of the District of Columbia, on certification of the code official, and shall be assessed as a tax against the lot on which the emergency condition existed or from which such condition arose as the case may be, carried as a tax on the regular tax rolls, and collected in the same manner as real estate taxes are collected.

116.4.1 Additional Costs of Emergency Work. Costs of emergency work shall also be deemed to include, but are not limited to, all expenses incurred for or necessitated by any emergency work; costs associated with cleaning the premises to comply with the Construction Codes, utility removal or disconnection costs; court costs, fines, and penalties; costs of inspectors, testing agencies or experts retained; costs of testing or surveying; costs of mailings, postings and recordings; and costs of attorney’s fees expended for recovering the costs of the corrective action or to obtain or enforce a related order.  If the code official determines that no other shelter is available to tenants or occupants required to vacate rental units as a result of a building closure pursuant to this Section 116, the code official has discretion to assess all expenses incident to tenant or occupant relocation as a cost of emergency repairs, including, but not limited to, temporary housing, security deposits and the first month’s rent if required.

116.5 Remedies Not Exclusive. Nothing herein shall be deemed to preclude or negate any other penalties or remedies set forth in Section 113, or to preclude conversion of a special assessment lien to an administrative judgment, enforceable in the same manner as any other civil judgment under District of Columbia law, as authorized by D.C. Official Code § 42-3131.01 (2012 Repl. & 2019 Supp.).

116.6 Other Laws.  The provisions of this Section 116 shall not be deemed to nullify any other provisions of local law governing razing, demolition or repair of unsafe structures, including, but not limited to, the provisions of D.C. Official Code §§ 6-801 et seq. (2018 Repl. Supp.) as amended, D.C. Official Code §§ 42-3131.01 et seq. (2012 Repl. & 2019 Supp.) as amended, or D.C. Official Code §§ 42-3171.01 et seq. (2012 Repl. & 2019 Supp.) as amended.

116.7 	Buildings with Rental Units.  Where the code official posts a notice of emergency condition pursuant to this Section 116 at a building with rental units, the code official is authorized to order all tenants or occupants to vacate the premises where an emergency condition exists. The posted notice shall comply with the requirements of Section 113.5 and 113.6.  If any tenant or occupant fails to vacate the premises within the time specified in the notice, the code official is authorized to order removal of the tenant or occupant from the premises.

116.7.1 Other Rental Housing Provisions. Where an emergency condition exists, the removal of tenants or occupants from the premises, or the service of an order to vacate, pursuant to this Section 116 shall not be considered an eviction or notice to vacate under D.C. Official Code § 42-3505.01 (2012 Repl. & 2019 Supp.).  Notwithstanding the foregoing, nothing herein shall be construed to nullify or abrogate any other rights to which a tenant is entitled under District laws or regulations, including relocation assistance, the right to reoccupy the rental unit following rehabilitation, or the right to pursue rights and remedies under D.C. Official Code, Title 42, Chapter 34 (2012 Repl. & 2019 Supp.).

116.8 Removal of Notice of Emergency Condition.  A notice of emergency condition posted pursuant to Section 116.1.2 shall be removed only by the code official. The code official shall remove the posted notice when, in the code official’s opinion, the emergency condition no longer exists. Any remaining unsafe conditions that do not constitute an emergency condition (as defined in 116.1) shall be governed by the provisions of Section 115.

116.9 Appeals.  Appeals of code official actions pursuant to this Section 116 are governed by Section 112.2.1. As provided in Section 112, any such appeal shall not have the effect of staying any notice or order issued pursuant to this Section 116.

Insert new Section 117 in the Building Code to read as follows:

117 	POSTING OF OCCUPANT LOAD AND LIVE LOAD SIGNS

117.1 Occupant Load.  Occupant load signs shall be posted in accordance with Section 1004.3.  Rooms or spaces which have multiple use capability shall be posted for the occupant loads of all such uses.

117.1.1 Occupant Load Calculations. The occupant load calculations shall be determined in accordance with Section 1004.

117.2 Installation of Live Load Signs.  Where reduced live loads are applied in accordance with the exception to Section 1607.3 in buildings erected before July 1, 1925, all such design live loads shall be conspicuously posted by the owner in that part of each story in which they apply, using durable signs of an approved, legible, permanent design, before issuance of a certificate of occupancy or before approval of a final inspection pursuant to Section 109.3.14.  It shall be unlawful to remove or deface such notices.

117.3 Restrictions on Loading.  It shall be unlawful to place, or cause or permit to be placed, on any floor or roof of a building, structure or portion thereof, loads greater than permitted by the Construction Codes.

Insert new Section 118 in the Building Code to read as follows:

118 	ADDRESSES OF PREMISES

118.1 Purpose. The purpose of the provisions of this Section 118 shall be: (a) to establish a formal, legally-based District of Columbia-wide system of assigning addresses to premises in order to facilitate their identification; (b) to facilitate protection of the public health and safety by enabling a quicker response time by police, fire, ambulance, and other emergency services; (c) to provide for the efficient delivery of public services, including building inspections, health inspections, property mapping, and property tax administration; and (d) to establish the minimum requirements for providing address numbers on lot.

118.2 Administration.  The code official is authorized to and shall administer the provisions of this Section 118, including, but not limited to: (a) assigning addresses to all lots, new and existing; and (b) administering the naming of new private thoroughfares within the District of Columbia.  Address numbers are required on all lots, new and existing, and the code official shall have authority to approve all address number assignments on any lot.  The code official is also authorized to order changes in the numbering of any lot previously numbered if it is determined that the address number being used may endanger the public health and safety.

118.3 Responsibility.  When an address number is assigned to a lot, the owner of a lot shall provide and maintain the address number in compliance with these requirements.  A lot, which is required to have an address number pursuant to the provisions of this Section 118, but for which no number has been applied for or issued, or where issued the use or posting thereof does not comply  with the requirements of this section, shall not be occupied.

118.4 Definitions.  The following words and terms are defined in Chapter 2.

ADDRESS NUMBER (for Section 118)

ADDRESS NUMBER RANGE (for Section 118)

ADDRESS NUMBER SUFFIX (for Section 118)

CONDOMINIUM LOT (for Section 118)

BLOCK FACE (for Section 118)

LOT (for Section 118)

MAIN ENTRANCE (for Section 118)

PRIMARY ADDRESS (for Section 118)

PRIVATE THOROUGHFARE (for Section 118)

PUBLIC THOROUGHFARE (for Section 118)

RECORD LOT (for Section 118)

SECONDARY ADDRESS (for Section 118)

THOROUGHFARE QUADRANT (for Section 118)

TAX LOT (for Section 118)

THOROUGHFARE (for Section 118)

THOROUGHFARE NAME (for Section 118)

THOROUGHFARE SEGMENT (for Section 118)

THOROUGHFARE TYPE (for Section 118)

118.5 Addressing Rules - General. The following general addressing rules shall apply 
to thoroughfares in the District of Columbia.

  - The District of Columbia has an existing scheme for addressing and naming of thoroughfares that is historic in nature.  To the greatest extent possible, this Section 118 seeks to maintain that scheme while eliminating conditions created over time that are detrimental to the public safety and welfare of the citizens of the District of Columbia.

  - The existing pattern of alphabetically named and numbered thoroughfares found in the District of Columbia shall be maintained.

  - When facing a thoroughfare quadrant dividing line (North Capitol Street, East Capitol Street, South Capitol Street or the Mall), the even number addresses are on the right side of the thoroughfare and the odd numbers are on the left side of the thoroughfare.  Diagonal thoroughfares have even and odd sides that match the parity of the grid direction they most closely resemble; those at 30° angles are generally numbered as east-west thoroughfares, those at 60° angles to the Mall are numbered as north-south thoroughfares. The 45° angle thoroughfares are variable, and should be maintained in their current form.

  - Address number ranges are determined based on a numeric progression from the point of origin, which is the United States Capitol, and the four thoroughfare quadrant dividing lines listed in Section 118.5.3. Each standard block was initially given an address number range of one hundred (100), progressing outward from the Capitol.  Streets that commence away from the street quadrant dividing lines are examined and the address number ranges determined based upon the surrounding thoroughfares.

  - Address number ranges shall not overlap or create any opportunities for the assignment of duplicate addresses on a given thoroughfare within a single thoroughfare quadrant.  There should be no gaps in the address number ranges if the thoroughfare to which the address number ranges are applied is continuous.

  - Breaks in address number ranges may occur where a thoroughfare with a given name is broken into distinct thoroughfare segments by a park, water body, or other physical barrier.  In these cases, the integrity of the address grid shall be maintained, and a gap in the address number range created, to signify the break in the thoroughfare’s continuity.

118.6 Administration of Addresses.

118.6.1 Master Address File. The code official shall maintain a master file of assigned addresses and maintain a master address mapping database, with the assistance of the Office of the Chief Technology Officer.

118.6.2 Code Official Responsibility. The code official shall be responsible for determining whether an address is required for any lot and also the conditions under which an address or addresses are to be assigned to any lot, including how that address is to be posted and displayed.

118.6.3 Assignment of New Addresses. The code official shall be responsible for assigning a new address in the following instances:

1. 	A new record lot is created through the subdivision process of the Subdivision Regulations of the District of Columbia, a new condominium lot is established or a new tax lot is created through the process of the Office of Tax and Revenue and no address number was previously assigned to the prior land parcel or is no longer appropriate for the addressing of the new lot;

2. 	Where a new building or other structure is constructed on a lot, and a new address is requested for the lot to reflect the main entrance of the building or other structure located on the lot;

3. 	The owner of a building or other structure on a lot with multiple entrances to the exterior submits an application that meets the requirements of this Section 118 regarding the assignment of one or more secondary addresses;

4. 	A new building or other structure is constructed on a lot already assigned an address and the lot already that contains one or more buildings or other structures;

5.	An existing building or other structure is renovated to relocate the main entrance to a different thoroughfare frontage of the lot or to a different location on the current thoroughfare frontage of the lot on which that building or other structure has frontage;

6.	A condominium lot where the unit has direct access to a public thoroughfare separate and apart for any main entrance to the building on the lot;

7.	Where there is a separate occupiable space on the ground floor of a building on a lot and that space has direct access to the adjacent public thoroughfare, that space may be assigned an address separate from the address of the lot and displayed on the main entrance of the building within which the space is located; and

8.	Such other instances where it is deemed appropriate by the code official that an address be assigned and then displayed.

118.6.4 Authority to Waive Addressing Provisions. The code official is authorized to grant a waiver of the provisions of Section 118, based upon the evidence presented, if the code official finds that the waiver:

1.  	Benefits the public health, safety and welfare;

2. 	Does not create conflicts or duplicate addresses; and

3. 	Is in the best interest of the District of Columbia.

118.7 Thoroughfare Naming.

118.7.1 General. The following general rules shall apply to naming of thoroughfares in the District of Columbia.

- No thoroughfare shall be given a name that duplicates or nearly duplicates the name of a then-existing or previously existing thoroughfare within the same thoroughfare quadrant of the District of Columbia.

- No thoroughfare shall be given a name that duplicates or nearly duplicates the name of an existing or previously existing thoroughfare within the jurisdiction of the District of Columbia.

- A thoroughfare name may be changed according to the separate procedures for naming public thoroughfares and private thoroughfares. Historical and commonly used names for thoroughfares shall be maintained where possible, and linked to newer names where necessary.

118.7.2 Naming of Public Thoroughfares. The code official shall forward a recommendation on the name of any proposed new public thoroughfare to the Council of the District of Columbia for its action.  A proposed public thoroughfare shall be assigned a name by the Council of the District of Columbia pursuant to Sections 401 through 410 of the Street and Alley Closing and Acquisition Procedures Act of 1982, effective March 10, 1983 (D.C. Law 4-201; D.C. Official Code §§ 9-204.01 et seq. (2013 Repl. & 2019 Supp.)).

118.7.3 Naming of Private Thoroughfares. The following rules shall apply to naming of private thoroughfares.

- A property owner, developer, surveyor, or plat proprietor shall make application to the code official for approval of a proposed thoroughfare name of a new private thoroughfare consistent with the existing historic thoroughfare addressing and thoroughfare naming scheme as required by Section 118.5.

- Upon receipt of the thoroughfare name application for a new private thoroughfare, the code official shall review the proposed name with the District Department of Transportation, the District Office of Planning, and the District E-911 Coordinator to ensure that no duplication occurs and that no private thoroughfares are created with names that sound alike, or could create confusion for the delivery of emergency and non-emergency services.

- The code official is authorized to recommend to the applicant a list of the existing approved thoroughfare names within the District of Columbia for the convenience of the applicant.

- The code official shall approve the naming of newly established private thoroughfares within the District of Columbia, including private thoroughfares in proposed plats of condominium developments.

- The code official shall notify the applicant within 30 days of the acceptance or rejection of the proposed thoroughfare name along with the reasons for the decision, if applicable.

- The decision of the code official regarding the thoroughfare name for each private thoroughfare shall be final.

- An unnamed private thoroughfare shall be named when two or more addresses exist or are established on such private thoroughfare.  If the existing addresses are numbered off of the adjoining public thoroughfare, then the addresses shall be changed to appropriate addresses using the thoroughfare name of the private thoroughfare.

- An owner shall consult with the code official before a name for the private thoroughfare is selected and shall thereafter obtain the code official’s approval before the name is displayed in accordance with Section 118.10, item 10, below.

- The code official shall recommend changes in a thoroughfare name where, in the code official’s opinion, a valid reason exists for the change of thoroughfare name. Such reasons include, but are not limited to:

- Duplicate thoroughfare names;

- Confusion of thoroughfare names that sound alike;

- Thoroughfare names that are extremely difficult to spell or pronounce;

- Thoroughfares that have more than one commonly used name; and

- Thoroughfare names shall not be changed to reflect changes in property ownership or for personal reasons of the adjoining owners.

- When a thoroughfare name change or designation is proposed, the code official shall provide notice to the property owners abutting the thoroughfare segment(s) to be named or changed.  If the change is designed to remedy existing duplicate names or confusing names, the property owners may be consulted on suggested names for the thoroughfare.

- Before changing a thoroughfare name, the code official shall consider the official thoroughfare name as recorded on plats and deeds of adjacent property, and the most accurate historical name of the thoroughfare in question.

- The existing legal documents shall be of primary consideration in determining the single thoroughfare name when two or more names are commonly used.

  - Address Number Assignment. The following rules shall apply to address number assignments.

- Every lot that is legally capable of supporting a building or other structure shall have an address regardless of whether that lot is occupied by a building or other structure or vacant.

- Every condominium lot, building or other structure with an entrance fronting on and directly accessible from a public thoroughfare or a private thoroughfare shall have a thoroughfare address.

- No address shall be assigned to a driveway.  Where a lot is improved by a building or other structure and has a driveway associated with that building or other structure, whether on the same lot or different lot, then the driveway shall have the same  name and the numbering sequence of the thoroughfare assigned to the lot on which the building or other structure is located..

- No address number shall be assigned to a lot, and no building or other structure on that lot shall display an address where the lot has as its only access an unnamed thoroughfare.  If an address is required for a lot that fronts on an unnamed thoroughfare, that thoroughfare shall first be named according to the process described in Sections 118.7.2 or 118.7.3, applicable.

- An address number for a lot, or for premises on a lot where there are multiple premises on lot that could be assigned an address number, shall be determined based upon the address range of the block face, the location of the main entrance of the building or other structure, or, as applicable, the frontage of the lot on a thoroughfare and the existing address numbers that are assigned within that block face of the thoroughfare.

- Address numbers shall be logically and spatially consistent, increasing in numeric order from the low number end of the block face of the thoroughfare to the high number end of that block face.

- Address numbers shall be assigned in accordance with the parity (odd/even) designation for the block face of the thoroughfare.  Even numbers shall not be used on the odd side of a thoroughfare, nor shall odd numbers be used on the even side of a thoroughfare.

- If a thoroughfare segment or an alley segment exists where both odd and even numbers exist on both sides of the segment, or where only one side contains addresses, and both odd and even numbers have been used, the code official shall issue an address number that is logically consistent with the numbers on the adjoining lots.

- No address number shall be assigned that duplicates the number for any existing lot on the same thoroughfare.

- Except as provided for in Section 118.8, item 11, below, an address number may include an address number suffix designated as a letter.  Where a new address number suffix is designated, it shall be a letter; the first letter assigned to an address as an address number suffix shall be the letter “B” to distinguish the address assigned to the principal building or other structure on the lot that has been assigned that address.

- The code official is authorized to maintain an existing address number suffix that is a fraction if there is no available address number in the address sequence for the block in which the address is located. The fraction shall be stored in the address number suffix field.

- The letter designation of a thoroughfare address shall be maintained in the address number suffix field.

- No new address number shall be assigned to the site of a proposed building that is to be situated on multiple lots, although the address number assigned to one of the lots may be used as the address number displayed on the main entrance.  No new address number shall be assigned to the site of a proposed building where there is a pending subdivision of the site pursuant to the Subdivision Regulations of the District of Columbia (10-B DCMR §§ 2700 et seq.), until the plat of subdivision has been accepted into the records of the Office of the Surveyor of the District of Columbia.  No new address number shall be assigned to the site of a proposed building where there is a pending division of lots application being process administered by the Office of Tax and Revenue of the District of Columbia, and an address number may only be assigned in connection with that division of lots process when that Office has issued to the applicant its notice of theoretical creation of one or more tax lots and associated assignment of assessment and taxation lot number(s) to that tax lot or tax lots.

- The code official shall hear and consider requests for changes in address numbers for existing addresses.

- The code official is authorized to change address numbers where there are duplicates, or where the address number is out of sequence, or is on the opposite side of the thoroughfare in terms of parity (odd number found on the even numbered side, or vice-versa).

- The code official is authorized to change address numbers where existing numbers contain an address number suffix, and there is sufficient space in the existing address number range for the block face to support renumbering to remove the address number suffix.

- The code official shall not change an existing address to one that is not consistent with the addressing of lots and buildings, parity, and sequences that already exist on the applicable public thoroughfare.

- Where a lot is occupied by a building or other structure that fronts on more than one public thoroughfare, the lot shall be assigned an address number based on the location of the face of the building or other structure containing the main entrance.

  - Display Specifications.

118.9.1 Address Number Display.  Each lot to which an address number has been assigned and has a building or other structure located on that lot shall have the number displayed on the building or other structure in conformance with the requirements provided in this Section 118.9.

118.9.1.1 Main Entrance Location. The following requirements shall apply to the main entrance location.

  - The assigned address number of the lot shall be located directly over or near the main entrance in a position easily observed and readable from the opposite side of a public thoroughfare.

  - A multi-tenanted building or other structure having separate exterior entrances with separate address numbers shall post the assigned address numbers near each entrance to the building or other structure in accordance with this section.

  - Where the main entrance of the building or other structure on a lot is not located at and fronting on a public thoroughfare, the owner of a lot shall post the address number on the face of the building or other structure located at or fronting on the public thoroughfare as well as directly above or near the main entrance.

118.9.1.2 Rear Entrance Location.  If the rear of a building or other structure on a lot, to which an address number has been assigned, faces a public thoroughfare, the owner shall also place the address number of the main entrance in a position easily observed and readable from the public thoroughfare that serve  the rear of that building or other structure.

118.9.1.3 Construction Sites Location.  Address numbers shall be posted at construction sites in a position easily observed and readable from any public thoroughfare serving the construction site.

118.9.1.4 Size of Numbers.  The minimum size of an address number shall be 3 inches (76 mm) high and one-half inch (13 mm) wide and shall be in Arabic figures on a contrasting background.

118.9.1.5 Private Thoroughfares.  The address number of a lot fronting on a private thoroughfare need not be readable from a public thoroughfare if, under the circumstances, this requirement would be impracticable and the approved address numbers are placed in a position on a building or other structure on that lot to be plainly legible and visible from the private thoroughfare.

118.9.2 Thoroughfare Name Sign Display Specifications. Thoroughfare name signs shall conform to all of the following specifications as applicable:

- All thoroughfare name signs for a public thoroughfare or private thoroughfare shall meet the requirements of Section 118.7 above and the requirements of the District Department of Transportation (“DDOT”).

- For public thoroughfares, DDOT shall provide standard thoroughfare name signs showing the name of the public thoroughfare, the thoroughfare type, thoroughfare quadrant, and the starting number for the address range(s) associated with the thoroughfare segment for each public thoroughfare at each intersection.

- The owner of a private thoroughfare shall provide standard thoroughfare name signs showing the name of the private thoroughfare, the thoroughfare type, thoroughfare quadrant, and the starting number for the address range(s) associated with the thoroughfare segment for each private thoroughfare, based on the approved thoroughfare name issued by the code official.

- Thoroughfare name signs designating private thoroughfares shall include the word “Private” or “PVT” on them to distinguish them from public thoroughfares.

118.10 Compliance and Enforcement.

118.10.1 Final Building Inspection. Before approval of a final building inspection pursuant to Section 109.3.1.11, all addressing requirements, including obtaining a thoroughfare name, and obtaining and posting of an address number, shall be satisfied in accordance with the requirements of Section 118.

118.10.2 Enforcement.  The provisions of Section 118 shall be enforced by the code official pursuant to the enforcement mechanisms set forth in Section 113.

Insert new Section 119 in the Building Code to read as follows:

119	SERVICE UTILITIES

119.1 Connection of Service Utilities.  No person shall make connections from a utility source of energy, fuel, power, water or sewerage to any building, other structure or system that is regulated by the Construction Codes until a permit for the work is issued and the work has been inspected and approved by the code official.

119.2 Temporary Connection.  The code official shall have the authority to authorize the temporary connection of a building, other structure, system, or use to the utility source of energy, fuel or power.

119.3 Authority to Disconnect Service Utilities.  The code official shall have the authority to order the disconnection of utility service to any building, other structure or system regulated by the Construction Codes, in case of emergency where necessary to eliminate an immediate hazard to life or property or where such utility connection has been made without the approval required by Section 119.1 or 119.2.  The code official shall notify the serving utility, and where possible the owner and occupant of the building, other structure or service system, of the decision to disconnect prior to taking such action.  If not notified prior to disconnecting, the owner or occupant of the building, other structure or service system shall be notified in writing, as soon as practical thereafter.

119.3.1 Non-Emergency Disconnection. The code official shall have the authority to disconnect any utility service or energy supplied to a premises or portion thereof, or to equipment located thereon, where notification has been provided in accordance with Section 119.3.1.1, in any of the following circumstances:

- The owner of the premises, or person working on the premises, have failed to comply with one or more stop work orders;

- Where an electric or natural gas service has been connected to a building or structure which has not been approved for occupancy or operation at that site; or,

- Where a permit for temporary power has expired and the electrical connection is still in use.

119.3.1.1 Notification. The code official shall issue a notice and order directed to the owner of the premises or portion thereof that is subject to the disconnection order in accordance with Sections 113.4.6 and 113.5.5, and by posting the notice at the entrance of such building or structure.

119.3.1.2 Authority to Order Disconnection. If the specified action to be taken by the owner is not accomplished within 30 days from the date of service, the code official is authorized to order the utility to disconnect service, with the costs for such action to be borne by the owner. Responsibility for damages, losses, and liabilities consequent with the loss of power shall be borne by the owner and not the District of Columbia or its employees.

Exception:  Where the owner or occupant can conclusively demonstrate the likelihood of loss of human life or serious health endangerment consequent to a loss of power to the site and, further, can conclusively demonstrate inability to provide alternate living arrangements for the endangered person.

119.3.1.2.1 Notice to the Serving Utility. When utility service or energy to a premises or portion thereof is to be disconnected, a written notice of such disconnection and causes therefore shall be provided at least twenty-four (24) hours prior to such disconnection to the serving utility, the owner and the occupants of the premises or portion thereof.

119.3.1.2.2 Posting of Notice of Disconnection. After any notice and/or order of the code official made pursuant to this section shall become final, the code official shall post a notice of disconnection in a conspicuous location, in or about the premises subject to the disconnection stating that the utility/energy connection, as applicable, will be disconnected on a specified date. Unauthorized removal or obstruction of a posted notice of disconnection is a violation of the Construction Codes, and is subject to the penalties provided in Section 113 and D.C. Official Code § 6-1406 (2018 Repl.), and the injunctive relief set out in D.C. Official Code § 6-1407 (2018 Repl.). The owner of the premises posted with a notice of disconnection, or the owner’s agent, shall promptly notify the Department if the posted notice has been removed, damaged or obstructed so the notice can be reposted.

Insert new Section 120 in the Building Code to read as follows:

120	COVENANTS AND AGREEMENTS

120.1 General.  The provisions of this section, and D.C. Official Code § 6-1405.01(b) (2018 Repl.), shall apply to any covenants or agreements required by the Construction Codes or accepted by the code official as an alternate means of compliance with requirements of the Construction Codes (a “Required Covenant”). There may also be other covenants or agreements relating to the construction process that are required by other agencies as set forth in Section 120.4, that are subject to review and approval by these agencies (“Other Agency Covenant”).

120.1.1 Required Covenants.  Required Covenants include the following:

  - Covenant for Openings (Section 705.8.7. or Residential Code Section 302.1;

  - Covenant for Green Building Act Binding Pledge (Section 302.6.2.4 of the Green Construction Code);

  - Covenant for Modification of Projection Requirements (Section 3202.4.2);

  - Covenant for Master Service or Master Metering (Articles 230.2 and 230.3 of the Electrical Code);

  - Covenants required by the Zoning Administrator; and

  - Covenants and agreements required or accepted by the code official as an alternate means of compliance with requirements of the Construction Codes, in conjunction with an approved code modification.

120.2 Form and Recordation.  Any Required Covenant shall: (i) run with the land for as long as it is required; (ii) be in the form approved by the Office of the Attorney General for the District of Columbia (“OAG”); (iii) require approval for technical sufficiency by the Department or other responsible agency indicated below, as shown by the signature of the authorized representative of the Department or other agency; and (iv) require approval for legal sufficiency by OAG or OAG’s designee, before issuance of any related permits, certificates of occupancy for Green Building Pledge Covenants, or Change in Openings as specified in Section 120.3.1.1. as shown by the signature of the authorized representative of OAG on the required covenant. Any modification or termination of a Covenant shall require: prior written approval of the District of Columbia in a form approved by OAG; approval for technical sufficiency by the Department (or other agency indicated below); and approval for legal sufficiency by OAG or OAG’s designee. For each Required Covenant, the owner(s) shall:

- File and record the Required Covenant, signed by the owner(s) as approved by the Department (or other agency as required below) and by OAG or OAG’s designee, among the land records of the Office of the Recorder of Deeds of the District of Columbia (Land Records) against the title to the lot on which the building or structure is located or to be located, by and at the expense of the owner;

- Provide the code official with one copy of the Required Covenant that is certified by the Recorder of Deeds as having been recorded among the Land Records against the lot; and

- Cause any lien or interest creating a security interest for the payment of a debt in the premises, as applicable, recorded in the Land Records prior to the Required Covenant, to be subordinated to the Required Covenant.

120.3 Specific Categories of Required Covenants.

120.3.1 Required Covenant for Openings.  No permit shall be approved or issued where one or more openings in an exterior wall, subject to the provisions of Section 705.8.7 or Residential Code Section 302.1, until the owner of the lot presents the code official with a copy of a covenant that complies with Section 120.2. The purpose of the covenant is to ensure compliance with maintenance of the minimum requirements of Section 705.8.7 and Residential Code Section 302.1 for as long as the building exists, and to ensure that responsibility for the maintenance of those conditions shall be conveyed to any future owner of the building.

120.3.1.1 Change in Openings. If the code official determines that a change in conditions subject to Section 705.8.7 or Residential Code Section 302.1 occurred prior to final inspection, but after recordation of a covenant required by this Section 120.3.1, and the change affects the terms of the covenant, the owner shall amend the covenant as the code official directs and record the amended covenant in accordance with Section 120.1 prior to issuance of the first certificate of occupancy for occupiable space in a story above grade plane, or prior to final inspection if no certificate of occupancy is required.

120.3.2 Required Covenants for Modifications of Projection Requirements for Foregone Construction. No permit or related plan shall be approved or issued for a modification of projection requirements pursuant to Section 3202.4.2 until the owner of the premises presents the code official with a copy of a covenant that complies with Section 120.2, and which meets the requirements of Section 3202.4.2.4 and 3202.4.2.5.

120.3.3 Required Covenants for Green Building Act Binding Pledge.  No certificate of occupancy in a story above grade plane for a project for which the owner or authorized agent has elected to submit a binding pledge as provided in Section 302.6.2.4 of the Green Construction Code as security for compliance with the provisions of Section 302.3.2 or Section 302.3.3 of the Green Construction Code or as provided in Section 6 of the Green Building Act (D.C. Official Code Section § 6-1451.05) until the owner or authorized agent presents the code official with a copy of a covenant that complies with Section 120.2.

120.3.4 Required Covenants for Master Service or Master Metering. No permit shall be approved or issued to provide master service to more than one building on a single lot, or to buildings on different lots in the same square, as approved pursuant to Articles 230.2 and 230.3 of the Electrical Code, until the owner of the premises presents the code official with a copy of a covenant, complying with Section 120.2, that establishes access rights to each end user.

120.3.5 Covenants Required by the Zoning Administrator. No building permit shall be approved or issued for a single family dwelling project where the application shows components of an additional dwelling unit(s), unless the owner commits to maintain the unit as a single family dwelling for purposes of compliance with the Zoning Regulations or seeks, as appropriate, regulatory approval as either an accessory apartment, flat, or multiple dwelling use as permitted under the Zoning Regulations.  If maintained as a single family dwelling, a commitment to maintain the premises as a single family dwelling must be documented by the owner of the premises by presenting the code official with a copy of a covenant, complying with Section 120.2.

120.4 Other Agency Covenants and Agreements. Where an agency other than the Department requires a covenant or agreement to be approved by such agency prior to permit issuance by the Department, then it shall be the responsibility of the requiring agency to ensure that the applicant has met the conditions imposed by such agency, and to provide evidence to the Department of the requiring agency’s approval of such covenant or agreement. Agreements and covenants required by other agencies include, but are not limited to, the following:

- Covenants for Stormwater Management (DOEE, pursuant to 21 DCMR Chapter 5).

- Covenants for Private Fire Hydrants (Fire and Emergency Medical Services, pursuant to D.C. Official Code § 34-2410.02 and Fire Code § 507.5.2.1).

- Public Space Vault Agreements (DDOT, pursuant to D.C. Official Code § 10-1103.01 and Building Code § 3202.9.2.1).

- Covenants or Agreements for Installation and Maintenance of Water Service or Sewer Pipes that Traverse an Adjacent Premises.  (DC Water, pursuant to D.C. Code § 8-205(b) and 21 DCMR §§ 110 and 202).

- Covenants and Non-Conversion Agreements Required under Flood Hazard Rules (DOEE, pursuant to 21 DCMR Chapter 31).

121	[RESERVED]

Insert new Section 122 in the Building Code to read as follows:

122	AMENDMENTS AND COPIES

122.1 Amendments; Supplements; Editions.  All future amendments, supplements, and editions of the Construction Codes shall be adopted only upon authority of the government of the District of Columbia. The Mayor is authorized to issue proposed rules to amend the Construction Codes and to adopt new editions of and supplements to the International Codes in whole or in part, pursuant to Title I of the District of Columbia Administrative Procedure Act, approved October 21, 1968 (82 Stat. 1204; D.C. Official Code §§ 2-501 et seq. (2016 Repl. & 2019 Supp.)) and the Construction Codes Approval and Amendments Act, effective March 21, 1987 (D.C. Law 6-216; D.C. Official Code §§ 6-1401 et seq. (2018 Repl.), as amended.  The Mayor’s authority thereunder has been delegated to the Construction Codes Coordinating Board (“CCCB”) pursuant to Mayor’s Order 2009-22, dated February 25, 2009, as amended.  The proposed rules shall be submitted to the Council for a 45-day period of review, excluding Saturdays, Sundays, legal holidays, and days of Council recess, pursuant to D.C. Official Code § 6-1409(a).  If the Council does not approve or disapprove the proposed rules, in whole or in part, by resolution within this 45-day review period, the proposed rules shall be deemed approved.  The rules shall not take effect until approved or deemed approved by the Council.

Exception:  Amendments to the Construction Codes by emergency rulemaking are governed by D.C. Official Code § 2-505(c).

122.2 Amendment Procedure.  Within a reasonable period of time after publication of any subsequent edition of the International Codes, the CCCB shall:

- Review, revise and maintain the Construction Codes to reflect the current state of the art in the construction industry;

- Review and evaluate all proposed changes and amendments to the Construction Codes;

- Submit for adoption, as proposed rulemaking through the Director, all revisions to the Construction Codes that are approved by the CCCB; and

- Publish, as final rulemaking through the Director, all revisions to the Construction Codes once they are approved or deemed approved by the Council as provided in the Construction Codes Act and Section 122.1.

122.2.1 Initiation and Review of Changes.  Changes to the Construction Codes shall be proposed and initiated by and through the CCCB.  The notice, review, evaluation, and rulemaking procedures of Section 122.2 shall be applied to any proposed changes in the Construction Codes.

122.3 Official Copy. The official copy of the Construction Codes is posted electronically on the website of the Secretary of the District of Columbia, Office of Documents and Administrative Issuances.

Insert new Section 123 in the Building Code to read as follows:

123	TRANSITORY PROVISIONS

123.1 Applicability of Prior Editions of the Construction Codes.  The prior edition of the Construction Codes, in force on the date that a new edition of the Construction Codes is adopted pursuant to Section 122, shall remain in full force and effect for the purposes specified in Sections 123.1.1 through 123.1.5.

123.1.1 Permits Issued Prior to Adoption of Construction Codes.  Work authorized by a permit issued before the effective date of the new edition of the Construction Codes, which permit has not expired pursuant to Section 105.10 or been revoked pursuant to Section 111, shall be allowed to be carried to completion under the edition of the Construction Codes under which the permit was issued, subject to the exceptions stated in Section 102.6.

123.1.2 Applications Filed Prior to Adoption of Construction Codes.  An application for permit for which the application filing deposit has been paid before the effective date of the new edition of the Construction Codes, pursuant to Section 108.2.1.1, shall be allowed to be processed to issuance of the permit, and any work authorized thereby shall be allowed to be carried to completion under the edition of the Construction Codes in effect on the date said application was filed, subject to the exceptions stated in Section 102.6 and the following conditions:

1.  Each such application shall have been filed prior to the effective date of the new edition of the Construction Codes accompanied by submittal documents and other information sufficiently complete to allow processing of the permit application without substantial change or deviation;

2.  Each such permit shall be paid in full and obtained by the applicant within 12 months after the effective date of the new edition of the Construction Codes;

3.  All work authorized by such permit shall be carried to completion under the terms of the permit; and

4.  Any permits granted under Section 123.1.2, if permitted to expire under Section 105.10 or if revoked pursuant to Section 111, shall not be extended under Section 105.11.

123.1.3 Applications Filed After Adoption of Construction Codes. Where a contract for design has been executed prior to the effective date of the new edition of the Construction Codes, but no permit applications for work covered by the design contract have been filed, permit applications for work covered by the design contract shall be allowed to be filed, processed to issuance of permit, and any work authorized thereby shall be allowed to be carried to completion, under the previous edition of the Construction Codes, subject to the exceptions stated in  Section 102.6 and the following conditions:

1.  The applicant shall file the permit application, accompanied by submittal documents and other information conforming to Sections 106.1 and 106.1.1 of the new edition of the Construction Codes, sufficiently complete to allow processing of the permit without substantial change or deviation, within 12 months after the effective date of the new edition of the Construction Codes;

2.  The applicant shall submit a copy of the design contract for the work covered by the permit application, with a notarized affidavit stating that the submitted copy is a true and accurate copy of the contract, that the contract was in effect on or before the effective date of the Construction Codes, and that the design submitted with the permit application was made under such contract;

3.  The permit shall be obtained and the permit fee paid in full by the applicant within 12 months after the filing date;

4.  All work authorized by such permit shall be carried to completion under the terms of the permit; and

5.  Any permit granted under Section 123.1.3, if permitted to expire under Section 105.10 or if revoked pursuant to Section 111, shall not be extended under Section 105.11.

123.1.4 Tenant Layout Permits in a New Building.  The work necessary to finish the interior layout of every tenant space in a new building authorized by a permit issued under a previous edition of the Construction Codes, for first occupancy of each such tenant space, shall be considered part of the completion of said building, and the permits for such tenant work shall be allowed to be processed under the same edition of the Construction Codes as the permit for the new building, regardless of when the tenant layout project begins.

123.1.4.1 Extensive Alteration Level 3 Projects. The work necessary to finish the interior layout of every tenant space in Alternation Level 3 projects that entails all of the following:  a)stripping the building to its structure, b) removal of all other systems, and c) the complete refitting of the building, shall be permitted shall be considered part of the completion of said building, and the permits for such tenant work shall be allowed to be processed under the same edition of the Construction Codes as the permit for the Alteration Level 3 work, regardless of when the tenant layout project began.

123.1.5 Revision of a Permit Issued Under a Prior Edition of the Construction Codes.  Revisions pursuant to Section 105.9 of an active valid permit issued under a previous edition of the Construction Codes shall be allowed to be processed, at the option of the owner, under the same edition of the Construction Codes as the permit being revised.

Exceptions: Where the code official determines that:

1. 	Using certain provisions of the previous edition would pose an undue health or safety risk to the public or the occupants of the premises; or

2. 	The scope of work is such that submission of a new permit application is required in lieu of a permit revision as authorized by Sections 105.9 and 109.1.